Business Practice Manual for

Market Instruments

Version 1

Last Revised: Mar 26, 2009

Approval History

Approval Date: March 27, 2009

Effective Date: March 31, 2009

BPM Owner: Deborah Le Vine

BPM Owner’s Title: Director of Market Services

Revision History

| Version | Date | Description |
| --- | --- | --- |

TABLE OF CONTENTS

1.	Introduction	2

1.1	Purpose of CAISO Business Practice Manuals	2

1.2	Purpose of this Business Practice Manual	2

1.3	References	2

1.4	Acronyms & Specialized Terms	2

2.	Markets & Market Processes	2

2.1	Day-Ahead Market Processes	2

2.1.1	Market Power Mitigation & Reliability Requirements Determination	2

2.1.2	Integrated Forward Market	2

2.1.3	Residual Unit Commitment	2

2.1.4	Extremely Long-Start Unit Commitment	2

2.2	Real-Time Processes	2

2.2.1	Market Power Mitigation & Reliability Requirements Determination	2

2.2.2	Hour-Ahead Scheduling Process	2

2.2.3	Short-Term Unit Commitment	2

2.2.4	Real-Time Unit Commitment	2

2.2.5	Real-Time Economic Dispatch	2

2.2.6	Real-Time Contingency Dispatch	2

2.2.7	Real-Time Manual Dispatch	2

2.3	Products & Services	2

2.3.1	Energy	2

2.3.2	Ancillary Services	2

2.3.3	Residual Unit Commitment Capacity	2

2.3.4	Congestion Revenue Rights	2

2.4	Market Interfaces	2

2.4.1	SIBR	2

2.4.2	CAISO Market Results Interface	2

2.4.3	Master File (Not accessed through Portal)	2

2.4.4	Automated Dispatch System (Not accessed through Portal)	2

2.4.5	Scheduling & Logging of Outages	2

2.4.6	Open Access Same Time Information System	2

2.4.7	Business Associate Portal Interface	2

2.4.8	Congestion Revenue Rights Auction System & Secondary Registration System	2

3.	Overview of Market Instruments	2

3.1	Energy Bids	2

3.2	Ancillary Services Bids	2

3.3	Residual Unit Commitment Availability Bids	2

3.4	Import & Export Bids	2

3.4.1	Wheeling Through Transactions	2

3.4.2	IBAA Imports Marginal Losses Adjustment Eligibility	2

3.5	Inter-SC Trades	2

3.5.1	Inter-SC Trades of Energy	2

3.5.2	Inter-SC Trades of Ancillary Services	2

3.5.3	Inter-SC Trades of IFM Load Uplift Obligation	2

4.	Bid Requirements	2

4.1	Daily & Hourly Bid Components	2

5.	Energy Bids	2

5.1	Supply Bids	2

5.1.1	Day-Ahead Economic Bids for Supply	2

5.1.2	Day-Ahead Self-Schedule Bids for Supply	2

5.1.3	Real-Time Economic Bids for Supply	2

5.1.4	Real-Time Self-Schedule Bids for Supply	2

5.2	CAISO Demand Bids	2

5.2.1	Day-Ahead Economic Bids for Demand	2

5.2.2	Day-Ahead Self-Schedule Bids for Demand	2

5.2.3	Real-time Economic Bids for Demand	2

5.2.4	Real-Time Self-Schedule Demand Bids	2

6.	Ancillary Services Bids	2

6.1	Procurement of Ancillary Services	2

6.2	Self Provided Ancillary Services	2

6.2.1	Load Following Up	2

6.2.2	Load Following Down	2

6.3	Ancillary Service Bid Components	2

6.3.1	Regulation Up	2

6.3.2	Regulation Down	2

6.3.3	Spinning Reserve Capacity	2

6.3.4	Non-Spinning Reserve Capacity	2

7.	Residual Unit Commitment Availability Bids	2

7.1	RUC Availability Bid	2

7.2	RUC Availability Bid Component Validation	2

8.	Bid Submission & Validation	2

8.1	Timeline	2

8.1.1	Day-Ahead Market	2

8.1.2	Hour Ahead Scheduling Process & Real-Time Market	2

8.2	Energy Bid Validation Rules	2

8.2.1	Day-Ahead Market Validation	2

8.2.2	RTM Validation	2

8.2.3	Validation Process	2

9.	Inter-SC Trades	2

9.1	Inter-SC Trades of Energy	2

9.1.1	Timeline	2

9.1.2	Information Requirements	2

9.2	Inter-SC Trades of Ancillary Services Obligation	2

9.2.1	Types (Spinning Reserve, Non-Spinning Reserve, Regulation-Up, and Regulation-Down)	2

9.2.2	Timeline	2

9.2.3	Information Requirements	2

9.2.4	Validation of Inter-SC Trades Ancillary Services	2

9.3	Inter-SC Trades of IFM Load Uplift Obligation	2

9.3.1	Timeline	2

9.3.2	Information Requirements	2

9.3.3	Validation of IST IFM Load Uplift Obligations	2

10.	Reporting Information	2

10.1	Scope of CMRI Reports available to SCs	2

10.1.1	Day Ahead Generation Market Results	2

10.1.2	Day-Ahead Demand Market Results	2

10.1.3	Day-Ahead Residual Unit Commitment (RUC) Capacity	2

10.1.4	Day-Ahead Import/Export Schedules	2

10.1.5	Day-Ahead Start-Up Instructions	2

10.1.6	Day-Ahead Ancillary Services Market Results	2

10.1.7	Day-Ahead Market Power Mitigation (MPM) Results	2

10.1.8	Real-Time Market Power Mitigation (MPM) Results	2

10.1.9	Default Energy Bid Curves	2

10.1.10	Day-Ahead Generation Prices	2

10.1.11	Day-Ahead Demand Prices	2

10.1.12	HASP Schedules	2

10.1.13	HASP Schedule Prices	2

10.1.14	Day-Ahead Finally Qualified Load Following Capacity	2

10.1.15	Day-Ahead Unit Commitments	2

10.1.16	Proxy RMR Minimum Load & Startup Cost Bids	2

10.1.17	Day-Ahead Import-Export Prices	2

10.1.18	Extremely Long Start Resource Start-Up Instructions	2

10.1.19	Day-Ahead Reliability Must Run (RMR) Dispatches	2

10.1.20	Expected Energy Allocation Details	2

10.1.21	Conformed Dispatch Notice (CDN)	2

10.1.22	Expected Energy	2

10.1.23	CAISO Commitment Cost Details	2

10.1.24	CRN	2

10.1.25	SIBR Reports	2

11.	Dispatch Information/ADS	2

11.1	ADS Instruction Cycle	2

11.2	Dispatch Information Supplied by CAISO	2

11.3	ADS DOT Breakdown	2

11.4	Technical Information for ADS	2

12.	Public Market Information	2

12.1	Prices	2

12.2	Transmission	2

12.3	System Demand	2

12.4	Energy	2

12.5	Ancillary Services	2

12.6	CRR	2

12.7	Public Bids	2

12.8	Atlas	2

A	Bid Validation Rules	2

B	Master File Update Procedures	2

C	Gas Price Index Calculation Rules	2

C.1	Background	2

C.2	Gas Transport Cost	2

C.3	Gas Prices	2

C.4	Day-Ahead Timeline	2

C.5	Real-Time Time Line	2

D.	Calculation of Default Energy Bids	2

D.1	Day-Ahead	2

D.2	Real-Time	2

D.3	Characteristics of the Default Energy Bid (DEB)	2

D.4	LMP Option	2

Monotonicity Adjustment	2

D.5	Variable Cost Option	2

D.6	Negotiated Rate Option	2

D.7	RMR Units	2

E.	Calculation of Bid Adder	2

E.1	Eligibility Criteria for Bid Adder	2

E.2	Determination of Eligibility in the First 12-months of MRTU	2

E.2.1	MRTU Day One Eligibility	2

E.2.2	Eligibility after Day One of MRTU	2

E.2.3	Eligibility for New Units	2

E.3	Calculation of the Default Bid Adder Value	2

E.4	Units with a Portion of Capacity Contracted under Resource Adequacy	2

F	Example of Variable Cost Option Bid Calculation	2

G	Registered Cost Option	2

G.2	Gas Price Used in Start-up and Minimum Load Cost Caps	2

G.3	Non-Gas Units	2

List of Exhibits:

Exhibit 1-1: CAISO BPMs	2

Exhibit 4-1: Daily & Hourly Bid Components	2

Exhibit 5-1: Example of Energy Bid with Self-Schedule & Economic Bid Components	2

Exhibit 5-2: Pumped-Storage Hydro Unit Bid Component with both Generation and Demand	2

Exhibit 8-1: Bid Validation Prior to Market Close	2

Exhibit 8-2: Bid Validation After Final Master File Update and Prior to Market Close	2

Exhibit 9-1: Timeline of Inter-SC Trades	2

Exhibit 9-2 Validation Process for APN Trades	2

Exhibit 9-3: Validation Process for PHY Trades of Energy	2

Exhibit 9-4: Timeline of Inter-SC Trades of Ancillary Services	2

Exhibit 9-5: Timeline of Inter-SC Trade of IFM Uplift Obligation	2

Exhibit 11-1: Summary of CMRI Reports	2

Exhibit 11-2: Day-Ahead Generation Market Results Report Content	2

Exhibit 11-3: Day-Ahead Demand Market Results Report Content	2

Exhibit 11-4: Day-Ahead Reliability Unit Commitment Report Content	2

Exhibit 11-5: Day-Ahead Import/Export Schedule Report Content	2

Exhibit 11-6: RUC Start-Up and Shut-Down Instructions Report Content	2

Exhibit 11-7: Day-Ahead Ancillary Services Market Results Report Content	2

Exhibit 11-8: Day-Ahead Market Power Mitigation (MPM) Results Report Content	2

Exhibit 11-9: Real-Time Market Power Mitigation (MPM) Results Report Content	2

Exhibit 11-10: Default Energy Bid Curves Report Content	2

Exhibit 11-11 Day-Ahead Generation Schedule Prices Report Content	2

Exhibit 11-12: Day-Ahead Resource Specific Demand Prices Report Content	2

Exhibit 11-13: HASP Schedules Report Content	2

Exhibit 11-14: HASP Schedule Prices Report Content	2

Exhibit 11-15: Day-Ahead Finally Qualified Load Following Capacity	2

Exhibit 12-1: ADS Output	2

# Introduction

Welcome to the CAISO BPM for Market Instruments.  In this Introduction you will find the following information:

- The purpose of the CAISO BPMs

- What you can expect from this CAISO BPM

- Other CAISO BPMs or documents that provide related or additional information

## Purpose of CAISO Business Practice Manuals

The Business Practice Manuals (BPMs) developed by CAISO are intended to contain implementation detail, consistent with and supported by the CAISO Tariff, including:  instructions, rules, procedures, examples, and guidelines for the administration, operation, planning, and accounting requirements of CAISO and the markets.  Exhibit 1-1 lists CAISO BPMs.

Exhibit 1-1: CAISO BPMs

Title

BPM for Candidate CRR Holder Registration

BPM for Change Management Process for MRTU Business Practice Manuals

BPM for Compliance Monitoring

BPM for Congestion Revenue Rights

BPM for Credit Management

BPM for Definitions & Acronyms

BPM for Managing Full Network Model

BPM for Market Instruments

BPM for Market Operations

BPM for Metering

BPM for Outage Management

BPM for Reliability Requirements

BPM for Rules of Conduct Administration

BPM for Scheduling Coordinator Certification & Termination

BPM for Settlements & Billing

BPM for the Transmission Planning Process

## Purpose of this Business Practice Manual

The CAISO BPM for Market Instruments describes how Scheduling Coordinators (SCs) submit Bids, including Self-Schedules and Inter-SC Trades to CAISO, the process CAISO uses to validate Bids, including Self-Schedules and Inter-SC Trades, and how SCs access data on accepted Bids, Self-Schedules Inter-SC Trades, and prices.

Although this BPM is primarily concerned with market instruments, there is some overlap with other BPMs.  Where appropriate; the reader is directed to the other BPMs for additional information.

The provisions of this BPM are intended to be consistent with the CAISO Tariff.  If the provisions of this BPM nevertheless conflict with the CAISO Tariff, the CAISO is bound to operate in accordance with the CAISO Tariff. Any provision of the CAISO Tariff that may have been summarized or repeated in this BPM is only to aid understanding.  Even though every effort will be made by CAISO to update the information contained in this BPM and to notify Market Participants of changes, it is the responsibility of each Market Participant to ensure that he or she is using the most recent version of this BPM and to comply with all applicable provisions of the CAISO Tariff.

A reference in this BPM to the CAISO Tariff, a given agreement, any other BPM or instrument, is intended to refer to the CAISO Tariff, that agreement, BPM or instrument as modified, amended, supplemented or restated.

The captions and headings in this BPM are intended solely to facilitate reference and not to have any bearing on the meaning of any of the terms and conditions of this BPM.

## References

Other reference information related to this BPM includes:

- Other CAISO BPMs

- CAISO MRTU Tariff

- SIBR Tutorial

- MRTU Interface Specification for Market Results Services

## Acronyms & Specialized Terms

The definition of acronyms and words beginning with capitalized letters are given in the BPM for Definitions & Acronyms and as stated below.

# Markets & Market Processes

Welcome to the Markets & Market Processes section of the CAISO BPM for Market Instruments.  In this section you will find the following information:

- A high level description of the Day-Ahead and Real-Time Markets

- A description of the products and services traded through CAISO

- Market bidding timelines and primary activities of CAISO

## Day-Ahead Market Processes

The Day-Ahead Market (DAM) closes at 1000 hours on the day before the Trading Day and consists of a sequence of processes that determine the hourly locational marginal prices (LMPs) for Energy and AS, as well as the incremental procurement in Residual Unit Commitment (RUC) while also determining Reliability Must Run (RMR) dispatch levels and mitigating Bids that may be in excess of Local Market Power Mitigation limits.  These processes are co-optimized to produce a Day-Ahead Schedule at least cost while meeting local reliability needs.

The LMPs resulting from these processes are used for the Day-Ahead Settlement.  The following subsections present an overview of these processes for the Trading Day.

### Market Power Mitigation & Reliability Requirements Determination

The Market Power Mitigation and Reliability Requirements Determination (MPM-RRD) function consists of two processes.  The MPM is to determine the Bids that are subject to Local Market Power Mitigation based on specified criteria.  If the test fails, the MPM mitigates the affected Bids for the relevant Trading Hours of the Trading Day.  The RRD function determines the minimal and most efficient schedule of Reliability Must-Run Generation to address local reliability in meeting CAISO Forecast of CAISO Demand for the next Trading Day.  The MPM and RRD functions are performed simultaneously prior to the Integrated Forward Market process.

The details of Market Power Mitigation are provided in CAISO Tariff Section 31.2 and its subsections and are described in more detail in the BPM for Market Operations.

### Integrated Forward Market

The Integrated Forward Market (IFM) is a market for trading Energy and Ancillary Services (AS) for each Trading Hour of the Trading Day.  The IFM uses Clean Bids for Energy and AS from SIBR, (those Bids that have passed the Bid validation and processing procedures), RMR Proxy Bids, and the mitigated Bids to the extent necessary following the MPM and RRD process in order to clear the Supply and Demand Bids and to procure Ancillary Services to meet CAISO’s AS requirements at least Bid Costs over the Trading Day.

### Residual Unit Commitment

The Residual Unit Commitment (RUC) process is a reliability function for committing resources and procuring RUC capacity not reflected in the Day-Ahead Schedule following the IFM (as Energy or AS capacity), in order to meet the difference between the CAISO Forecast of CAISO Demand (including locational differences) and the Demand reflected in the Day-Ahead Schedules for each Trading Hour of the Trading Day.

Short, Fast, and Medium Start Units in general do not receive a binding commitment instruction in RUC.  Units are notified at the end of the DAM if they are selected for RUC.  Such resource commitment decisions are determined in the Real Time Market.  Commitment instructions are issued closer to the Real-Time Dispatch, based on the unit’s Start-Up Time.  Long Start Units can receive a binding commitment instruction in RUC.

### Extremely Long-Start Unit Commitment

The commitment of resources that require a start up time of greater than 18 hours or notification earlier than the publication of the Day-Ahead Schedule will be considered in the Extremely Long-Start Commitment process.  This process will be executed after the completion of the DAM. Bids for ELS units are used for both the current Trading Day and Trading Day D+1.  Extra Long Start (ELS) units will receive binding commitment instruction in the Extra Long Commitment (ELC) process. The ELC process is detailed in the BPM for Market Operations Section 6.8.1.

It should be noted that current SIBR Rules associated for RA RUC Obligation For Long Start Units (that are registered in the Masterfile as Must Offer Obligation) will create bids as necessary for these resources in the DAM.

While the Must-Offer Obligation resource is not obligated to bid, the CAISO inserting bids does not commit or dispatch the long - start resource for RT because as a long start the commitment time would follow outside of the RTM horizon.  However, if the resource has self-committed in the Real-Time, then the CAISO believes that having an RA obligation to offer its RA capacity is consistent with RA policy in similar way as how short-start resources are treated because the resource is physically capable of providing its RA capacity.

## Real-Time Processes

The Real-Time Market closes 75 minutes before the beginning of each Trading Hour (which in turn begins at the top of each hour).  A sequence of processes determines the LMPs for each Trading Hour.  The LMPs resulting from these processes are used for the Real-Time Market settlement.

The following subsections present an overview of these processes for the Trading Hour.

### Market Power Mitigation & Reliability Requirements Determination

The MPM-RRD functions for the RTM are analogous to the same functions that are performed for the DAM.  For the Real-Time Market the MPM-RRD functions cover the Trading Hour and the resultant mitigated Bids are then used by the remaining Real-Time Market processes.

Mitigation in the DAM is a separate process from RTM mitigation.  A Bid mitigated in the DAM is either cleared in the IFM or not.   If the mitigated Bid does not clear the IFM, then the pre-IFM Bid Mitigation is not used for any downstream consideration (including RTM).

If an SC wants to submit Bids for Energy into the RTM the SC must submit new Bids to the RTM.  The Real-Time mitigation process applies to these new Bids.

### Hour-Ahead Scheduling Process

The Hour-Ahead Scheduling Process (HASP) is a process for trading Energy and Ancillary Services based on the Bids submitted into the RTM from Scheduling Points.

HASP is performed immediately after the Real-Time MPM and RRD process.  HASP produces:  (1) Advisory Schedules for internal Pricing Nodes (PNodes), (2) final and financially binding HASP Intertie Schedules for all Scheduling Points, and (3) HASP AS Awards.  HASP Intertie Schedules and HASP AS Awards for the Trading Hour are published approximately 45 minutes before the start of each Trading Hour.

The primary goal of the RTM is to identify supplies to meet the system Demand Forecast and export Schedules.  HASP determines HASP Intertie Schedules for hourly pre-dispatched System Resources for the Trading Hour (i.e., between T and T+60 minutes) on an hourly basis instead of on a 15-minute basis.  This is accomplished by enforcing constraints that ensure that the HASP Intertie Schedules for the 15-minute intervals are equal.  The LMP used to settle these schedules is computed as the average of the four LMPs of the four 15-minute intervals of the Trading Hour.

### Short-Term Unit Commitment

The Short-Term Unit Commitment (STUC) is a reliability function for committing Fast and Medium Start Units to meet the CAISO Forecast of CAISO Demand.  The STUC function is performed hourly, in conjunction with Real-Time Unit Commitment (RTUC) and looks ahead three hours beyond the Trading Hour, at 15-minute intervals.

### Real-Time Unit Commitment

The Real-Time Unit Commitment (RTUC) is a market process for committing Fast and Short Start Units and awarding additional Ancillary Services at 15-minute intervals.  The RTUC function runs every 15 minutes and looks ahead in 15-minute intervals spanning the current Trading Hour and next Trading Hour.

### Real-Time Economic Dispatch

The Real-Time Economic Dispatch (RTED) is a process that dispatches Imbalance Energy and dispatches Energy from AS and normally runs automatically every five minutes to produce Dispatch Instructions.  The following two alternative modes to RTED are invoked under abnormal conditions:

- Real-Time Contingency Dispatch (RTCD)

- Real-Time Manual Dispatch (RTMD)

### Real-Time Contingency Dispatch

The RTCD function executes upon CAISO Operator action, usually following a Generation or transmission system contingency.  The RTCD execution is for a single 10-minute interval and includes all Contingency Only Operating Reserves in the optimization process.

### Real-Time Manual Dispatch

The RTMD function executes upon CAISO Operator action, usually when RTED and RTCD fail to provide a feasible solution.  The RTMD execution has a periodicity of five minutes for a Time Horizon of five minutes.

## Products & Services

This subsection describes the types of products and services that are traded in CAISO Markets.

### Energy

Energy can be supplied from the following resources into CAISO Markets:

- Generating Units

- System Units

- Physical Scheduling Plants

- Participating Loads

- System Resources

Energy can be purchased through CAISO Markets only by Scheduling Coordinators to serve:

- Demand within CAISO Balancing Authority Area

- Exports from CAISO Balancing Authority Area

### Ancillary Services

The following types of Ancillary Services are traded in CAISO Markets:

- Regulation Up, must be synchronized and able to receive AGC signals

- Regulation Down, must be synchronized and able to receive AGC signals

- Spinning Reserve (must be synchronized, be available in 10 minutes, and be maintainable for two hours)

- Non-Spinning Reserve (must be able to deliver the AS Award within 10 minutes and be maintainable for two hours)

### Residual Unit Commitment Capacity

Residual Unit Commitment (RUC) Capacity is the positive difference between the RUC Schedule and the greater of the Day-Ahead Schedule and the Minimum Load level of a resource.  The price and availability of this type of capacity depends on the RUC Availability Bids and the optimized RUC Awards.

The RUC Schedule is the total MW per hour amount of capacity committed through the RUC process, including the MW per hour amount committed in the Day-Ahead Schedule.

### Congestion Revenue Rights

Congestion Revenue Rights (CRRs) are financial instruments that may be used by their holders to offset the possible Congestion Charges that may arise in the Day-Ahead Markets for Energy.  CRRs are obligations, which may also require their holders to pay Congestion Charges. CRRs are settled based on the Marginal Cost of Congestion component of LMPs derived through IFM.

The BPM for Congestion Revenue Rights describes these rights in greater detail.

## Market Interfaces

CAISO’s portal provides a framework in which to deploy the User Interfaces (UIs) of CAISO’s MRTU business applications.  The portal allows SCs to access multiple CAISO business applications using a single point of entry and a single digital certificate.

The following CAISO business applications are accessible through the portal:

- SIBR

- CMRI

- CRR

- BAPI

- SLIC

- OASIS (Available but does not require a digital certificate, public information)

SCs interact with CAISO Markets through market interfaces.  These market interfaces are described in more detail below.

### SIBR

The Scheduling Infrastructure and Business Rules (SIBR) system performs the following tasks:

- Provides an SC interface to submit Bids and Inter-SC Trades (IST)

- Accepts Bids and IST for Energy, Ancillary Services, and other Energy related products and services (e.g., IFM Load Uplift Obligation) from SCs that are certified to interact with CAISO

- Applies business rules to validate and process submitted Bids and IST to ensure that those Bids and IST are valid and modifies Bids for correctness where necessary

- Applies business rules to generate DAM and RTM Bids for resources under the Resource Adequacy requirements and RTM Bids for resources with Day-Ahead Ancillary Services or RUC Awards, if these resources do not have valid Bids

- Provides SCs information about their Bid and IST validation, modification, and Bid generation

- Forwards the final Clean Bids and IST to the relevant CAISO Market

- Provides short-term data storage and reports

The details of submitting Bids into SIBR are describe in Section 5 (Energy Bids), Section 6 (Ancillary Services Bids), and Section 7 (RUC Availability Bids).

### CAISO Market Results Interface

The CAISO Market Results Interface (CMRI) is accessible through the CAISO portal and is the screen through which SCs retrieve proprietary market results, such as DAM Energy Schedules, AS Awards, and RUC Awards.  The CMRI supports various reporting functions to facilitate this data retrieval.  The details of the reports available through the CMRI are described in detail in Section 10 (Reporting Information).

### Master File (Not accessed through Portal)

The Master File (MF) database is used by CAISO to store the necessary business information and operational data of CAISO's Market Participants.

MF data includes common information necessary to process scheduling and settlement transactions with the Market Participants and is shared among the CAISO’s business systems.

### Automated Dispatch System (Not accessed through Portal)

Automated Dispatch System (ADS) communicates Real-Time commitment and Dispatch Instructions, and Real-Time AS Awards to SCs.  The details of the reports provided by ADS are described in detail in Section 11 (Dispatch Information).

### Scheduling & Logging of Outages

The SLIC application is the primary method of communicating Outage Management related requests, information updates, approvals, rejections, etc.  The SLIC application provides an automated mechanism for MPs and CAISO to communicate the information required for all aspects of Outage Management from submittal of requests under the Long Range Plan process timing, to requesting and receiving an extension to an Approved Maintenance Outage.

Using SLIC, a Participating TO or Participating Generator or others can perform the following functions:

- Submit a request for a new Outage

- Receive confirmation of receipt of request from CAISO Outage Coordination Office

- Obtain status of an Outage request

- Enter Outage Cause Codes (NERC GADS, reason for Outage)

- Update an Outage

- Change PMin and Ramp Rates

- Search database of completed, scheduled or active Outages.  This function allows the MP to review only their data and not the data of other MPs.

The details of SLIC operation are provided in the CAISO BPM for Outage Management.

### Open Access Same Time Information System

The Open Access Same time Information System (OASIS) provides a web interface for Market Participants to retrieve Public Market Information, such as CAISO Forecast of CAISO Demand, AS requirements, aggregate Schedules, transmission Intertie limits and flows, LMPs, ASMPs (by AS Region), etc.  The details of OASIS are provided in Section 12 (Public Market Information).

### Business Associate Portal Interface

Business Associate Portal Interface (BAPI) allows access to settlement transaction data including statements, invoices, charge type configurations and historical settlement data through this interface. The details of this process are covered in detail in the CAISO BPM for Settlements and Billing.

### Congestion Revenue Rights Auction System & Secondary Registration System

The details of the Congestion Revenue Rights Auction system and Secondary Registration System are provided in the CAISO BPM for Congestion Revenue Rights.

# Overview of Market Instruments

Welcome to the Overview of Market Instruments section of the CAISO BPM for Market Instruments.  In this section you will find the following information:

- Definition of market instruments

- A brief overview of the types of market instruments available in CAISO Markets.  The details of the market instruments, and how they operate are provided in the following sections

Market instruments include Bids, Self-Schedules and Inter-SC Trades (ISTs).  A Bid is, in essence, an offer to buy or sell Energy, RUC Availability or Ancillary Services, including Self-Schedules, submitted by Scheduling Coordinators.  A Bid in CAISO SIBR system contains all Bid products, services, and Bid components being offered to a specified CAISO Market from a resource.  An IST is a transaction between two SCs that is facilitated in CAISO settlement process.

Economic Bids specify prices for MWh amounts of Energy offered.  Self-Schedules do not have any prices associated with MWh.

Another market instrument available through CAISO Markets is the CRR.  Details about the CRR allocation, auction, and settlement provisions are covered in detail in the CAISO BPM for Congestion Revenue Rights.

## Energy Bids

In order to participate in CAISO Energy Markets, SCs must submit Energy Bids.  Energy Bids comprise both Economic Bids and Self-Schedules.  These Bids can be either Supply Bids or Demand Bids.

There are two categories of Bid components – daily components that are constant across the Trading Day and hourly components that can vary by Trading Hour.  The details of these Bid components are described in Section 4 (Bid Requirements).

SCs may submit Bids to the DAM beginning seven days prior to the Trading Day and up until 1000 hours the day prior to the Trading Day.  SCs may submit Real-Time Market Bids beginning when the Day-Ahead Schedules are published at 1300 hours the day prior to the Trading Day and up until 75 minutes prior to the start of the relevant Trading Hour.

Bids submitted to the DAM apply to the 24 hours of the next Trading Day and are used in both the IFM and the RUC process.  Bids submitted to the RTM apply to a single Trading Hour and are used in both the HASP and the RTM.  SCs who wish to participate in the HASP submit those eligible Bid components as part of their RTM Bids.

The bidding rules for both the DAM and the RTM are described in detail in Section 5 (Energy Bids).

## Ancillary Services Bids

Four types of Ancillary Services are used by CAISO in its markets – Regulation Up, Regulation Down, Spinning Reserve, and Non-Spinning Reserve. For Metered Sub-Systems (MSS) Load Following Up/Down is also handled through submission of Bids for Ancillary Service.  Participating Generators and Dynamic System Resources are eligible to provide all Ancillary Services for which they are certified.  Certified Non-Dynamic System Resources are eligible to provide Operating Reserves (Spinning Reserves and Non-Spinning Reserves) only.  Certified Participating Loads are only eligible to provide Non-Spinning Reserve.

SCs that wish to provide Ancillary Services to CAISO may either submit Ancillary Services Bids or Self-Provide Ancillary Services.  A Bid to supply Ancillary Services specifies prices for MW amounts of each Ancillary Service to be supplied.  A Submission to Self-Provide Ancillary Services is not a Bid.  CAISO’s acceptance of Self-Provided Ancillary Services occur prior to Ancillary Service Bid evaluation in the relevant market.

SCs submit Bids for AS in both the DAM and the RTM.  Bids for AS in the RTM are submitted incrementally from any DAM AS Awards.  DAM AS Awards are binding commitments and cannot be reduced in RTM (with the exception of a reduction in available capacity as notified through SLIC).

Any Self-Provided AS are used to reduce the AS Obligation for the SC that Self-Provided those AS.  Details of this are provided in the BPM for Settlements and Billing.

Any Self-provided AS in excess of an SC's Obligation are credited at the user rate for the respective AS. The BPM for Market Operations specifies how the market prices for AS is determined.

The bidding rules for Ancillary Services are described in detail in Section 6 (Ancillary Services Bids).

## Residual Unit Commitment Availability Bids

SCs may submit RUC Availability Bids for specific Generating Unit capacity in the DAM.  SCs may also submit RUC Availability Bids for System Resources that provide Resource Adequacy  Capacity.   An Energy Bid Curve must be submitted to the DAM that covers the RUC Capacity in a RUC Availability Bid.  A Generating Unit may have a portion or 100% of its capacity designated as RA Capacity.   A resource with at least some RA Capacity has an RA flag in the Master File.    SCs for resources providing RA Capacity must submit bids for that capacity as described in the BPM for Reliability Requirements.  The RUC Availability Bids submitted for RA Units are generally automatically set at $0/MW for RA Capacity if a Bid is Generated to cover the RA RUC Obligation.

At the close of the DAM, the CAISO notifies SCs of any RUC Awards (through CMRI).  RUC Availability payments are based on RUC selection, irrespective of whether the Generating Unit is required to Start-Up or not.  A Generating Unit receives a Start-Up instruction at the appropriate time.  If the CAISO instructs a Generating Unit subject to a RUC Award to Start-Up, the unit is eligible for RUC Cost Compensation, which includes Start-Up and Minimum Load Cost compensation, and Bid Cost Recovery, in addition to the RUC Availability payment.  For RUC Availability Bids details see  Section 7 (Residual Unit Commitment Availability Bids) and attachment A (Bid Validation Rules).

The RUC Award is the portion of the RUC Capacity that is not subject to an RMR Dispatch and is not RA Capacity. RUC Capacity is the portion of the RUC Schedule excluding the minimum load and any DA Energy Schedule. RUC Capacity that is subject to an RMR Dispatch and RA Capacity are not entitled to RUC Availability payments. RUC Award is entitled to RUC Availability payment regardless of its Start-up time. In other words, RUC Awards from Short Start or Fast Start units are entitled to RUC Availability payment. This is based on CAISO Tariff Section 31.5.6, Eligibility for RUC Compensation.

## Import & Export Bids

An Import Bid is a Supply Bid at a Scheduling Point.  An Export Bid is a Demand Bid at a Scheduling Point.  Both Import Bids and Export Bids must be submitted with positive MW values.  As in the case of all Bids, Import and Export Bids must include a Resource Location.  The resource Location is the resource ID for a Generating Unit, System Unit, Participating Load or System Resource registered in the Master File.  The CAISO will assign separate Resource IDs to SCs for submitting Import Bids and Export Bids at specific Scheduling Points.  These Import and Export resource IDs will be maintained in the Master File.  SCs must request the CAISO to assign unique Resource Ids which will be used to nominate: Scheduling Point, Energy type, and direction of flow (e.g., Import and Export).  In addition, if the SC desires separate Settlement treatment for each transaction submitted at the same Scheduling Point, the SC must use a separate resource ID.  Accordingly, each SC must request sufficient resource IDs to meet its business needs.  Import Bids and Supply Bids are in all other respects subject to the bidding requirements set forth in Sections 4, 5, 6, and 7 of this BPM.

### Wheeling Through Transactions

A Wheeling Through transaction consists of an Export Bid and an Import Bid submitted as either  Self-Schedules or Economic Bids and  which utilizes the same Wheeling reference. The Wheeling reference is a unique Wheeling identifier registered in the Master File.

If a Wheeling Through Transaction does not have a matching Wheeling reference that links the Import to the Export by DA Market Close Time, SIBR will remove the Wheeling Bid Component that includes the Wheeling reference and all other hourly Bid Components for that Trading Hour such as any Self Schedule (ETC/TOR/PT/LPT) or Energy. This will make the bid invalid for the DA Market. For RTM Bids the same conditions apply.

SIBR will accept Wheeling Through Transactions that do not have a matching MW quantity in the Export Bid and Import Bid. The balancing of Wheeling MW quantities is managed by the IFM or RTM during optimization. Please refer to the Market Operations BPM for information concerning how the IFM and RTM treat unbalanced MW quantities of a Wheeling Through transaction.

Wheeling Through Transactions submitted in the DAM result, if accepted, in a Day Ahead Schedule.   In order to preserve the Wheel, the Wheel Through Transaction must be resubmitted in the RTM as a Wheel.(Section 6. Day Ahead Market Processes and Section 7. Real-Time Market Processes.)

The CAISO business rule validations that apply to Wheeling Through transactions are summarized in section 8.2.

### IBAA Imports Marginal Losses Adjustment Eligibility

For import schedules to the CAISO Balancing Authority Area that use the southern terminus of the California-Oregon Transmission Project (COTP) at the Tracy substation and pay the Western Area Power Administration (Western) or Transmission Agency of Northern California (TANC) for line losses, the CAISO will replace the marginal cost of losses of the applicable default LMP that applies to such IBAA transactions.  Scheduling Coordinators (SCs) need to establish system resource IDs to submit bids, including self-schedules, to establish schedules that are eligible for this loss adjustment consistent with the CAISO Tariff.  Prior to obtaining these system resource IDs, SCs need to certify to use these IDs for bids, including self-schedules, that only originate from transactions that use the COTP and pay Western or TANC for losses.  A self-certification form is available on the CAISO website: http://www.caiso.com/docs/2005/10/05/2005100520241822328.html.   By actually using such system resource IDs, the SC represents that covered transactions use the COTP and pay Western or TANC for line losses.  Schedules and dispatches settled under such resource IDs shall be subject to a default IBAA LMP for imports that accounts for the marginal cost of losses as if an actual physical generation facility exists at the southern terminus of COTP at the 500 kV Tracy scheduling point rather than the marginal cost of losses specified in CAISO Tariff Section 27.5.3.

## Inter-SC Trades

CAISO facilitates Inter-SC Trades (ISTs) of Energy, Ancillary Services, and IFM Load Uplift Obligation through the settlement process.  ISTs do not have any impact on the scheduling or dispatch of resources.  They affect only the financial settlement process.  Only trades that SCs want to settle through CAISO are submitted in the IST process.  All other trades are settled bilaterally between individual SCs.  There is no limit on the number of ISTs each SC may participate in.

ISTs for the Day-Ahead Market may be submitted beginning seven days prior to the Trading Day up to 12:00 hours (HE 12) the day prior to the Trading Day. ISTs for the Real-Time Market may be submitted beginning at 00:00 hours the day prior to the Trading Hour up to 45 minute prior to the Trading Hour.

Inter-SC Trades in the RTM are submitted incrementally to the DAM Inter-SC Trades.

### Inter-SC Trades of Energy

The role of Inter-SC Trades (IST) of Energy is to facilitate contractual deliver and settlement of bilateral power purchase contracts. Inter-SC Trades are a settlement service that the CAISO offers to parties of bilateral contracts as a means to offset CAISO settlements charges against the bilateral contractual payment responsibilities.  CAISO facilitates Inter-SC Trades of Energy through the settlement process.  An IST of Energy consists of a quantity in MWs traded between two SCs for a specific Trading Hour at a specific location.  There are two types of ISTs:

- Physical Trades (PHY) – where the Inter-SC Trade is backed by a physical resource (applies to Generating Units only).  There is no limit on the number of PHY ISTs in which an SC can participate.  The SC for the physical resource that supports the PHY can submit a Bid, including a Self-Schedule Bid into the relevant market.  In the event that sufficient Generation is not scheduled to meet the quantity of the PHY IST, the difference is converted to a Converted Physical Trade (CPT) and settled at the relevant Trading Hub price.

- ISTs at Aggregated Pricing Nodes that are also defined Trading Hubs or LAPs (APN) – where the IST is not backed by a physical resource.  SC’s may participate in one APN IST per SC counterparty at each APN Location, that is either a defined Trading Hub or LAP, per Trading Hour.  For example, there can only be one IST per hour between SC1 and SC 2 at the Existing Generation Zone Trading Hub NP15.  The CAISO will facilitate ISTs (APN) only at Existing Zone Generation Trading Hubs and Default LAPs.

### Inter-SC Trades of Ancillary Services

CAISO also facilitates ISTs of Ancillary Services obligation, i.e., the obligation to pay AS Charges for the amount of Demand represented by the SC.  There are four types of AS that SCs can trade:

- Regulation Up

- Regulation Down

- Spinning Reserve

- Non-Spinning Reserve

An IST of AS consists of a quantity in MWs traded between two SCs for a specific Trading Hour and for a specific Ancillary Service type.  The IST of AS is a trade of the obligation to pay CAISO charges for Ancillary Services.  CAISO settles with the two parties to the trade based on the quantity of the AS Obligation traded times the user rate for the AS Inter-SC Trades for the specific Trading Hour.  Once the SC responsible for the Demand has traded its AS obligation, the SC to which the obligation has been traded may meet that obligation with Self-Provided AS or purchasing AS from CAISO.

Since CAISO charges a single user rate for each AS per hour, separate ISTs for AS are not required for both the DAM and the RTM.  Hence, SCs may submit ISTs for Ancillary Services only in RTM beginning 0000 hours of the day prior to the Trading Day and up to 45 minutes prior to the Trading Hour.  This is based on CAISO Tariff Sections 28.2.3, 28.2.2 and 6.5.4.1.2.

### Inter-SC Trades of IFM Load Uplift Obligation

CAISO facilitates ISTs of the IFM Load Uplift Obligation between SCs.  Inter-SC Trades of IFM Load Uplift Obligation enable a SC to transfer any amount of the IFM Load Uplift Obligation (MW) to another SC.  An IST of IFM Load Uplift Obligation consists of a quantity in MWs traded between two SCs for a specific Trading Hour of the IFM.

Since CAISO charges a single user rate for IFM Load Uplift Obligation per hour, separate ISTs for IFM Load Uplift Obligation are not required for both the DAM and the RTM.  Hence, SCs submit ISTs only in the RTM for IFM Load Uplift Obligation beginning 0000 hours of the day prior to the Trading Day, up to 45 minutes prior to the Trading Hour.  Trades of IFM Load Uplift Obligation are not location specific, since CAISO calculates a system-wide user rate for this charge.  This is based on CAISO Tariff Sections 28.2.3, 28.2.2 and 6.5.4.1.2.

# Bid Requirements

Welcome to the Bid Requirements section of the CAISO BPM for Market Instruments.  In this section you will find the following information:

- A list of the Bid components that are constant across a Trading Day

- A list of the Bid components that can change hourly

Day-Ahead Bids and Self-Schedules include information on each of the 24 Trading Hours in the Trading Day.  Some Bid components are constant for the Trading Day, while other components can vary from hour to hour.  Exhibit 4-1 shows which Bid components are constant across the Trading Day – referred to in the exhibit as Daily Requirements – and those that can change hourly – Hourly Requirements.

## Daily & Hourly Bid Components

This section is based on CAISO Tariff Section 30.4 Election for Start-Up and Minimum Load Costs and Section 39.6.1.6.

Bid components are divided into two categories:

- Daily Bid components – These Bid components are constant across all Trading Hours in a Trading Day and do not change for that Trading Day.

- Hourly Bid components – These Bid components can vary in each Trading Hour of the Trading Day.

With the exception of two Bid components (Start-Up and Minimum Load), all Bid components can vary each day, and are submitted by SCs as part of their DAM and RTM Bids.  For Start-Up and Minimum Load Bid components, the SC selects one of two alternatives:  Registered Cost or Proxy Cost.  The same cost option must be selected for both the Start-Up and Minimum Load Bid components. The Start-Up and Minimum Load Bid components are constant for each Trading Day for the period submitted.

If Registered Cost is selected, the SC submits information for Start-Up and Minimum Load to CAISO for entry into the Master File.  Subject to the applicable cap, these values can be updated every six months through the Master File Update process that is described in Attachment B.  For resources located in Local Capacity Areas, the Registered Cost Option is capped at 200% of the Projected Proxy Cost.  For resources not located in Local Capacity Areas, the Registered Cost option is capped at 400% of the Projected Proxy Cost.   If the SC selects the Registered Cost Option, the values will be fixed for six months unless the resources costs, as calculated pursuant to the Proxy Cost option, exceed the Registered Cost option, in which case the SC may switch to the Proxy Cost option for the balance of the six-moth period.

If the Proxy Cost option is selected, the Start-Up and Minimum Load Bid components are calculated daily for each Generating Unit based on the daily gas price and includes, in addition,  auxiliary power costs (for Start-Up) and O&M costs (Minimum Load adder $2 or $4, depending on the resource; the adder is a value registered in the Master File).  The process that CAISO uses to calculate the daily gas price is shown in Attachment C, and there is an example in section 8.2.1.2 for a Generated Bid.

The details of the Bid components are described in subsequent sections.

Exhibit 4-2: Daily & Hourly Bid Components

|  | Daily Components | Hourly Components | Submitted through SIBR | Comment |
| --- | --- | --- | --- | --- |
| Start-Up |  |  | No these values are either registered for the resource or calculated. | If the resource has elected to use Registered Cost, the Start-Up cost used is that registered in the Master File. If the resource has elected the Proxy Cost option, Start-Up cost is calculated based on daily gas prices. |
| Minimum Load |  |  | No, these values are either registered for the resource or calculated. | If the resource has elected to use Registered Cost, the Minimum Load cost used is that registered in the Master File. If the resource has elected the Proxy Cost option, Minimum Load is calculated based on gas daily prices. |
| Energy Bid Curve |  |  |  |  |
| Self-Schedule |  |  |  |  |
| Ancillary Services |  |  |  | Bid cannot contain more than certified quantities for each service. |
| Regulation Down |  |  |  |  |
| Regulation Up |  |  |  |  |
| Spinning Reserve |  |  |  |  |
| Non-Spinning Reserve |  |  |  |  |
| Ramp Rate |  |  |  | Bid by SC, within limits of the minimum and maximum Ramp Rates in the Master File. |
| Operational Ramp Rate |  |  |  |  |
| Operating Reserve Ramp Rate |  |  |  |  |
| Regulation Ramp Rate |  |  |  |  |
| Contingency Dispatch Indicator |  |  |  | Must be selected if any AS is part of the Bid/Schedule. |
| Intertie Minimum Hourly Block |  |  |  | If no Minimum Hourly Block is set, it defaults to 1. |
| Pump Shut-Down Cost |  |  |  |  |
| Pumping Cost |  |  |  |  |
| Energy Limit (Maximum and Minimum Daily) |  |  |  |  |
| RUC |  |  |  |  |
| Distribution Factors |  |  |  | These apply to Generating Units only. Generation Distribution Factors are provided on a per-unit basis. SC may submit through SIBR. If none are provided through SIBR, CAISO will use Generation Distribution Factors (GDF) from the GDF Library based on historical generation pattern. |

# Energy Bids

Welcome to the Energy Bids section of the CAISO BPM for Market Instruments.  In this section you will find the following information:

- A general description of the Energy Bid components

- A description of the Bid requirements for Supply Bids

- A description of the Bid requirements for Demand Bids

SCs submit Energy Bids to participate in CAISO Markets for Energy.  Bids are submitted by SCs for each market (DAM and RTM) for the resources associated with each SC.  SCs submit Bids for each resource.  A single Energy Bid can include both Economic Bid components and Self-Schedule components, as shown in Exhibit 5-1, as well as operational information that applies to the entire range of Economic Bid components and Self-Schedule components.  Exhibit 5-1 shows a Bid that contains a Self-Schedule of 20 MW, and an Economic Bid of 80MW.

Exhibit 5-3: Example of Energy Bid with Self-Schedule & Economic Bid Components

SCs submit Energy Bids for the following types of resources:

- Generating Unit – Bids for certain types of Generating Units have additional Bid validation requirements.  These include:  Physical Scheduling Plant, a Pumped-Storage Hydro Unit, a System Unit, a Generating Unit fueled by natural gas and a Fast-Start Unit.

- Export Resource – Demand at a Scheduling Point.

- System Resource (an Import Resource) – can be registered as firm, non-firm, a Dynamic System Resource, or unit contingent.

- Participating Load – Load that has executed a Participating Load Agreement, including Pumping Load.

- Non-Participating Load – Load that has not executed a Participating Load Agreement, internal to the CAISO Balancing Authority Area and cannot submit Bids for Ancillary Services.

The following sections describe the details associated with different components of the Energy Bids.

## Supply Bids

(The content of this section is based on CAISO Tariff Section 30.5.2, Supply Bids)

Supply Bids can be both Economic Bids for Supply and Self-Schedule Bids for Supply.  The same resource can submit both Economic and Self-Schedule Bids for Supply for the same Trading Hour.  Supply Bids can be submitted in the IFM for one or more Trading Hours of the Trading Day and may be submitted no earlier than seven days prior to the Trading Day and no later than 1000 hours on the day preceding the Trading Day.

Each Energy Supply Bid is uniquely identified by:

- Scheduling Coordinator ID – This is the identification of the SC that submits the Bid.

- Market Type – Either DAM or RTM.

- Bid period – Identifies the specific CAISO Market for which the Bid applies.  For a DAM Bid, the Bid period is the specific Trading Day.  The Bid in the DAM is considered to be for a 24 hour period but any Bid component that is designated as hourly can differ for each hour.  For a RTM Bid, the Bid is for a specific Trading Hour.

- Resource ID – Identifies the resource.  It must be a valid resource associated with the SC specified in the Bid.  In order to participate in CAISO Markets, the resource must be certified.  This is described in more detail in the BPM for Scheduling Coordinator Certification and Decertification.

### Day-Ahead Economic Bids for Supply

Day-Ahead Economic Bids for Supply must include two types of information that the SCs submit to CAISO:

- Financial Information (detailed in Section 5.1.1.1 below)

- Operating Information (detailed in Section 5.1.1.2 below)

#### Financial Information

Financial information includes the cost components of Bids, and any associated operating limitations.

##### Start-Up Component

This Bid component applies only to Generating Units (and to Dynamic and Non-Dynamic Resource-Specific System Resources, which are modeled in the same way as Generating Units).  Start-Up component contains:

- Start-Up Time – The Start-Up Time is a staircase curve with up to three segments reflecting the conditions for Start-Up (Warm, Intermediate and Cold).  The Start-Up Time (expressed in minutes) is expressed as a function of Cooling Time (expressed in minutes) and can range from zero to infinity.  (CAISO inserts Master File Data, unless SC submits value less than Master File value).

- Start-Up Cost – The Start-Up Cost is a staircase curve with up to three segments reflecting the conditions for Start-Up (Warm, Intermediate and Cold).  Start-Up Cost is expressed in $, as a function of Cooling Time (in minutes) and can range from zero to infinity.  The actual value used for each Generating Unit is limited by values submitted to the Master File, or calculated using daily gas prices.  (Not entered by SC through SIBR).

Example of Start-Up Bid Component

|  | Cooling Time (Minutes) | Start-Up Time (Minutes) | Start-Up Cost ($) |
| --- | --- | --- | --- |
| Warm | 0 | 600 | 6,500 |
| Intermediate | 240 | 1390 | 9,800 |
| Cold | 480 | 1400 | 12,000 |

The Start-Up Cost component is a daily Bid component so a single set of values are used for the entire Trading Day in both the DAM and the RTM.

At this time, SCs need not enter Start-Up Cost into their DAM Bid.  If the SC does submit data for this component, CAISO overwrites the Bid component with the data from the Master File (except for the Start-Up Time, as described above).  If the SC has selected Registered Cost for the Start-Up Cost, this value can be changed every six months through the Master File.  If the SC has selected Proxy Cost for Start-Up Cost, CAISO calculates this value daily based on the daily gas price.  The process used by CAISO to calculate the daily gas price is described in Attachment C.  CAISO notifies the SC that the Start-Up cost has been overwritten by the default values when the Bid confirmation is provided to the SC.

##### Minimum Load Cost Component

This Bid cost component applies only to Generating Units.  The Minimum Load Cost component contains:

- The hourly cost of operating the Generating Unit at Minimum Load, expressed in $/hr.  (Not entered by SC through SIBR).

The Minimum Load Cost is constant for the entire Trading Day in both the DAM and the RTM.

SCs need not enter Minimum Load Cost into their DAM Bid.  If the SC does submit data for this component, CAISO overwrites the Bid component with the data from the Master File.  If the SC selected Registered Cost Minimum Load Cost, this value can be changed every six months through the Master File.  If the SC selected Proxy Cost Minimum Load Cost, CAISO calculates this value daily based on the daily gas price.  The process used by CAISO to calculate the daily gas price is described in Attachment C.  CAISO notifies the SC that the Minimum Load Cost component has been overwritten by the default values when the Bid confirmation is provided to the SC.

##### Energy Bid Curve

Energy Bid Curve is required to be submitted on behalf of a resource providing RA Capacity that has an obligation to offer Energy into the DAM, as described in the BPM for Reliability Requirements, unless a Bid on behalf of the unit is submitted as a Self-Schedule.  For all other resources, the Energy Bid Curve component is optional.  Specific requirements for submitting Energy Bid Curves are detailed in Attachment F.

The Energy Bid Curve component contains:

- An Energy Bid Curve of up to 10 segments (defined by 11 pairs) of Energy offer price ($/MWh) and operating level (MW) for each of the 10 segments.  The Energy Bid Curve begins at the Minimum Load level or the sum of its Self-Schedules, whichever is greater, of the Generating Unit.

Example of Energy Bid Curve Component for a Generating Unit with a PMin of 70MW and a PMax of 500 MW

| Segment | Operating Level (MW) | Energy Price $/MWh |
| --- | --- | --- |
| 1 | 70 | 25 |
| 2 | 150 | 30 |
| 3 | 200 | 35 |
| 4 | 250 | 40 |
| 5 | 300 | 45 |
| 6 | 340 | 50 |
| 7 | 375 | 55 |
| 8 | 400 | 60 |
| 9 | 450 | 65 |
| 10 | 475 | 75 |
|  | 500 | 75 |

Segment 1 is from 70 MW to 149.99 MW at an Energy price of $25/MWh; Segment 2 is from 150 MW to 199.99 MW, at an Energy price of $30/MWh etc.

The Energy Bid Curve must be monotonically increasing.  Separate Energy Bid Curves are submitted for each Trading Hour of the Trading Day.

#### Operating Information

Energy Supply Bids also contain operating information components that specify constraints on the operation of a Generating Unit or Participating Load.

##### Ramp Rate Component

SCs can submit three different types of Ramp Rate information:

- Operational Ramp Rate (Required if submitting Economic Bid for Supply) – The Operational Ramp Rate of resources limits the Energy schedule changes from one time period to the next in the SCUC.  The Operational Ramp Rate is used for scheduling and dispatch when the Generating Unit is not providing Regulation.  The Ramp Rate function allows the SCs to declare the Ramp Rate at different operating levels.  The Operational Ramp Rate component is a staircase curve of up to four segments (in addition to the Ramp Rate segments needed for modeling Forbidden Operating Regions, which are entered in the Master File) comprising the Ramp Rate, expressed in MW/minute and associated operating levels, expressed in MW.

Example of Operational Ramp Rate for a Generating Unit with a PMin of 70 MW and a PMax of 500 MW with no Forbidden Operating Regions

| MW | MW/Min |
| --- | --- |
| 70 | 5 |
| 150 | 8 |
| 300 | 7 |
| 400 | 8 |
| 500 | 8 |

Example of Operational Ramp Rate for a Generating Unit with a PMin of 100 MW and a PMax of 600 MW with Forbidden Operating Regions

The resource has four Forbidden Operating Regions stored in the Master File:

- 160 – 200 MW effective Ramp Rate 2 MW/Min

- 280 – 300 MW effective Ramp Rate 3 MW/Min

- 400 – 410 MW effective Ramp Rate 4 MW/Min

- 490 – 500 MW effective Ramp Rate 5 MW/Min

SC submits a four segment Ramp Rate with no Forbidden Operating Regions in its Bid:

| MW | MW/Min |
| --- | --- |
| 100 | 6 |
| 200 | 7 |
| 300 | 8 |
| 400 | 9 |
| 600 | 9 |

The final composition of the Ramp Rate after the IFM pulls in the Forbidden Operating Regions from the Master File is:

| MW | MW/Min |
| --- | --- |
| 100 | 6 |
| 160 | 2 |
| 200 | 7 |
| 280 | 3 |
| 300 | 8 |
| 400 | 4 |
| 410 | 9 |
| 490 | 5 |
| 500 | 9 |
| 600 | 9 |

- Operating Reserve Ramp Rate (Required if submitting Bid for Operating Reserve) The Operating Reserve Ramp Rate is a single value included in Ancillary Services Bids for Spinning Reserves and Non-Spinning Reserves that represents the Ramp Rate of a resource used in the procurement of Operating Reserve capacity.  Further details of this Bid component are described in Section 6 (Ancillary Services Bids).

- Regulation Ramp Rate (Required if submitting Bid for Regulation Up or Regulation Down)  The Regulation Ramp Rate is a single value included in Ancillary Services Bids for Regulation Up and Regulation Down that represents the Ramp Rate of a resource used in the procurement and dispatch of Regulation Up or Regulation Down capacity.  Further details of this Bid component are described in Section 6 (Ancillary Services Bids).

All three Ramp Rate components are constant across the Trading Day.

##### Energy Limit Bid Component

SC is not required to submit this Bid component, for resources that do not have Energy Limits.

Energy Limit constraints apply to a prescribed list of Use-Limited Resources (designated in the Master File) that can generate limited amounts of Energy for a given period of time due to hydro conditions, emission allowances or other regulatory or design considerations.  Use-Limited Resources may indicate an Energy Limit in their DAM Bids that applies to their schedule and dispatch throughout the Trading Day.  The Energy Limit Bid component contains:

- Maximum Daily Energy Limit (MWh)

- Minimum Daily Energy Limit (MWh).  This value must not be greater than zero.

- In Generation mode the Minimum value would be 0, in the pumping mode it would be a negative number.

The Energy Limit component is fixed for the entire Trading Day and is submitted only in the DAM.

##### Distribution Curve Bid Component

The Distribution Curve Bid component contains, for each resource contained in a Physical Scheduling Plant, System Unit or Aggregated Load Resource for Participating Loads) the following information:

- Distribution Location – Defined as the Connectivity Node (CNode) associated with the resource

- Distribution Factor – Generation Distribution Factor for the resource located at the Distribution Location.  Distribution Factors are non-negative numbers that sum to one (1) for the Aggregated Generating Resource or Aggregated Load Resource.

##### Pump Mode of Pumped-Storage Hydro Units & Participating Load

(Required for Pumped-Storage Hydro Units and Pumping Load resources)

Pumped-Storage Hydro Units and Pumping Load can operate in the mode of Generating Unit or Participating Load and can submit Bid components for both modes.  Participating Load is treated in the same manner as the pumping component of the Pumped-Storage Hydro Units.  In addition to the Start-Up Cost component and the Minimum Load Cost component (associated with operating in generating mode), Pumped-Storage Hydro Units submit the following three Bid components:

- Pump Shut-Down Cost, expressed in $

- A Pumping Level, expressed in MW (positive value)

- Pumping Cost – The hourly cost of pumping, expressed in $/Hr, if the resource is registered as a Pumped-Storage Hydro Unit

Exhibit 5-4: Pumped-Storage Hydro Unit Bid Component with both Generation and Demand

| Pumped-Storage Hydro in Pump Mode Bid Components | Compared to | Pumped-Storage Hydro in Generator Mode Bid Components |
| --- | --- | --- |
| Shut-Down Cost – |  | Generator’s Start Up Cost |
| Pumping Level |  | MW Operating Point |
| Pumping Cost |  | Energy Bid component |

Exhibit 5-2 shows a Bid for a Pumped-Storage Hydro Unit that contains both Generation and Demand components for the same Trading Hour.  In the above example, the Generation PMin is 70MW and the PMax is 200 MW.  The unit submits a pumping bid of 100 MW.

### Day-Ahead Self-Schedule Bids for Supply

This section is based on the CAISO Tariff Section 31.4, Uneconomic Adjustments in the IFM

Generating Units may submit a Self-Schedule Bid for Supply for each Trading Hour of the Trading Day.  A Self-Schedule Bid component indicates self-commitment by the Generating Unit – i.e., the IFM does not economically commit or decommit a resource in a Self-Scheduled resource.  SCs can submit different types of Self-Schedule Bids that receive different scheduling priorities in the IFM, consistent with registration in the Master File.  The list in decreasing order of priority is:

- Reliability Must-Run (RMR) Unit (manually dispatched prior to the DAM or committed through the MPM-RRD process)

- Transmission Ownership Right (TOR)

- Existing Transmission Contract (ETC) *Note: Converted Rights (CVR) will be submitted into SIBR using the “Self Schedule ETC” Product Type  (DAM only) and have the same priority as ETC.

- Regulatory Must-Run and Regulatory Must-Take (RMT) Generation

- Price Taker (PT)

#### Utilizing Self-Schedule Priorities

The following sections describe the types of Self-Schedule components an SC can submit, in decreasing order of priority.

It is important to note that a TOR, ETC or Wheel that is submitted in the DAM result, if awarded translates into a RT Self-Schedule if no bid or schedule is submitted. In order to preserve the priority of an ETC, TOR, or Wheel the ETC, TOR, or Wheel must be resubmitted in the RTM.

Converted Right (CVR) contracts do not have priority in the RTM.

##### Transmission Ownership Right Self-Schedule Bid Component

(Required for TORs)

This is based on CAISO Tariff Section 17, Transmission Ownership Rights (“TOR”).

A TOR Self-Schedule Bid component contains:

- TOR Self-Schedule Identifier – TOR

- TOR Contract Reference Number (CRN)

- TOR Self-Schedule capacity, expressed in MW

TOR Self-Schedules must be submitted balanced between source and sink, and must be within the ownership rights for that TOR, as specified in the Transmission Rights and Curtailment Instructions (TRTC) provided in advance to the CAISO.  Sources and sinks must use the same TOR Contract Reference Number.  The Contract Reference Number must be registered in the Master File prior to the TOR Self-Schedule taking place.  (CAISO Tariff Section 17.3.1, Validation of TOR Self-Schedules).

##### Existing Transmission Contract Self-Schedule Bid Component

(Required for ETCs and CVRs)

An ETC Self-Schedule Bid component contains:

- ETC Self-Schedule Identifier – ETC

- ETC/CVR Contract Reference Number (CRN) *Note: CVRs are also defined by the CRN.

- ETC/CVR Self-Schedule capacity, expressed in MW

ETC/CVR Self-Schedules must be submitted balanced between source and sink, and must not exceed the MW amount for the ETC referenced in the Bid, as specified in the TRTC provided in advance to the CAISO.  Sources and sinks must use the same ETC/CVR Contract Reference Number.  The Contract Reference Number must be registered in the Master File prior to the ETC/CVR Self-Schedule taking place.  (See CAISO Tariff Section 16.6.1, Validation of ETC/CVR Self-Schedules).

##### Regulatory Must-Run/-Take Self-Schedule Bid Component

(Required for RMTs)

A RMT Self-Schedule Bid component contains:

- Self-Schedule Identifier – RMT

- RMT Reference

- Self-Schedule capacity, expressed in MW

##### Price Taker Self-Schedule Bid Component

(Optional for all SCs)

The PT Self-Schedule Bid component contains:

- Self-Schedule capacity, expressed in MW

- Self-Schedule Identifier – PT

- Supporting Resource (Exports only)

##### Lower Price Taker Self-Schedule Bid Component

(Optional for all SCs, used for Exports Only)

The LPT Self-Schedule Bid component contains:

- Self-Schedule capacity, expressed in MW

- Self-Schedule Identifier – L PT

.

### Real-Time Economic Bids for Supply

Real-Time Economic Bids for Supply are similar to Day-Ahead Economic Bids for Supply with the major difference that Real-Time Bids are for one Trading Hour, while Day-Ahead Bids are for each Trading Hour in the Trading Day.  As with Day-Ahead Economic Bids for Supply, Real-Time Economic Bids for Supply consist of daily and hourly components.  If the SC submits daily components for a resource in the Day-Ahead Bid, it is not necessary to submit the components again in the RTM.

#### Financial Information

The following sections define the financial information that SCs submit for the RTM Economic Bids for Supply.

##### Start-Up Component

This Bid component applies only to Generating Units.  The Start-Up component contains:

- Start-Up Time – The Start-Up Time is a staircase curve with up to three segments reflecting the conditions for Start-Up (Warm, Intermediate and Cold).  The Start-Up Time (expressed in minutes) is expressed as a function of Cooling Time (expressed in minutes) and can range from zero to infinity.  (CAISO inserts Master File Data, unless SC submits value less than Master File value).

- Start-Up Cost – The Start-Up Cost component is a staircase curve with up to three segments reflecting the conditions for Start-Up (Warm, Intermediate and Cold).  Start-Up Cost is expressed in $, as a function of Cooling Time (in minutes) and can range from zero to infinity.  The actual value used for each Generating Unit is limited by values submitted to the Master File, or calculated using daily gas prices.   (Not entered by SC through SIBR).

Example of Start-up Bid Component

|  | Cooling Time (Minutes) | Start-Up Time (Minutes) | Start-Up Cost ($) |
| --- | --- | --- | --- |
| Warm | 0 | 600 | 6,500 |
| Intermediate | 240 | 1390 | 9,800 |
| Cold | 480 | 1400 | 12,000 |

SCs are not required to enter Start-Up Cost into their RTM Bid.  If the SC does submit data for this component, CAISO overwrites the Bid component with the data from the Master File (except for the Start-Up Time, as described above).  If the SC has selected Registered Cost for the Start-Up Cost, this value can be changed every six months through the Master File.  If the SC has selected Proxy Cost for the Start-Up Cost, CAISO calculates this value daily based on the daily gas price.  The process used by CAISO to calculate the daily gas price is described in Attachment C, and there is an example in section 8.2.1.2.

The Start-Up Cost is constant for the entire Trading Day.  If a Start-Up Bid component is used in the DAM, the same value is used in the RTM.  CAISO notifies the SC that the Start-Up cost has been overwritten by the default values when the Bid confirmation is provided to the SC.

##### Minimum Load Cost Component

This Bid component applies only to Generating Units.  The Minimum Load Cost component contains:

- The hourly cost of operating the Generating Unit at Minimum Load, expressed in $/hr (Not entered by SC).

SCs are not required to enter Minimum Load Cost into their RTM Bid.  If the SC does submit data for this component, CAISO overwrites the Bid component with the data from the Master File.  If the SC has selected Registered Cost for the Minimum Load Cost, this value can be changed every six months through the Master File.  If the SC has selected Proxy Cost for the Minimum Load Cost, CAISO calculates this value daily based on the daily gas price.  The process used by CAISO to calculate the daily gas price is described in Attachment C.

The Minimum Load Cost is constant for the entire Trading Day.  If the SC submits a Minimum Load Cost component in the DAM, it is not necessary to re-submit a value for the RTM.  CAISO notifies the SC that the Minimum Load Cost is overwritten by the default values when the Bid confirmation is provided to the SC.

##### Energy Curve Bid Component

Energy Bid Curve is required to be submitted on behalf of a Generating Unit or Dynamic System Resource providing RA Capacity that has an obligation to offer Energy into the RTM, as described in the BPM for Reliability Requirements unless a Bid on behalf of the unit is submitted as a Self-Schedule.  For all other Generating Units, the Energy Bid Curve component is optional.  Specific requirements for submitting Energy Bid Curves are referenced in Attachment A of this BPM.

The Energy Curve Bid component contains:

- An Energy Bid Curve of up to 10 segments (defined by 11 pairs) of Energy price ($/MWh) and operating level (MW) for each of the 10 segments.  The Energy Bid Curve begins at the Generating Unit’s Minimum Load level or the Self-Schedule.

Example of Energy Bid Component for a Generating Unit with a PMin of 70 MW and a PMax of 500 MW

| Segment | Operating Level (MW) | Energy Price $/MWh |
| --- | --- | --- |
| 1 | 70 | 25 |
| 2 | 150 | 30 |
| 3 | 200 | 35 |
| 4 | 250 | 40 |
| 5 | 300 | 45 |
| 6 | 340 | 50 |
| 7 | 375 | 55 |
| 8 | 400 | 60 |
| 9 | 450 | 65 |
| 10 | 475 | 75 |
|  | 500 | 75 |

The Energy Bid Curve must be monotonically increasing.

##### Pumped-Storage Hydro Units

(Required for Pumped-Storage Hydro Units)

In addition to the Start-Up Cost component and the Minimum Load Cost component, Pump-Storage Hydro Units submit the following three Bid components:

- Pump Shut-Down Cost – If the resource is registered as a Pumped-Storage Hydro Unit.  The Pump Shut-Down Cost is expressed in $/hr

- A Pumping Level (expressed in MW) – If the resource is registered as a Pumped-Storage Hydro Unit.

- Pumping Cost – The hourly cost of pumping, expressed in $/hr, if the Generating Unit is registered as a Pumped-Storage Hydro Unit.

#### Operating Information

Supply Bids on behalf of Generating Units also contain operating information components that specify constraints on the operation of a Generating Unit.

##### Ramp Rate Component

The Operational Ramp Rate of resources reflects the limitations of the resources’ abilities to alter output from one time period to the next and is honored in the SCUC.  The Operational Ramp Rate constraints are determined by the Operational Ramp Rate function, or the Regulation Ramp Rate (if the Generating Unit provides Regulation) multiplied by a time interval, (e.g., 60 minutes).  The Operational Ramp Rate is used for scheduling and dispatch when the Generating Unit is not providing Regulation.  The Ramp Rate function allows the SCs to declare the Ramp Rate at different operating levels.  This Bid component contains:

- Operational Ramp Rate (Required) –The Operational Ramp Rate component is a staircase curve of up to four segments comprising the Ramp Rate, expressed in MW/minute and associated operating levels, expressed in MW.

| MW | MW/Min |
| --- | --- |
| 70 | 5 |
| 150 | 8 |
| 300 | 7 |
| 400 | 8 |
| 500 | 8 |

- Operating Reserve Ramp Rate (Required if SC is submitting Bid for Operating Reserve) – The Operating Reserve Ramp Rate is a single number included in Ancillary Services Bids for Spinning Reserves and Non-Spinning Reserves that represents the Ramp Rate of a resource used in the procurement of Operating Reserve capacity.  Further details of this Bid component are described in Section 6 (Ancillary Services Bids).

- Regulation Ramp Rate (Required if SC is submitting Bid for Regulation Up or Down) – The Regulation Ramp Rate is a single number included in Ancillary Services Bids for Regulation Up and Regulation Down that represents the Ramp Rate of a resource used in the procurement and dispatch of Regulation Up or Regulation Down capacity.  Further details of this Bid component are described in Section 6 (Ancillary Services Bids).

All three Ramp Rate components are constant across the Trading Day.  If the SC has submitted an Operational Ramp Rate for a previous Trading Hour, it is not necessary to resubmit the information for the current Trading Hour.

##### Distribution Bid Component

The Distribution Curve component contains, for each Physical Scheduling Plant, System Unit or Participating Load the following information:

- Distribution Location – Defined as the Connectivity Node (CNode) associated with the Generating Unit.

- Distribution Factor – Generation Distribution Factor for the Generating Unit located at the Distribution Location.

### Real-Time Self-Schedule Bids for Supply

Real-Time Self-Schedule Bids for Supply contain information on nominated Self-Schedule quantities, and operational information.  The operational information to be included with a Real-Time Self-Schedule is the same as that which is submitted with an Economic Bid for Supply.

#### Self-Schedule Quantities

A Real-Time Energy Bid can contain Self-Schedule quantities.  Self-Schedule quantities contain the capacity the SC wants to include in the Self-Schedule Bid and the type of Self-Schedule.  Real-Time Market Self-Schedule quantities are for a single Trading Hour.  The following sections describe the types of Self-Schedule components an SC can submit, in decreasing order of priority.

It is important to note that a TOR/ETC/Wheel that is submitted in the DAM result, if accepted, in a Day Ahead Schedule. In order to preserve an ETC/TOR/Wheel the ETC/TOR/Wheel must be resubmitted in the RTM.

##### Transmission Ownership Right Self-Schedule Bid Component

(Required for TORs)

A Transmission Ownership Right (TOR) Self-Schedule Bid component contains:

- TOR Self-Schedule Identifier – TOR

- TOR Contract Reference Number (CRN)

- TOR Self-Schedule capacity, expressed in MW

TOR Self-Schedules must be submitted balanced between source and sink, and must be within the allotted ownership rights for that TOR, as specified in the TRTC provided in advance to the CAISO.  Sources and sinks must use the same TOR Contract Reference Number.  The Contract Reference Number must be registered in the Master File prior to the TOR Self-Schedule taking place.  (CAISO Tariff Section 17.3.1, Validation of TOR Self-Schedules).

##### Existing Transmission Contract Self-Schedule Bid Component

(Required for ETCs)

An Existing Transmission Contract (ETC) Self-Schedule Bid component contains:

- ETC Self-Schedule Identifier – ETC

- ETC Contract Reference Number (CRN)

- ETC Self-Schedule capacity, expressed in MW

ETC Self-Schedules must be submitted balanced between source and sink, and must not exceed the MW amount for the ETC referenced in the Bid, as specified in the TRTC provided in advance to the CAISO.  Sources and sinks must use the same ETC Contract Reference Number.  The Contract Reference Number must be registered in the Master File prior to the ETC Self-Schedule taking place.  (See CAISO Tariff Section 16.6.1, Validation of ETC Self-Schedules).

##### Regulatory Must-Run/-Take Generation Self-Schedule Bid Component

(Required for RMTs)

A Regulatory Must-Take/Regulatory Must-Run (RMT) Generation Bid component contains:

- Self-Schedule Identifier – RMT

- RMT Generation Reference – These are registered in the Master File

- Self-Schedule capacity, expressed in MW

##### Price Taker Self-Schedule Bid Component

The PT Self-Schedule Bid component contains:

- Self-Schedule capacity, expressed in MW

- Self-Schedule Identifier – PT

.

#### Operating Information

The operating information submitted with a RTM Self-Schedule Bid component is the same as that required for a Real-Time Economic Bid.

## CAISO Demand Bids

SCs representing Loads (including exports) submit Demand Bids indicating the hourly quantity of Energy in MWh that it intends to purchase in the IFM for each Trading Hour of the Trading Day.  SCs submitting Demand Bid components submit both common information and information that is specific to the type of Demand Bid.  The common information included in the Demand Bids is as follows:

- Scheduling Coordinator ID Code

- Location Code for the LAP, PNode or APNode, as applicable

The specific information associated with different types of Demand Bids is described in the following sections.

### Day-Ahead Economic Bids for Demand

SCs may submit Day-Ahead Economic Bids for Demand of the following types:

- Participating Load Bids

- Non-Participating Load Bids

#### Participating Load Demand Bids

Participating Load Bids can be submitted only for those resources that are registered as Pumped-Storage Hydro Units or Pumping Load resources.  In addition to the common information contained in all Bids, Participating Load Demand Bids contain the following information:

- Pumping Level, expressed in MWh

- Pumping Cost, expressed in $/Hr

- Ramp Rate, expressed in MW/min, for Pumped-Storage Hydro Units

- Shut-Down Cost, expressed in $

The Pumping Load (individual or aggregated) will be registered in the Master File as a Participating Load.

##### Aggregated Participating Load

An Aggregated Participating Load will be modeled and will participate in the CAISO’s markets as both a Non-Participating Load (NPL)  and a Generator.   The Aggregated Participating Load will not be able to participate in the CAISO’s markets directly as a Participating Load in Release 1.

The Scheduling Coordinator on behalf of the Aggregated Pumping Load may submit two Bids for the same Trading Day: (1) as a Non-Participating Load, a Day-Ahead Self-Schedule with an Energy Bid Curve with a maximum 10 segments; and (2) as a Generator representing the demand reduction capacity of the Aggregated Participating Load, a submission to Self-Provide Non-Spinning Reserve or a Bid to provide Non-Spinning Reserve.  The CAISO will assign two Resource IDs:  one for Non-Participating Load Bids and one for Generator Bids (either a Resource ID for a Generating Unit or a Physical Scheduling Plant).  Both Resource IDs will be in the Master File on behalf of the Aggregated Participating Load.  The Aggregated Participating Load will be treated as a Participating Load for settlement and compliance purposes except that Aggregated Participating Load will be scheduled and settled at Custom LAP rather than an individual PNode.  Future software releases will allow Aggregated Participating Load resources to participate directly as Participating Load.

In the DAM when the SC submits the Non-Spinning Reserve Self-Provision or the Non-Spinning Reserve Bid, the SC must ensure that the total Non-Spinning Reserve (including Self-Provided or any Ancillary Services Awards in the market ) is available in Real-Time for dispatch. For the Aggregated Participating Load, this means the Demand must be there in real-time for reduction. For example, if the associated Non-Participating Load does not clear the DAM at a load level that is greater than the total Non-Spinning Awards, the market participant must ensure the pumps will be pumping in Real-Time in order to provide the Non-Spinning Reserve; otherwise the payment for Non-Spinning Reserve will be rescinded by No-Pay.

In the DAM when the SC submits the Non-Spinning Reserve Self-Provision and the Non-Spinning Reserve Bid, the SC must indicate that the Non-Spinning Reserve Self-Provision and Non-Spinning Reserve Bid are contingent; the SC must not submit an Energy Bid curve on behalf of the Aggregated Pumping Load as a Generator or the resource may be dispatched for Energy.

The following table provides guidance to Scheduling Coordinators submitting Bids on behalf of Aggregated Participating Load.

| Generator Bid Components And Attributes | Corresponding Aggregated Participating Load Attributes |
| --- | --- |
| Start-Up Cost | Demand curtailment cost, e.g. Pump Shut Down Cost ($/curtailment event) |
| Start-Up Time | Demand curtailment time |
| Minimum Load | Must be zero to prevent unit commitment in the DAM |
| Minimum Load Cost | Set to zero since Minimum Load is set to zero |
| Maximum Capacity | Certified Non-Spinning Reserve capacity |
| Best/Worst Operating Reserve Ramp Rate | Certified Non-Spinning Reserve Ramp Rate |
| Best/Worst Operational Ramp Rate | Best/worst Demand curtailment rate (Note: Since Generating Units do not have different Ramp Rates for Ramping up and down, the Demand pickup rate is ignored.) |
| Minimum Run Time | Minimum Demand curtailment time |
| Minimum Down Time | Must be zero (Note: Minimum Base Load time is not used because doing so would require the IFM/RTM to link the Generator resource with the Non-Participating Load resource.) |
| Maximum Daily Start-Ups | Maximum number of daily curtailments |
| Energy Bid Curve | Must not submit in the DAM or the resource may be dispatched for Energy in the IFM (Bid submitted in the RTM represents offer to curtail Demand associated with the Non-Spinning Reserve ($/MWh).) |

#### Non-Participating Load Demand Bids

Non-Participating Load Demand Bids contains the following:

- Demand Bid Curve – A staircase curve with up to ten segments, monotonically decreasing, defined by 11 pairs of a MW quantity and price, expressed in $/MWh.

Example of Demand Bid Curve Component for Non-Participating Load

| Segment | Operating Level (MW) | Energy Price $/MWh |
| --- | --- | --- |
| 1 | 70 | 75 |
| 2 | 150 | 65 |
| 3 | 200 | 60 |
| 4 | 250 | 55 |
| 5 | 300 | 50 |
| 6 | 340 | 45 |
| 7 | 375 | 40 |
| 8 | 400 | 35 |
| 9 | 450 | 30 |
| 10 | 475 | 25 |
|  | 500 | 25 |

Demand up to the MW defined by the first segment (i.e., the starting point of the Demand Bid Curve) is treated as a Self-Schedule.

Separate Demand Bid curves can be submitted for each Trading Hour of the Trading Day.

### Day-Ahead Self-Schedule Bids for Demand

In addition to Economic Bids for Demand, SCs submit Self-Schedule Bids for Demand.  With the exception of ETCs and TORs, SCs may only submit Self-Schedules for Demand in the DAM.

SCs can submit Export Self-Schedules in the RTM. (see section 5.2.4)

#### Transmission Ownership Right Self-Schedule Bid Component

In addition to the common Demand Bid information listed in Section 5.2, a Day-Ahead TOR Self-Schedule Demand Bid contains the following:

- TOR Contract Reference Number

- TOR Self-Schedule Demand quantity – expressed in MW

TOR Self-Schedules must be submitted balanced between source and sink, and must be within the allotted ownership rights for that TOR, as specified in the TRTC provided in advance to the CAISO.  Sources and sinks must use the same TOR Contract Reference Number.  The Contract Reference Number must be registered in the Master File prior to the TOR Self-Schedule taking place.  (CAISO Tariff Section 17.3.1, Validation of TOR Self-Schedules).

#### Existing Transmission Contract Self-Schedule Bid Component (also applies to CVRs)

In addition to the common Demand Bid information listed in Section 5.2, a Day-Ahead ETC Self-Schedule Demand Bid contains the following: *Note: Converted Rights (CVR) will be submitted into SIBR using the “Self Schedule ETC” Product Type  (DAM only).

- ETC/CVR Contract Reference Number *Note: CVRs are also defined by the CRN.

- ETC Self-Schedule Demand quantity – expressed in MW

ETC/CVR Self-Schedules must be submitted balanced between source and sink, and must not exceed the MW amount for the ETC/CVR referenced in the Bid, as specified in the TRTC provided in advance to the CAISO.  Sources and sinks must use the same ETC/CVR Contract Reference Number.  The Contract Reference Number must be registered in the Master File prior to the ETC Self-Schedule taking place.  (CAISO Tariff Section 16.6.1, Validation of ETC Self-Schedules)

#### Price Taker Self-Schedule Bid Component

In addition to the common Demand Bid information listed in Section 5.2, a Day-Ahead PT Self-Schedule Demand Bid contains the following:

- PT Self-Schedule Demand Quantity – expressed in MW

The Demand Bid component of a Price Taker Self-Schedule does not have to be balanced with a Supply Bid component.

- For PT Self-Schedules from Export Resources in addition to the above information the PT Self-Schedule must also contain:

- Supporting Resource that will be a Generating Unit.

#### Process for Exports to obtain PT Status

For Export Resources that are not RA Resources to be treated as a PT, the SC must designate a Generating Unit that is non-RA/non-RUC as the supporting resource for the PT Self-Schedule for the Trading Hour. The identified Generating Unit may or may not be in the same SC’s portfolio of the Export Resource. Different Generating Units may support the PT Self-Schedules of an Export Resource in different Trading Hours and the same Generating Unit may be identified by several Export Resources to support their PT Self-Schedules in a Trading Hour.

The CAISO will validate according to the SIBR rules that the designated supporting resource for the PT Self-Schedule has available capacity that is greater than or equal to the sum of the relevant PT Export Self-Schedules that claim that same resource multiplied by a configurable Export Capacity factor (such as 100%). If the available capacity is less than the calculated value, SIBR shall convert the PT Export Self-Schedules to LPT Export Self-Schedules in their entirety according to the SIBR Business Rules.

Export Resources that are identified as RA Resources in DAM and RTM may submit PT Self-Schedules up to the registered “RA Capacity” without designating a supporting resource.

SCs may submit Lower Price Taker (LPT) Self-Schedules for Export Resources that are not explicitly supported by a non-RA/non-RUC Generating Unit or System Resource.

#### Lower Price Taker Self-Schedule Bid Component

In addition to the common Demand Bid information listed in Section 5.2, a Day-Ahead LPT Self-Schedule Demand Bid contains the following:

- LPT Self-Schedule Demand Quantity – expressed in MW

The Demand Bid component of a Lower Price Taker Self-Schedule does not have to be balanced with a Supply Bid component.

.

#### Aggregate Resource Load Bids

Load Distribution Factors (LDFs) for allowed customized aggregation come from the LDF library maintained by CAISO.  The LDF Library contains the following:

- Distribution Location – the Connectivity Node (CNode) associated with the Custom Load Aggregation Resource

- Distribution Factor – Load Distribution Factor for the Custom Load Aggregation Resource located at the Distribution Location

### Real-time Economic Bids for Demand

The following resources may submit Demand Bids in the RTM:

- Participating Loads

- Exports may submit Bid or Self-Schedules in the RTM. However, to the extent an Export is Self-Scheduled and seeks to have the same priority as CAISO Forecast of CAISO Demand, the Export must be supported by non-RA or non-RUC capacity.

- The process for both will be submitted using the process described in section 5.2.1.1 and 5.2.2.4.

### Real-Time Self-Schedule Demand Bids

SCs can submit Export Self-Schedules in the RTM.

In DAM, an Export Self-Schedule explicitly and adequately supported by the non-RA capacity in the Energy Bid of a Generator or Import resource, that is also not associated with Self-Provided upward A/S capacity, has the same Self-Schedule priority as CAISO Demand. Otherwise, an Export Self-Schedule has a lower Self-Schedule priority than CAISO Demand

In HASP and RTM, Export Self-Schedule already cleared in the IFM or explicitly and adequately supported by the energy bid capacity that is in excess of the RUC Schedule and not occupied by DA upward AS awards and RT upward AS self-provisions of a generator or import resource has the same Self-Schedule priority as CAISO demand forecast.  Otherwise, Export Self-Schedule has lower Self-Schedule priority than CAISO demand

The process for Export Resources to obtain PT status is explained in section 5.2.2.4.

It is important to note that a TOR/ETC/Wheel that is submitted in the DAM result, if accepted, in a Day Ahead Schedule. In order to preserve an ETC/TOR/Wheel the ETC/TOR/Wheel must be resubmitted in the RTM.

#### Existing Transmission Contract Self-Schedule Bid Component

In addition to the common Demand Bid information listed in Section 5.2, an ETC Self-Schedule Demand Bid contains the following:

- ETC Contract Reference Number

- ETC Self-Schedule Demand quantity, expressed in MW

ETC Self-Schedules must be submitted balanced between source and sink, and must not exceed the MW amount for the ETC referenced in the Bid, as specified in the TRTC provided in advance to the CAISO.  Sources and sinks must use the same ETC Contract Reference Number.  The Contract Reference Number must be registered in the Master File prior to the ETC Self-Schedule taking place.  (CAISO Tariff Section 16.6.1, Validation of ETC Self-Schedules)

#### Transmission Ownership Right Self-Schedule Bid Component

In addition to the common Demand Bid information listed in Section 5.2, a TOR Self-Schedule Demand Bid contains the following:

- TOR Contract Reference Number

- TOR Self-Schedule Demand quantity, expressed in MW.

TOR Self-Schedules must be submitted balanced between source and sink, and must be within the allotted ownership rights for that TOR as specified in the TRTC provided in advance to the CAISO.  Sources and sinks must use the same TOR Contract Reference Number.  The Contract Reference Number must be registered in the Master File prior to the TOR Self-Schedule taking place.  (CAISO Tariff Section 17.3.1, Validation of TOR Self-Schedules)

.

#### Price Taker Self-Schedule Bid Component

In addition to the common Demand Bid information listed in Section 5.2, a Real-Time PT Self-Schedule Demand Bid contains the following:

- PT Self-Schedule Demand Quantity – expressed in MW

The Demand Bid component of a Price Taker Self-Schedule does not have to be balanced with a Supply Bid component.

#### Lower Price Taker Self-Schedule Bid Component

In reference to the Export Priority for lower self schedule in Section 5.2, a Real-Time LPT Self-Schedule Demand Bid contains the following:

- LPT Self-Schedule Demand Quantity – expressed in MW

The Demand Bid component of a Lower Price Taker Self-Schedule does not have to be balanced with a Supply Bid component.

The same process for Export Priority applies in Real-Time as in the Day-Ahead. (see Section 5.2.2.4)

# Ancillary Services Bids

Welcome to the Ancillary Services Bids section of the CAISO BPM for Market Instruments.  In this section you will find the following information:

- How CAISO procures Ancillary Services

- How SCs can self-provide Ancillary Services

- A description of the Ancillary Services Bid components

## Procurement of Ancillary Services

This section is based on CAISO Tariff Section 8.4.7.2, Bidding and Self-Provision of Ancillary Services

SCs may submit an Economic Bid or a Bid for Self-Provided Ancillary Services (AS) from resources located within the CAISO Balancing Authority Area, submit Bids for AS from resources located outside CAISO Balancing Authority Area, or specify Inter-SC Trades of AS (covered in more detail in Section 9.2).  Ancillary Services in the DAM and the RTM are comprised of the following:

- Regulation Up, which must be synchronized and able to receive AGC signals

- Regulation Down, which must be synchronized and able to receive AGC signals

- Spinning Reserve (which must be synchronized, be available in 10 minutes, and be maintainable for two hours)

- Non-Spinning Reserve (which must be supplied within 10 minutes and be maintainable for two hours)

Certified Participating Generators and Dynamic System Resources are eligible to provide all AS.  Certified Non-Dynamic System Resources are eligible to provide Operating Reserves only.  Certified Participating Loads are eligible to provide Non-Spinning Reserve only.

The same resource capacity may be offered into more than one CAISO AS Market at the same time.  SCs may submit Bids to provide Spinning Reserve or Non-Spinning Reserve from certified System Resources, including Dynamic System Resources.  In the event that an AS Bid is invalid, the SC receives prompt notification of that invalidity.

CAISO operates a competitive DAM and RTM to procure AS.  Bids for Regulation Up, Regulation Down, Spinning Reserve, and Non-Spinning Reserve in the DAM must be received no sooner than seven days prior to the Trading Day up to Market Close of the DAM (1000 hours on the day prior to the Trading Day).  The Bids contain information for each of the 24 hour Trading Hours of the Trading Day.  Bids for AS in the RTM are submitted incrementally from any DAM AS Awards.  DAM AS Awards are binding commitments and cannot be reduced in RTM.  CAISO requires SCs to honor their DA AS Awards when submitting AS Bids in the RTM.

Bids for all four AS in the RTM processes must be received at least 75 minutes prior to the commencement of the Trading Hour.  The Bids include information for only the relevant Trading Hour.  Failure to provide information within the stated timeframes results in the Bids being declared invalid by CAISO.

## Self Provided Ancillary Services

This section is based on CAISO Tariff Section 8.6, Obligations for and Self-Provision of Ancillary Services, and CAISO Tariff Section 30.5.2.6, Ancillary Services Bids.

SCs with submissions to self-provide an Ancillary Service supply all the same information as an AS Economic Bid, excluding the capacity price information for each AS offered by the SC.

In addition, resources that have registered with a Metered Subsystem (MSS) that has elected the Load Following option may submit Self-Provision Bids for Load Following Up and Load Following Down.

### Load Following Up

The specific Load Following Up Bid components are the following:

- Load Following Up capacity, expressed in MW.

### Load Following Down

The specific Load Following Down Bid components are the following:

- Load Following Down capacity, expressed in MW.

## Ancillary Service Bid Components

This section is based on CAISO Tariff Section 30.5.2.6, Ancillary Services Bids.

The Bids for Ancillary Services contain both common components and components that are specific to each service.  The same Bid components are included for both DAM and RTM Bids for AS, where the DAM includes information for each Trading Hour of the Trading Day and the RTM includes information for just the relevant Trading Hour.

The common components to the AS Bids are described in the Energy Bid component above in Section 5 (Energy Bids).

The following sections describe the specific Bid components for each type of AS.

### Regulation Up

The specific Regulation Up Bid components are the following:

- Regulation Up capacity, expressed in MW

- Regulation Up price, expressed as $/MW

- Regulation Ramp Rate, expressed in MW/Min

### Regulation Down

The specific Regulation Down Bid components are the following:

- Regulation Down capacity, expressed in MW

- Regulation Down price, expressed as $/MW

- Regulation Ramp Rate, expressed in MW/Min

### Spinning Reserve Capacity

The specific Spinning Reserve Bid components are the following:

- Spinning Reserve capacity, expressed in MW

- Spinning Reserve price, expressed as $/MW

- Operating Reserve Ramp Rate, expressed in MW/Min

- Contingency Dispatch Indicator

### Non-Spinning Reserve Capacity

The specific Non-Spinning Reserve Bid components are the following:

- For Generating Units:

- Non-Spinning Reserve capacity, expressed in MW

- Non-Spinning Reserve price, expressed as $/MW

- Operating Reserve Ramp Rate, expressed in MW/Min

- Contingency Dispatch Indicator

- For Participating Loads:

- Non-Spinning Reserve capacity, expressed in MW

- Non-Spinning Reserve price, expressed as $/MW

- Operating Reserve Ramp Rate, expressed in MW/Min

- Contingency Dispatch Indicator

# Residual Unit Commitment Availability Bids

Welcome to the Residual Unit Commitment Availability Bids section of the CAISO BPM for Market Instruments.  In this section you will find the following information:

- The information required to submit a RUC Availability Bid

- How CAISO validates the RUC Availability Bids

The Residual Unit Commitment (RUC) process occurs after the DA IFM is completed.  RUC is a reliability function for committing resources and procuring RUC capacity included in the Day Ahead Schedule resulting from the IFM (as Energy or AS capacity), in order to meet the difference between the CAISO Forecast of CAISO Demand (including locational differences) and the Demand scheduled in the Day Ahead Schedule resulting from the IFM, for each Trading Hour of the Trading Day.  The RUC is the process designed to ensure that sufficient on-line resources are available to meet Real-Time Demand.  SCs can submit Bids to provide RUC Availability capacity.  These Bids are submitted into the DAM process only.

This section is based on CAISO Tariff Sections 30.5.2.7, 31.5 and 40.5.2

## RUC Availability Bid

This section is based on CAISO Tariff Section 31.5, Residual Unit Commitment

The RUC Availability Bid component differs depending on whether the Generating Unit submitting the Bid is under a Resource Adequacy (RA) obligation or not.  If a resource is not under a RA obligation, the RUC Availability Bid that the resource submits is interpreted as an incremental amount of capacity that the resource is willing to provide in the Day-Ahead Market for RUC in addition to its Day-Ahead Market Bids and Self-Schedules.  In this case the resource would submit a RUC Availability Bid that includes:

- RUC Availability Bid quantity, expressed in MW

- RUC Availability Bid price, expressed in $/MW

The RUC Availability Cost component can vary hourly throughout the Trading Day.

If a resource is under RA obligation, a certain amount of capacity of this resource is registered with CAISO as RA Capacity.  Resources providing RA Capacity must participate in the RUC process consistent with RA requirements as described in the BPM for Reliability Requirements, by submitting an RUC Availability Bid at a $0/MW price, referred to in SIBR as an RA RUC Obligation Quantity.

The CAISO automatically inserts  $0/MW RUC Availability Bids  (i.e. RA RUC Obligation Quantities) for  RA Capacity from Generating Units and Dynamic System Resources.    For RA Resources that are partial RA Resources, the RA RUC Obligation bid matches the available registered RA capacity for the Generating Unit.  The SC may submit a non-zero RUC Availability Bid only for that portion of its capacity that is not RA Capacity.

The CAISO will not automatically insert RA RUC Obligation Quantities for Non-Dynamic System Resources, Use-Limited Resources, or Hydro Resources proving RA Capacity.  SCs must submit RA RUC Obligation Quantities for these resources consistent with RA requirements as described in the BPM for Reliability Requirements.

Real Time bids can be affected by RUC if there is a RUC Award; in the event that there is a RUC Award but no RT bid then an Energy Bid will be created by SIBR. Participants observing RUC Awards that are equal to Pmin should submit an energy bid from Pmin to Pmin+.01 if the RUC capacity is equal to Pmin for the resource.

## RUC Availability Bid Component Validation

The RUC Bid validation follows the Bid validation process described in Section 8 (Bid Submission and Validation).  The Bid validation rules related specifically to the RUC Bid components are referenced in Appendix A.

# Bid Submission & Validation

Welcome to the Bid Submission & Validation section of the CAISO BPM for Market Instruments.  In this section you will find the following information:

- How CAISO accepts Bids and Inter-SC Trades for Energy, Ancillary Services and other commodities from SCs that are certified to transact through CAISO

- How CAISO ensures that those Bids and Inter-SC Trades are valid and modifies the Bids for correctness when necessary

- How CAISO enters the Bids and Inter-SC Trades from SCs into a database for processing by other components of CAISO’s business systems

- How CAISO provides feedback to SCs concerning Bids and Inter-SC Trades that are submitted

Detailed Bid validation rules are referenced in Attachment A of this BPM.

## Timeline

This section presents the timelines for the DAM, HASP, and RTM as they relate to Bid submission and validation.

Exhibit 8-2 Time-Line for Bid Submission

| Stages | Day-Ahead Timeline | Real-Time Timeline | Activities |
| --- | --- | --- | --- |
| 1 | Up to seven days prior to the Trading Day SC may begin submitting Bids | Beginning at approximately 1:00 pm the day prior to the Trading Hour SCs may begin submitting RTM bids for all 24 hours of the RTM for the following trading day | SCs continuously submit bids before Market Close time to CAISO. CAISO validates bids upon receipt and provides messages back to SCs as to the validity of their bids referencing specific validation rules that have fired on their bids. Master-file data is updated on a daily basis. All affected DAM bids are revalidated based on new master file data. |
| 2 | 10:00 am | T- 75 | The DAM and RTM are closed for bid submission CAISO performs any necessary bid generation All market accepted bids with a status of Modified or Valid are considered Clean Bids and sent to IFM/RTM to continue processing the markets. |

### Day-Ahead Market

Day-Ahead Market Bids may be submitted up to seven days prior to the Trading Day for each of the seven days when the DAM opens and must be submitted prior to Market Close for each Trading Hour in the Trading Day, at 1000 hours of the day prior to the Trading Day.

In the DAM, SC submits a Day-Ahead Bid for a resource for a 24-hour market period.  The Day-Ahead Bid comprises two types of components:

- Daily Components – These are Bid parameters that are associated with the resource for the Trading Day, not with an individual market or hourly intervals of the Bid.  Daily components include:

- Start-Up information (Cost curve, time curve)

- Minimum Load information

- Ramp Rate information

- Minimum and Maximum Energy Limit information

- Hourly Components – These are Bid parameters that may vary from one Trading Hour to the next through the Trading Day.  Hourly components include:

- RUC Availability Bid price

- RUC Availability Bid quantity

- RA RUC Obligation quantity

- Ancillary Services quantities

- Ancillary Services Bid prices

- Contingency Dispatch information

- Self-Provision quantities

- Energy Bid Curve

- Demand Bid curve

- Pump Shut-Down and Pumping Cost information

- Pumping Level

- Distribution Location and Factors (for a Generating Unit that consists of multiple individual Generating Units)

### Hour Ahead Scheduling Process & Real-Time Market

The RTM for a given Trading Hour opens after the DAM results are published for the Trading Day that includes the relevant Trading Hour (by 1300 hours of the day before the Trading Day) and closes 75 minutes before the start of that Trading Hour.  RTM Bids are submitted for one-hour periods (the Trading Hour) of the Trading Day.

The daily and hourly components of the Bid are the same as for the DAM.  If daily components are submitted for a Generating Unit with the Day-Ahead Market Bid, the SC does not need to submit this data again for the RTM.

## Energy Bid Validation Rules

This section is based on the following CAISO Tariff sections:

- CAISO Tariff Section 30.7, Bid Validation

- CAISO Tariff Section 30.10, Format and Validation of Operational Ramp Rates

- CAISO Tariff Section 30.11, Format and Validation of Startup and Shutdown Times

- CAISO Tariff Section 30.12, Format and Validation of Startup and Shutdown Costs

- CAISO Tariff Section 30.12, Format and Validation of Minimum Load Costs

CAISO validates all Energy Bids submitted by SCs prior to carrying out any of the market processes.  Bids are validated for content and for consistency with the Registered Data contained in the Master File.  It also generates Bids for any missing or invalid data.  The same basic approach to Bid validation takes place for the DAM and the RTM, with one additional step in the DAM to validated Bids against updated Master File content.  CAISO carries out Bid validation in three steps:

- Step 1: CAISO validates all Bids after submission of the Bid for content, which determines that the Bid adheres to the structural rules required of the Bid (as described in more detail in Section 8.2.3).  If the Bid fails any of the content level rules, CAISO assigns the Bid “Rejected Bid” status and the SC has the opportunity to correct and re-submit the Bid.

- Step 2: After the Bids are successfully validated for content, but prior to the Market Close of the DAM, CAISO carries out the second level validation rules to verify that the Bid adheres to the applicable CAISO Market rules and if applicable, limits based on the content of the Master File.  If the Bid fails any level two validation rules, CAISO assigns the Bid “Invalid” status and the SC has the opportunity to correct or resubmit the Bid.

- Step 3: If the Bid successfully passes validation in Step 2, it continues through the third level of validation where CAISO analyzes the Bid based on its content, to identify any missing Bid components that must be present for the Bid to be valid consistent with the market rules.  At this stage, the Bid is either automatically modified for correctness and assigned a status of conditionally modified (DAM), modified (RTM), or if it can be accepted as is, CAISO assigns the Bid a status of “Conditionally Valid Bid” (DAM) or “Valid Bid” (RTM).

Bids submitted in advance of the DAM are revalidated after the daily Master File update.  After the update, all conditional Bids must be re-validated prior to the trading period when the Bid takes effect.  After Market Close for the DAM or RTM, to the extent that SCs fail to enter a Bid for certain resources that are required offer RA capacity, CAISO creates Energy Bids for these resources, called a Generated Bid.  After Market Close for the DAM the CAISO also creates required $0 RUC Availability Bids for certain resourced.  Except for bids created by the CAISO, an SC can cancel a Bid anytime prior to Market Close by selecting the “Cancel” button on the Bid summary page of the SIBR application or by submitting the Web Action message through web services.

Bidding validation rules that result in warnings do not result in an invalid or rejected Bid status but simply notify the user of an issue with the Bid that they have submitted.  SCs will need to take action on warnings to ensure their Bids or Trades will be accepted for a particular market.

- NOTE: In order to allow for sufficient time to resolve any possible validation/balancing issues before closing of a Market, Bids, including Self-Schedules, should be submitted within 30 minutes of Market Close.

Warnings are issued in the following cases:

- Wheeling Through transactions that are not matched (Balance Indicator is “N”, meaning that there is no matching Wheeling Reference for either the Import or Export bid in the Wheeling Bid Component). Such Bids will be erased if the wheeling reference does not match.

- Inter-SC Trades counterparties are not matched. Inter-SC Trades without matching counterparties are deemed invalid at market close time.

- Circular dependency found in a chain of Inter-SC Trades. Trades with circular dependencies are deemed invalid at market close time.

- ETC or TOR Self-Scheduled sources and sinks that are not balanced. ETC or TOR Self-Schedules that are not balanced by market close time will not have physical scheduling priority.

- ETC Self-Schedules that are over the Entitlement amount. ETCs that are over their Entitlement amount at market close time will be deemed invalid.

- TOR Self-Schedules that are over the transmission right amount. TORs that are over there transmission right amount will be deemed invalid at market close time.

- NOTE: Individual ETCs and TORs may be part of a chain (a combination of individual TORs or ETCs used in sequence).  Each submission of an ETC or TOR Self-Schedule that is part of a chain will trigger notification to ALL Scheduling Coordinators associated with the registered chain.

- Detailed steps that CAISO validation processes are outlined in Sections 8.2.1 to 8.2.3

### Day-Ahead Market Validation

CAISO’s DAM validation includes validation steps prior to the close of the market, including the update to Master File.

#### Validation Prior to Market Close & Master File Update

Exhibit 8-1 below outlines the steps CAISO takes to validate Bids prior to Market Close and Master File update.

Exhibit 8-5: Bid Validation Prior to Market Close

- Bid Creation – SCs create Bids, entering all required data.

- Bid Submission – SCs submit Bids into the SIBR platform.

- Level 1: Bid Content Validation – After the SC submits a Bid, CAISO rules engine performs a Bid content validation, to verify that the Bid is structurally complete and correct.  In this step, CAISO evaluates whether the Bid adheres to all the “structural rules” required of Bids.  This includes such things as validating that all required components are present and the resources or services contained in the Bid actually exist.  References to the Bidding rule details are in Attachment A of this BPM.

- Bid Acceptance – If the Bid passes the Bid content validation in Step 1, CAISO categorizes the Bid as an “Accepted Bid”.  If the Bid fails any of the content validation rules, CAISO assigns the Bid a “Rejected Bid” status.  The SC must correct and re-submit the Bid.

- Level 2: Bid Validation – All Accepted Bids undergo Bid validation for the entire Trading Day immediately after Bid submission to ensure all Bid contents are present and valid.  Accepted Bids that fail Bid validation become Invalid Bids and Accepted Bids that pass Bid validation become Temporarily Valid Bids.  This Bid is then eligible to be used in the Markets.  CAISO remembers any errors and informs the SC that validation is complete, and provides the error analysis to the SC.  If the validation fails, the Bid becomes a “Rejected Bid” and the SC must correct and re-submit the Bid.  CAISO validates that the components of the Bid meet the applicable market rules. e.g., the Bids are a) consistent with the contents of the Master File; and b) for RTM Bids, consistent with the Schedule and Award from the Day-Ahead Market.  If the Bid passes CAISO validation, CAISO characterizes the Bid as a “Temporarily Valid Bid”.

- Level 3: Bid Processing – The Bid is only processed (or modified for correctness) if it at least passes through all content and validation rules, which means that the Bid submitted is structurally correct and conforms to all Master File parameters.  Once a Bid passes through the content and validation rules, it may be modified if it violates any of the processing rules.  CAISO analyzes the “Temporarily Valid Bid” to identify any missing Bid components that must be present for the Bid to be valid.  CAISO either modifies the Bid for correctness and assigns it a status of “Conditionally Valid Bid” or modifies the Bid and assigns it a status of “Conditionally Modified Bid”.  The detailed Bid processing rules are referenced in Attachment A of this BPM.  At this point the SC may leave the bid unchanged or initiate a change as follows:

  - Cancel the Bid, in which case CAISO retains the Bid in the system as a “Cancelled Bid”.  CAISO does not process Cancelled Bids.

  - Modify and re-submit the Bid, in which case CAISO retains the original Bid in the system as an “Obsolete Bid”. CAISO does not process Obsolete Bids.  The re-submitted Bid is processed as a new Bid, starting with Level 1, content validation.  If the new Bid is Invalid or Rejected, the current Valid or Modified Bid remains active in the designated market.

  - If the SC does not want to make any changes to their existing Bid, they may leave the Conditionally Modified Bid or Conditionally Valid Bid as is to be processed in the appropriate CAISO Market.

- Bid Status – Summary of how Bid Status changes.

#### SIBR Generated Bid

#### In the event that SIBR must generate a Bid or Bid component to comply with Tariff requirements SIBR will generate a Bid or Bid component for the resource. There is a series of processing rules that are executed to establish the Start-Up and Minimum Load Cost in SIBR to generate the Bid with the proper Start-Up and Minimum Load costs based on the resource’s election of either the Proxy Cost Option or the Registered Cost Option , and if it is a Natural Gas resource or Non-Natural Gas resource.  Registered Cost resources use the values provided for the resource that are in the Master File.

| - The Start-Up Fuel Cost Curve used to derive the Start-Up Cost Bid Curve specified in the Generating Resource Start-Up Bid Component of a Generating Resource Bid must be the registered Start-Up Fuel Cost Curve for the Generating Resource and the Bid Period specified in that Bid, if that Generating Resource is registered with a Cost Basis of "Proxy Cost," but is not as a Natural Gas Resource for that Bid Period. | - MFR: Natural Gas Resource registry for Generating Resources. MFR: Start-Up Fuel Cost Curve (Start-Up Fuel Cost ($) versus Cooling Time (min)) registry for Generating Resources not registered as Natural Gas Resources, but with a Cost Basis of "Proxy Cost". |
| --- | --- |
| - The Start-Up Fuel Cost Curve used to derive the Start-Up Cost Bid Curve specified in the Generating Resource Start-Up Bid Component of a Generating Resource Bid must be calculated as the product of the registered Start-Up Fuel Curve and the registered Gas Price Index for the Generating Resource and the Bid Period specified in that Bid, if that Generating Resource is registered with a Cost Basis of "Proxy Cost" and as a Natural Gas Resource for that Bid Period. | - MFR: Start-Up Fuel Curve (Start-Up Fuel (Btu) versus Cooling Time (min)) and Gas Price Index ($/MMBtu) registry for Generating Resources registered as Natural Gas Resources with a Cost Basis of "Proxy Cost". |
| - The Minimum Load Cost specified in the Generating Resource Minimum Load Cost Bid Component of a Generating Resource Bid must be replaced by the sum of the Minimum Load Fuel Cost ($/hr) and the product of the registered Operation and Maintenance Cost ($/MWh) and the Minimum Load (MW) for the Generating Resource and the Bid Period specified in that Bid, if that Generating Resource is registered with a Cost Basis of "Proxy Cost" for that Bid Period. | - MFR: Operation and Maintenance Cost ($/MWh) registry for Generating Resources. |
| - The Minimum Load Cost specified in the generated Generating Resource Minimum Load Cost Bid Component of a Generating Resource Bid must be derived as the sum of the Minimum Load Fuel Cost ($/hr) and the product of the registered Operation and Maintenance Cost ($/MWh) and the Minimum Load (MW) for the Generating Resource and the Bid Period specified in that Bid, if that Generating Resource is registered with a Cost Basis of "Proxy Cost" for that Bid Period. |  |
| - The Minimum Load Fuel Cost used to derive the Minimum Load Cost specified in the generated Generating Resource Minimum Load Cost Bid Component of a Generating Resource Bid must be calculated as the product of the registered Average Fuel Cost ($/kWh) at Minimum Load and the registered Minimum Load (MW) for the Generating Resource and the Bid Period specified in that Bid, if that Generating Resource is registered with a Cost Basis of "Proxy Cost," but not as a Natural Gas Resource for that Bid Period. | - MFR: Average Fuel Cost ($/kWh) registry for Generating Resources not registered as Natural Gas Resources (0 by default). |
| - The Minimum Load Fuel Cost used to derive the Minimum Load Cost specified in the Generating Resource Minimum Load Cost Bid Component of a Generating Resource Bid must be calculated as the product of a) the registered Average Heat Rate (Btu/kWh) at Minimum Load, b) the registered Minimum Load (MW), and c) the registered Gas Price Index ($/MMBtu), for the Generating Resource and the Bid Period specified in that Bid, if that Generating Resource is registered with a Cost Basis of "Proxy Cost" and as a Natural Gas Resource for that Bid Period. | - MFR: Average Heat Rate (Btu/kWh) registry for Generating Resources registered as Natural Gas Resources (0 by default). |

#### Below is an example of how the Bid is generated:

- Bid Curve Generation Example

The Generating Unit in the following example is registered as a natural gas resource.  The following registered Master File data is used in the example:

| Operating Levels |  | Average Heat Rate | Gas price index | Operating Maintenance Cost |
| --- | --- | --- | --- | --- |
| 70 |  | 14440 | $5.5 | $2 |
|  | 150 | 11960 |  |  |
|  | 300 | 10909 |  |  |
|  | 485.17 | 10366 |  |  |

- 1) Generated Energy Curve Calculation

The generated Energy Curve is calculated as the sum of the Incremental Fuel Cost curve (calculated in section 3 and 4 below) and the product of the registered Operation and Maintenance Cost ($/MWh) and Minimum Load.

- Segment 1 – (53.85 + 2) = $55.85

- Segment 2 – (54.22 + 2) = $56.22

- Segment 3 – (52.17 + 2) = $54.17

The resulting Energy Curve is:

- 70MW – 150MW @ $55.85

- 150MW – 300MW @ $ 56.22

- 300MW – 485.17MW @ $54.17

The Generated Energy curve must be adjusted to be monotonically increasing.  If a Generated Energy Bid Curve is not monotonically increasing, CAISO adjusts the Energy Bid price of each Energy Bid segment after the first one, to the previous Energy Bid segment, if higher, and the two Energy Bid segments are merged in the Energy Bid Curve

- 2) Final Generated Energy Curve

- 70MW - 150MW @ 55.85

- 150MW – 300MW @ 56.22

- 300MW – 485.17MW @ 54.17

- 3) Incremental Fuel Cost Curve Calculation

The Incremental Fuel Cost Curve used to derive the Energy Bid Curve must be calculated as the product of the Incremental Heat Rate Curve and the registered Gas Price Index ($/MMBtu) for that Trading Hour and the Generating Resource specified in that Bid, if that Generating Resource is registered as a Natural Gas Resource for that Trading Hour.

- Segment 1 - 9790/1000 * 5.5 = 53.85

- Segment 2 – 9858/1000 * 5.5 = 54.22

- Segment 3 – 9486/1000 * 5.5 = 52.17

- 4) Incremental Heat Rate Calculation

The Incremental Heat Rate of the Incremental Heat Rate Curve segment between two Operating Levels is calculated as the ratio of the difference between the product of the registered Average Heat Rate at the higher Operating Level times that Operating Level, minus the product of the registered Average Heat Rate at the lower Operating Level times that Operating Level, over the difference between the higher Operating Level and the lower Operating Level

- Segment 1 – ((11960 * 150) – (14440 – 70))/(150 – 70) = 9790

- Segment 2 – ((10909*300) – (11960 – 150))/(300-150) = 9858

- Segment 3 – ((10366*485.17) –(10909 – 300))/(485.17 – 300) = 9486

- 5) Minimum Load Cost Calculation

Minimum Load Cost = Minimum Load Fuel Cost + (O&M * Minimum Operating Level)

#### Master File Data Update

Since DAM Bids may be submitted up to seven days in advance they must be revalidated daily based on the daily update of Master File information. The Master File used in SIBR is consistent with the updated Master File for that Trade Day. The Master File can be refreshed daily and can be used for bids submitted up to t +7. However when the Master File refreshes the next day bids that were initially valid may become invalid or rejected based on new Master File data. If a resources changes ownership, the new owner will not be able to input bids or schedules on the resource until the Master File has refreshed for that day.

Bids are assigned a “Conditional” status during the initial Bid validation since the Bid status could change with the update of the Master File information.  These Bids are assigned a status of “Conditionally Modified” Bid or “Conditionally Valid” Bid until the final Master File update occurs for the Trading Day designated in the Bid.

The diagram in Section 8.2.1.4 below shows the validation process a Bid goes through when it is in a “Conditional” state.  Changes to the Master File for each SC that were submitted at least seven business days in advance are introduced into the system once per day.

#### Validation Prior to Market Close & After Final Master File Update for Trading Day

Exhibit 8-2 shows the steps CAISO uses to validate Bids after Master File update and prior to Market Close.

After the Master File is updated by CAISO, CAISO re-validates all “Conditional” Bids using the following process:

- CAISO validates the “Conditionally Valid Bids” and the “Conditionally Modified Bids” to establish that the Bids meet the applicable market rules.  If the Bid passes the validation process, the Bid becomes a “Temporarily Valid Bid”.  If the Bid does not pass the validation process, the Bid becomes a “Rejected Bid”

- CAISO processes the “Temporarily Valid Bid” (using CAISO Market Rules), and either accepts the Bid as submitted, to produce a “Valid Bid” or modifies the Bid to produce a “Modified Bid”.

- The SC reviews the “Valid Bid” or “Modified Bid”.  At this time the SC may re-submit the Bid (all validation and Bid processing steps are repeated for the new Bid), cancel the Bid or allow the Bid to stand.

- The SC may also review the “Ind Viewer” tab on the UI at any time to check the balance and priority indicators for ETC/TOR and Wheel bids that were submitted for specified resources.

At the time of Market Close, the “Valid Bid” or “Modified Bid” becomes a “Clean Bid”.

Exhibit 8-6: Bid Validation After Final Master File Update and Prior to Market Close

#### Validation After Market Close

If an SC fails to submit a Bid for the full amount of available RA Capacity  from a Generating Unit or Dynamic System Resource, other than Use-Limited and Hydro Resources,  CAISO creates a Energy Bids for these resources, called Generated Bids.  The CAISO also inserts RUC Availability Bids at $0/MW for these resources.  CAISO creates Generated Bids after Market Close for the DAM using data in the Master File or through data provided by the applicable SC.  CAISO notifies the SC of the use of a Generated Bid for each Generating Unit prior to Market Clearing of the IFM.

The Generated Bid is provided to the SC.  The SC may view the Generated Bid but may not modify the Generated Bid.

### RTM Validation

CAISO uses the same process to validate Bids for the RTM, with the exception that CAISO does not validate the Bid before and again after the Master File update.  CAISO only validates the RTM Bids based on the current Master File Data on the relevant Trading Day.

### Validation Process

The Bid validation process is divided into three categories:

- Bid Content

- Bid Validation

- Bid Processing

The detailed rules used in the validation process are referenced in Attachment A of this BPM.

All Bid processing rules are specific to the Bid component and are described in the relevant sections of Appendix A.

# Inter-SC Trades

Welcome to the Inter-SC Trades section of the CAISO BPM for Market Instruments.  In this section you will find the following information:

- A description of Inter-SC Trades of Energy and the timeline for submittal, and the validation rules for this type of Inter-SC Trade

- A description of Inter-SC Trades of Ancillary Service capacity

- A description of Inter-SC Trades of IFM Load Uplift Obligation

CAISO facilitates Inter-SC Trades (ISTs) of Energy, Ancillary Services, and IFM Load Uplift Obligation through the settlement process.  ISTs do not have any impact on the scheduling or dispatch of resources.  They affect only the financial settlement process.  Only trades that SCs want to settle through CAISO are submitted in the IST process.

## Inter-SC Trades of Energy

This section is based on CAISO Tariff Section 28.1, Inter-SC Trades of Energy.

CAISO facilitates ISTs of Energy.  These Inter-SC Trades comprise two types:

- Trades at Aggregated Pricing Nodes that are also Defined Trading Hubs or LAPS (APN) – Where the Inter-SC Trade is not backed by a physical resource.  The CAISO will facilitate ISTs (APN) only at defined Trading Hubs and Default LAPs.

- Physical Trades – Where the Inter-SC Trade is backed by a physical resource.

An IST of Energy is defined as

- An Energy quantity (MWh)

- Traded from one SC to another SC

- For a specific hour, trade Location, and market (e.g., DAM or RTM)

- For a specific type of Inter-SC Trade – Physical Trade (PHY), Aggregate Pricing Nodes (APN), Converted Physical Trade (CPT)

ISTs for Energy can take place in both the DAM and RTM.  ISTs of Energy submitted for the DAM are settled at the applicable LMPs at the Aggregated Pricing Nodes or at the Pricing Node specified in the IST.  ISTs of Energy submitted in the RTM are settled hourly based on the simple average of the Dispatch Interval LMP at the applicable Aggregated Pricing Node or the Pricing Node specified in the IST.

### Timeline

Inter-SC Trades for the Day-Ahead Market may be submitted beginning seven days prior to the Trading Day up to 1200 hours the day prior to the Trading Day.  Inter-SC Trades for the Real-Time Market may be submitted beginning at midnight the day prior to the Trading Hour up to 45 minute prior to the Trading Hour.

The timeline for submission and validation of Energy IST is shown in Exhibit 9-1.

Exhibit 9-7: Timeline of Inter-SC Trades

| Stages | Day-ahead Timeline | Real-time Timeline | Activities |
| --- | --- | --- | --- |
| 1 | Up to seven days prior to the Trading Day Only ISTs for Energy (both PHY and APN) are submitted into the DAM. | Beginning at 12:00 a.m. the day prior to the Trading Hour ISTs for Energy (APN and PHY) as well as ISTs for Ancillary Services and IFM Load Uplift Obligation are submitted. | SCs continuously submit ISTs before Inter-SC Trade Close Time and Bids before Market Close time to CAISO. CAISO continuously screens each submitted IST to check contents and search for matching IST submitted by the counterparty SC. CAISO provides feedback to the SCs regarding the validity of the ISTs based on the information that is available to CAISO at that time. |
| 2 | Between 0600 hours and 1200 hours of the day prior to the Trading Day. | Between T-180 and T-45 min (the Inter-SC Trade Close Time for IST submission in the RTM) | SCs continuously submit ISTs before Inter-SC Trade Close Time and Bids before Market Close time to CAISO. CAISO continuously screens each submitted IST to check contents and search for matching IST submitted by the counterparty SC. CAISO performs pre-market validation to evaluate and adjust PHYs if necessary, based on Generator Unit Energy Bids at pre-specified time intervals (e.g., every 20 minutes, and at the Inter-SC Trade Close Time). CAISO provides feedback to the SCs about the validity of the ISTs based on the information that is available to CAISO at the time. |
| 3 | 1300 hrs (approximately) | At T-47 min (approximately) | CAISO performs post-market validation of the ISTs based on the IFM or RTM results, and converts invalid portions of PHYs to Converted Physical Trades. The timing of this event is dependent on the receipt of the Market Results (DA/RT(HASP)). |

During the Day-Ahead IST Trading period (which closes at 1200 hours), CAISO notifies SCs if their submitted IST does not have a counterparty.  At 1200 hours, CAISO rejects any ISTs for the Day-Ahead Market that do not have a matching counterparty.  For PHYs, CAISO adjusts the quantity of ISTs if necessary, based on the Generating Unit Bid in the DAM, on which the PHY is dependent.

Beginning at 0600 hours CAISO conducts pre-market validation on PHYs based on the Bids reflecting the dependent Generating Unit.  SCs are sent warnings if necessary that their Inter-SC Trades may be adjusted at the close of the market.  Pre-market validation continues to run every 20 minutes until Inter-SC Trade market close time of1200 hours.

When the DAM clears, at approximately 1300 hours, CAISO conducts a post-market validation on Day-Ahead PHYs, based on the final DAM results from the IFM.  Any portion of a PHY, where the dependent Generating Unit’s final Day-Ahead Schedule is less than the PHY trade amount becomes a Converted Physical Trade (CPT).  CAISO informs the SC of the amount of the CPT.

SCs may submit Inter-SC Trades for the RTM from 0000 hours of the day prior to the Trading Day up to 45 minutes prior to Market Close (Real-Time IST Trading Period).  During the Real-Time IST Trading Period, CAISO validates the ISTs for content as well as searching for the matching IST submitted by the designated counterparty.  Beginning at T-180 up until T-45, CAISO conducts pre-market validation every 20 minutes based on the Bid reflecting the Generating Unit.  SCs are warned that their Inter-SC Trades may be adjusted at the close of the market.  At T-45, CAISO rejects any Inter-SC Trades that do not have a matching counterparty.

CAISO conducts a post-market validation using the HASP awards once the RTM has closed. Any invalid quantities where the dependent Generating Unit’s Real-Time Dispatch Instructions do not cover the PHY amount becomes a CPT. CAISO informs the SC of the amount of the CPT.

Example of PHY Trade Validation (simplified):

Trade A     PHY Trade Qty= 100MW (using a resource “Res_1” as the location).

Res_1 has a Bid/Schedule = 80MW

Pre-cyclic validation runs to see the 80MW submitted and adjusts the “Trade A” PHY Trade Qty = 80MW.

Market results are returned to SIBR from IFM; “Res_1” clears with 50MW instead of the bid in 80MW.

Post-cyclic validation runs and now sees the 50MW award for “Res_1” and does the following:

Adjusts “Trade A” PHY Trade Qty = 50MW

Generates the CPT for “Trade A”  Trade Qty = 30MW (difference between adjusted Trade Qty and IFM award with the Trading Location at the Trading Hub.

So the IFM Award of 50MW plus the generated CPT of 30MW = the Adjusted Trade quantity of the Pre-cyclic validation.

This works the same way for the RTM with the exception that during the Pre Cyclic Validation there is also a check for any DA Trade Qty on the PHY Trade using the Resource.

Using the example above as a result of the DA Trade where the PHY “Trade A” is awarded 50MW.

“Trade A” (RTM)    PHY Trade Qty= 50MW (using “Res_1” as the location).

Res_1 has a Bid/Schedule = 80MW

Pre Cyclic Validation runs to see the 80MW submitted and also the DA Trade at that location for 50MW.  So the bid = 80MW minus (-) the DA Trade at that location = 50MW results in an adjusted trade quantity for “Trade A” (RTM) PHY Trade Qty = 30MW.

It would then follow the same process for the Post Cyclic Validation to see if any CPT would be generated.

### Information Requirements

This section identifies the information requirements for APN ISTs and PHY ISTs.  It also presents the validations rules.

#### APN Inter-SC Trades

An SC submitting an APN IST submits the following information

- ID of “From” SC

- ID of “To” SC

- IST Type – APN

- Trade Location – i.e., Trading Hub or Load Aggregation Point

- Trading Hour, Trading Day

- Market Type – i.e., Day-Ahead; Real-Time

- Quantity (MW)

#### Physical Inter-SC Trades (PHY)

An SC submitting a PHY IST submits the following information to CAISO:

- ID of “From” SC

- ID of “To” SC

- IST Name

- IST Type – PHY

- Trade Location – i.e., Generating Unit Location

- Trade Time period – i.e., Trading Hour, Trading Day

- Market Type – i.e., Day-Ahead; Real-Time

- Quantity (MW)

- Depend on name – indicating either the name of the Inter-SC Trade on which the current Inter-SC Trade depends on, or the name of the Generating Unit if the generator that supports this PHY is scheduled by the “From” SC ID

#### Validation of IST of Energy

CAISO validates three aspects of the IST:

- Content

- Validation

- Processing

CAISO validates APNs for content and for a matching counterparty to the Inter-SC Trade prior to the Inter-SC Trade Close time.  APNs that do not have a matching counterparty to the Inter-SC Trade at the Inter-SC Trade Close time are rejected by CAISO.  CAISO notifies the SC of the rejection.

Exhibit 9-8 Validation Process for APN Trades

- SCs submit APNs.  APNs that pass the content validation process are deemed to be “Accepted” APNs.

- Up until Inter-SC Trade Close time, CAISO searches for matching Inter-SC Trades with counterparty SC.  When a match is found, the ISTs are deemed to be a “Matched” IST.  Prior to Inter-SC Trade Close time, CAISO continues to search for matching IST and to ensure that any previously “Matched” IST do not become obsolete, due to changes in an IST submitted by a SC.  If CAISO determines that a previously “Matched” IST is no longer matched, CAISO deems it to be an “Obsolete” IST.

CAISO validates PHYs prior to and after the CAISO Market clears.  In the post-market confirmation of PHYs, CAISO determines whether SC’s PHY ISTs are supported (either directly or through an IST with another SC) by a transmission feasible Generating Unit scheduled at the same PNode that has scheduled energy that is equal to or greater than the amount of the IST.

Exhibit 9-3 describes the process CAISO uses to validate the PHY Inter-SC Trades.  In addition to the steps used for APN Inter-SC Trade validation, CAISO carries out the following steps:

- At the Inter-SC Trade Close time, CAISO validates that, for matched PHY Inter-SC Trades, there exists a valid dependent Inter-SC Trade, or physical resource with capacity greater than or equal to the capacity of the Inter-SC Trade.  If CAISO does not find either a valid dependent Inter-SC Trade or physical Generating Unit, it designates the Inter-SC Trade as “Invalid”.  Dependent PHYs must not form a circular relationship without a dependent Generating Unit.  If CAISO identifies a circular relationship of PHYs, all PHYs involved in the circular relationship are deemed “Invalid” ISTs.

- At the Inter-SC Trade Close Time, in the event that the capacity of a matched IST exceeds the capacity of the dependent Generating Unit or IST, CAISO adjusts the amount of the matched IST pro-rata.  As noted above, the validation process for the HASP also considers the Day-Ahead PHY ISTs at the same location in determining the validation of HASP PHY ISTs.  The pro-rata curtailed portions of PHY ISTs in this process are not settled by CAISO.

- At Inter-SC Trade Close Time, CAISO determines that all un-matched or “Obsolete” IST are Invalid.  All other matched PHY Inter-SC Trades remain classified as “Conditionally Valid” Inter-SC Trades.

- CAISO validates PHYs after the market clears, to ensure that the amount of a PHY does not exceed the scheduled capacity of the Generating Unit, on which the IST is dependent.  If the capacity of the PHY exceeds the scheduled Energy of the Generating Unit, CAISO adjusts the amount of the PHY to match the scheduled quantity.  Any reduction in quantity is converted to a Converted Physical Trade (CPT). At this time each IST is classified as either Modified or Valid.

Exhibit 9-9: Validation Process for PHY Trades of Energy

The Inter-SC Trade validation rules are referenced in more detail in Attachment A of this BPM.

It should be noted that in the event of a HASP failure and there is no data to validate PHY Trades at the close of the Trade Market the Final Trades will be generated as PHY Trades at the Adjusted Trade Quantity.

## Inter-SC Trades of Ancillary Services Obligation

This section is based on CAISO Tariff Section 28.2, Inter-SC Trades of Ancillary Services.

SCs have an obligation to pay for AS.  SCs may trade the financial obligation for Ancillary Services through an Inter-SC Trade.  An Inter-SC Trade of Ancillary Services Obligation is an AS quantity (MW) traded from one SC to another SC for a specific hour and AS type.  This is a financial transaction only – it does not allow the SC to trade the obligation to provide Ancillary Services.

Since CAISO charges a single system-wide user rate for each AS, Inter-SC Trades of Ancillary Services Obligation (AST) are settled by the system-wide user rate for the respective service for a specific Trading Hour, independent of markets (RTM or DAM).  SCs therefore make a single AST for each Trading Hour.  ASTs may be submitted in the HASP Inter-SC Trade Periods.  ASTs may be submitted beginning at midnight the day prior to the Trading Hour up to 45 minute prior to the Trading Hour.

### Types (Spinning Reserve, Non-Spinning Reserve, Regulation-Up, and Regulation-Down)

There are four types of AS that SCs can trade:

- Regulation Up

- Regulation Down

- Spinning Reserve

- Non-Spinning Reserve

### Timeline

Inter-SC Trades of AS are submitted by SCs following the Real-Time Market timeline as described in Exhibit 9-4.  ASTs may be submitted beginning at midnight the day prior to the Trading Hour up to 45 minute prior to the Trading Hour.

Exhibit 9-10: Timeline of Inter-SC Trades of Ancillary Services

| Timeline | Activities |
| --- | --- |
| HASP Inter-SC Trade Period | SCs continuously submit ASTs in either Inter-SC Trade Period CAISO continuously screens each submitted AST to check contents and search for matching AST submitted by the counterparty SC. CAISO provides feedback to the SCs regarding the validity of the ASTs based on the information that is available to CAISO at that time. |

### Information Requirements

SCs submitting an AST must provide the following information

- Submitting SC ID

- From SC ID

- To SC ID

- AST Type – (Spinning reserve (SPT), Non-Spinning Reserve (NST), Regulation Up (RUT), Regulation Down (RDT)

- Trade time period (Trading Hour)

- Trading Day

- Quantity (MW)

### Validation of Inter-SC Trades Ancillary Services

CAISO validates ASTs using the following process:

- SCs submit ASTs.  ASTs that pass the content validation process are deemed to be “Accepted” ASTs

- Up until the time of Market Close, CAISO searches for matching ASTs with counterparty SC.  When a match is found, the ASTs are deemed to be “Matched” ASTs.  Prior to Market Close, CAISO continues to search for matching ASTs and to ensure that any previously “Matched” ASTs do not become obsolete, due to changes in an AST submitted by a SC.  If CAISO determines that a previously “Matched” ASTs is no longer matched, CAISO deems it to be an “Obsolete” match.

- At Trade Close Time, CAISO determines that all un-matched or “Obsolete” ASTs are Invalid.  All other Matched ASTs are classified as “Valid” ASTs.

The Inter-SC Trade validation rules are referenced in Attachment A of this BPM.

## Inter-SC Trades of IFM Load Uplift Obligation

(This section is based on CAISO Tariff Sections 6.5.4.1.2 and 28.2.3).

ISTs of IFM Load Uplift Obligation measured in MWh is the billing determinant for allocating the IFM Load Uplift Obligation to SCs.  CAISO facilitates IST of this obligation between SCs. Similar to Inter-SC Trades of Ancillary Services, CAISO settles the IFM Load Uplift Obligation Trades using a single system-wide user rate for a specific Trading Hour, independent of markets (RTM or DAM).

### Timeline

Inter-SC Trades of IFM Load Uplift Obligation (UCT) are submitted by SCs following the RTM timeline as described in Exhibit 9-5.

Exhibit 9-11: Timeline of Inter-SC Trade of IFM Load Uplift Obligation

| Timeline | Activities |
| --- | --- |
| Submitted as early as 12:00 midnight on the Trading Day up to the close time of T-45. | SCs continuously submit UCTs in the HASP Inter-SC Trade Periods. CAISO continuously screens each submitted IFM to check contents and search for matching UCT submitted by the counterparty SC. CAISO provides feedback to the SCs regarding the validity of the UCTs based on the information that is available to CAISO at that time. |

### Information Requirements

A UCT contains the following information:

- Submission SC ID

- From SC ID

- To SC ID

- Trade time period

- Quantity (MW)

### Validation of IST IFM Load Uplift Obligations

CAISO applies content and processing rules to IST IFM Load Uplift Obligations (UCT) as referenced in Attachment A of this BPM.

# Reporting Information

Welcome to the Reporting Information section of CAISO BPM for Market Instruments.  In this section you will find the following information:

- A description of the reports that are available to SCs

- The content of those reports

- The time at which those reports are available to SCs

Technical interface documentation for these reports can be found in the MRTU Interface Specification for Market Results Services documentation at:

http://www.caiso.com/docs/2005/10/27/2005102715043129899.html

Under Technical Interface Documentation, select (Market Results - Technical Interface Documentation )

## Scope of CMRI Reports available to SCs

Exhibit 10-1 summarizes the reports that are available to SCs through the CAISO Market Results Interface (CMRI).  Details of the report contents are provided in subsequent sections.

Exhibit 10-12: Summary of CMRI Reports

| Title | Contents |
| --- | --- |
| Day-Ahead Generation Market Results | Day-Ahead Energy Schedules, Ancillary Services Awards, Load Following and RUC Capacity for Generating Units |
| Day-Ahead Demand Market Results | Day-Ahead Energy Schedules and Ancillary Services Awards of Participating Loads and Day-Ahead Energy Schedules for Non-Participating Loads |
| Day-Ahead Residual Unit Commitment (RUC) Capacity | RUC Capacity and RUC Awards from the Residual Unit Commitment process |
| Day-Ahead Import/Export Schedules | Day-Ahead Energy Schedules and Ancillary Services Awards at Intertie Scheduling Points |
| Day-Ahead Start-Up Instructions | Start-Up instructions resulting from the RUC process |
| Day-Ahead Ancillary Service Market Results | Resource-specific Ancillary Service Awards resulting from the Integrated Forward Market run |
| Day-Ahead Market Power Mitigation (MPM) Results | Segments of the “new” or mitigated Bid as a result of the Day-Ahead Market Power Mitigation Process (MPM-RRD) |
| Real-Time Market Power Mitigation (MPM) Results | Segments of the “new” or mitigated Bid as a result of the Real-Time Market Power Mitigation Process (MPM-RRD) |
| - Default Energy Bid Curves | - Independent Entity-supplied default Bid Curve data used in the Market Power Mitigation process |
| Day-Ahead Generation Commodity Prices | Day-Ahead resource-specific prices (for Energy Schedules, Ancillary Services Awards, RUC Awards) of Generating Units |
| Day-Ahead Demand Commodity Prices | Day-Ahead resource-specific prices for Energy Schedules and Ancillary Services Awards of Participating Loads; and resource-specific prices for Energy Schedules of Non-Participating Loads |
| Hour Ahead Scheduling Process (HASP) Schedules | Displays Hour-Ahead Scheduling Process results for the next Trading Hour. Posts the HASP Binding results relevant to Hourly Pre-Dispatched Resources. Posts HASP Advisory results relevant to the Non-Hourly Pre-Dispatch Resources. |
| Hour Ahead Scheduling Process (HASP) Schedule Prices | Displays Hour-Ahead Scheduling Process resource-specific prices for the next Trading Hour. Posts the HASP Binding results relevant to Hourly Pre-Dispatched Resources. Posts HASP Advisory results relevant to the Non-Hourly Pre-Dispatch Resources. |
| Day Ahead Finally Qualified Load Following Capacity | Day-Ahead Finally Qualified Load Following Up and Down Capacity for Metered Subsystems (MSS) resources |
| Day-Ahead Unit Commitments | Resources that are self-committed or CAISO committed by the IFM or RUC process in the Day-Ahead Market |
| Default RMR Minimum Load & Startup Cost Bid Curves | Displays the default minimum load and startup cost bid curves that will used for the Market Power Mitigation (MPM) Process. This information originates from an independent entity and applies to RMR units only. |
| Day-Ahead Import-Export Commodity Prices | Day-Ahead resource-specific prices (for Energy Schedules, Ancillary Services Awards, RUC Awards) of System Resources |
| Extremely Long Start Resource Startup Instructions | Startup instructions resulting from the Extremely Long Start Commitment (ELC) process |
| Day-Ahead Reliability Must Run (RMR) Dispatches | RMR units that either have an Energy Schedule (from the IFM run)that is flagged as an RMR Dispatch and/or a Manual RMR Dispatch |
| Expected Energy Allocation Details | Displays the post-market Expected Energy results from the energy accounting process. Expected Energy is the sum total of all DA and RT market awards, Exceptional Dispatches and any other Dispatch Instructions, taking into account physical limitations (SLIC), disaggregated into their Settlement components. |
| Conformed Dispatch Notice (CDN) | Summary of the Day-Ahead and Real-Time Energy Schedules, Ancillary Service Awards, RMR Dispatches, Competitive Constraint Run results of RMR resources |
| Expected Energy | Post-market or after-the-fact energy accounting results for Settlement calculations. This report will contain the Total Expected Energy for Day Ahead, Real Time, Instructed and Total energy. |
| CAISO Commitment Cost Details | Includes Commitment Flags and Commitment Cost to validate the Bid Cost Recovery charge in Settlements |
| CRN | Reports the MW breakdown for ETC/TOR Self-Schedules for DAM and RTM, including the CRN number. Note: This report has limited functionality, and is only available in the GUI. The same results are posted to the CAISO SFTP site for downloading. Access to the CRN data through the SFTP site is managed through the AARF (Application Account Request Form) process. |

### Day Ahead Generation Market Results

This report displays records of Day-Ahead Energy Schedules, Ancillary Services Awards, Load Following and RUC Capacity for Generating Units.  This report is available on the publication of the Day-Ahead Market. The contents of this report are displayed in Exhibit 10-2.

Exhibit 10-13: Day-Ahead Generation Market Results Report Content

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date on which the trade transaction occurs |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Resource | Unique identifier code of a Generating Unit |
| Product | Type of product or service applied in the transaction, e.g., Energy, AS Spinning Reserve, AS Non-Spinning Reserve, AS Regulation Up, AS Regulation Down, RUC Capacity, Load Following Up, Load Following Down |
| Schedule Type | Indicates whether schedule was Self-Scheduled or scheduled by CAISO Market |
| Contract Type | This field will not be populated. (See the ‘CRN’ Report) |
| HE1 … HE24 | For each hour, the MW amount scheduled per resource (PDT-based). Daylight Savings Time switch: HE25 is displayed on a Long Day, while HE03 appears blank on a Short Day. |

### Day-Ahead Demand Market Results

This report lists Day-Ahead Energy Schedules and Ancillary Services Awards of Participating Loads and Day-Ahead Energy Schedules of Non-Participating Loads.  It is generated on the publication of the Day-Ahead Market. The content of this report is shown in Exhibit 10-3.

Exhibit 10-14: Day-Ahead Demand Market Results Report Content

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date on which the trade transaction occurs |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Resource | Unique identifier code of a Load Resource |
| Location | Identifier code of the Load Aggregation Point (LAP) or the Price Node (PNode) |
| Product | Type of product: - Energy; - A/S Non-Spinning. |
| Resource Type | Type of resource, either Participating Load or Non-Participating Load resource |
| Schedule Type | Indicates whether Load was Self-Scheduled by the SC or scheduled by CAISO Market |
| Contract Type | This field will not be populated. (See the ‘CRN’ Report) |
| HE1 … HE24 | For each hour, the MW amount scheduled per resource (PDT-based). Daylight Savings Time switch: HE25 is displayed on a Long Day, while HE03 appears blank on a Short Day. |

### Day-Ahead Residual Unit Commitment (RUC) Capacity

This report displays the RUC capacity and RUC Awards resulting from the Residual Unit Commitment (RUC) Process.  It is generated on completion of the Day-Ahead Market.  The content of this report is shown in Exhibit 10-4.

Exhibit 10-15: Day-Ahead Reliability Unit Commitment Report Content

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date on which the trade transaction occurs |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Resource | Unique identifier code of a resource |
| Resource Type | Type of resource: Generator , Pump-Storage Generator, System Resource |
| Product | Classifies whether the values represent the RUC Capacity or RUC Award |
| HE1 … HE24 | Hourly values of the following: - Capacity - total RUC Capacity This is the positive difference between the RUC Schedule and the greater of the Day-Ahead Schedule and the Minimum Load level of a resource. - Award - RUC Award portion This is the portion of the RUC Capacity from resources eligible to receive RUC Availability Payments. Daylight Savings Time switch: HE25 is displayed on a Long Day, while HE03 appears blank on a Short Day. |

### Day-Ahead Import/Export Schedules

This report lists the Day-Ahead Energy Schedules, Ancillary Services Awards, and RUC Capacity of System Resources at the Intertie Scheduling Points.  It is generated on the completion of the Day-Ahead Market.  The content of this report is shown in Exhibit 10-5.

Exhibit 10-16: Day-Ahead Import/Export Schedule Report Content

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date on which the trade transaction occurs |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Resource | Unique identifier code of the System Resource |
| Scheduling Point | Unique identifier of the Intertie Scheduling Point. |
| Direction | Flow of Energy/capacity in or out CAISO Balancing Authority Area: Import or Export |
| - Energy Type | Indicates if the resource is: Firm Energy, Non-Firm Energy, Dynamic Interchange, Wheeling, Unit Contingent |
| Product | Type of product or service applied in the transaction. Examples: - Energy; - A/S Non-Spinning. - A/S Spinning; - RUC Capacity. |
| Schedule Type | Indicates whether schedule was Self-Scheduled or scheduled by CAISO Market |
| Contract Type | This field will not be populated. (See the ‘CRN’ Report) |
| HE1 … HE24 | Hourly scheduled amount in MW unit (PDT-based). Daylight Savings Time switch: HE25 is displayed on a Long Day, while HE03 appears blank on a Short Day. |

### Day-Ahead Start-Up Instructions

This report lists resources with Start-Up instruction from the Day-Ahead Market, in the RUC process. (Note: All startup instructions published from CMRI are binding.)  This report is generated on the completion of the Day-Ahead Market.  The content of this report is shown in Exhibit 10-6.

Exhibit 10-17: Day-Ahead Start-Up Instructions Report Content

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date on which the trade transaction occurs with the market. |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator. |
| Resource | Unique identifier code of a resource. |
| Resource Type | Type of resource: Generator, Pump-Storage Generator, System Resource. |
| Instruction Type | Indicates whether the instruction was a Start-up or a Shutdown Note: CMRI will only publish the start-up instructions. |
| Operating Mode | Indicates whether resource is in Pumping or Generating mode. |
| Start Time | Time (date time format) on when the unit should begin execution of the instruction. |
| Instruction Source | Indicates the source or origin of the instruction. Note: CMRI will only publish the Start-Up instructions from the “RUC” process. |
| Binding | Flag indicating whether the instruction is binding or not Note: CMRI will publish the binding Start-Up instructions, and flag will always by “Yes”. |
| Instruction Cost | Cost of Startup instruction, in $ dollar unit. |

### Day-Ahead Ancillary Services Market Results

This report displays resource-specific awarded quantities of all resources and its Ancillary Services Regions, resulting from the Integrated Forward Market.  It is generated on the completion of the Day-Ahead Market.  The content of this report is shown in Exhibit 10-7.

Exhibit 10-18: Day-Ahead Ancillary Services Market Results Report Content

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date on which the trade transaction occurs |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Resource | Unique identifier code of a resource |
| AS Region | Ancillary Service region of the Resource |
| Resource Type | Type of resource: Generating, Participating Load, or Intertie resource (System Resource) |
| Product | Ancillary Service Type: Spinning, Non-Spinning, Regulation Up, Regulation Down |
| Schedule Type | Indicates whether the AS was Self-Provided or awarded by CAISO Market |
| HE1 … HE24 | Hourly (awarded value in MW unit (PDT-based). Daylight Savings Time switch: HE25 is displayed on a Long Day, while HE03 appears blank on a Short Day. |

### Day-Ahead Market Power Mitigation (MPM) Results

This report displays only mitigated bids as a result of the Day-Ahead MPM-RRD Process.  It is generated on the completion of the Day-Ahead Market.  The content of this report is shown in Exhibit 10-8.

Exhibit 10-19: Day-Ahead Market Power Mitigation (MPM) Results Report Content

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date on which the trade transaction occurs |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Hour | Hour that the Bid was mitigated for |
| Resource | Unique identifier of a resource |
| Final Mitigated Bid Curve | Complete final resource mitigated bid curve (set of 31 segments per hour) resulting from the Day-Ahead Market, in place of the original Bid. Each segment contains the scheduled MW and price in dollar $ per MWH unit |

### Real-Time Market Power Mitigation (MPM) Results

This report displays only the mitigated bids resulting from the MPM-RRD process, from HASP of the Real-Time Market.  This report is produced on the completion of the HASP.

Exhibit 10-20: Real-Time Market Power Mitigation (MPM) Results Report Content

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date on which the transaction occurs |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Hour | Hour that the Bid was mitigated for |
| Resource | Unique identifier of a resource |
| Final Mitigated Bid Curve | Complete Real-Time Market final resource mitigated Bid Curve (set of 31 segments per hour) resulting from HASP. Each segment contains the scheduled MW and price in $ per MWH amount. |

### Default Energy Bid Curves

This report contains the final or selected default Bid Curves that will be used for the Market Power Mitigation process.  This information originates from an independent entity.  It is generated on receipt of Default Energy Bid information.  The content of this report is shown in Exhibit 10-10.

Exhibit 10-21: Default Energy Bid Curves Report Content

| Attribute | High-Level Description |
| --- | --- |
| Trade Day | Transaction date on which the Default Energy Bid Curves applies in the market |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Peak | Denotes on-peak or off-peak time. - All 24 hours are set to off-peak on holidays as defined by WECC. - On regular days- Monday thru Saturday, hour-ending 7 to 22 are on-peak; and the rest of the hours including Sunday are off-peak. |
| Resource | Unique identifier of a resource |
| Market | Type of market or process to which the Default Energy Bid Curve applies: Day-Ahead or Real-Time Market |
| - Adder | Indicates whether the Bid Adder value has been applied onto the Default Energy Bid Curve or not |
| Default Bid Type | Classifies the type of Default Energy Bid curve – e.g., Variable Cost Option, LMP Option, Negotiated Rate Option |
| Bid Curve | Set of 11 segments of the Default Energy Bid curve. Each segment is comprised of: - Segment bid type (abbreviated) – further classifies the segment bid type as Variable Cost Option, LMP Option, or Negotiated Rate Option. This is relevant in the cases where the particular segment of an LMP-based bid curve is based on either cost or negotiated LMP, because competitive LMP’s are not sufficiently available. - MW value - Price $ per MWH value Note: The 11th value denotes the ending point of the (last) 10th segment. Price $ value |

### Day-Ahead Generation Prices

This report shows Day-Ahead resource specific prices of Generating Units.  The report is available after completion of the Day-Ahead Market.  The content of this report is shown in Exhibit 10-11.

Exhibit 10-22 Day-Ahead Generation Schedule Prices Report Content

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date on which the transaction occurs |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Resource | Unique identifier code of a Generating Unit |
| Product | Product types: Energy, AS Spinning Reserve, AS Non-Spinning Reserve, AS Regulation Up, AS Regulation Down, RUC |
| Price Type | Classification of the price amount being displayed in the hour-ending columns: - LMP; Sum of Congestion MCC + Energy SMEC + Loss MCL. - Congestion; Corresponds to the Marginal Cost of Congestion (MCC). - Energy; Corresponds to the System Marginal Cost of Losses (SMEC). - Loss; Corresponds to the Marginal Cost of Losses (MLC). - ASMP; Corresponds to the Ancillary Service Marginal Price. - RUC; Corresponds to the Residual Unit Commitment Price. |
| HE1 … HE24 | Hourly (PDT-based; Hour-Ending format) resource-specific prices. Daylight Savings Time switch: HE25 is displayed on a Long Day, while HE03 appears blank on a Short Day. |

### Day-Ahead Demand Prices

This report lists Day-Ahead resource-specific prices of both Participating and Non-Participating Loads within the CAISO area.  The report is available after completion of the Day-Ahead Market.  The content of this report is shown in Exhibit 10-12.

Exhibit 10-23: Day-Ahead Resource Specific Demand Prices Report Content

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date on which the transaction occurs |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Resource | Unique identifier code of a load resource |
| Product | Type of product or service contracted in the transaction, e.g., Energy, AS Non-Spinning Reserve |
| Price Type | Classification of the price amount being displayed in the hour-ending columns: - LMP; Sum of Congestion MCC + Energy SMEC + Loss MCL. - Congestion; Corresponds to the Marginal Cost of Congestion (MCC). - Energy; Corresponds to the System Marginal Cost of Losses (SMEC). - Loss; Corresponds to the Marginal Cost of Losses (MLC). - ASMP; Corresponds to the Ancillary Service Marginal Price. |
| Resource Type | Type of resource, either Participating Load or Non-Participating Load resource |
| HE1 … HE24 | Hourly (PDT-based; Hour-Ending format) resource-specific prices. Daylight Savings Time switch: HE25 is displayed on a Long Day, while HE03 appears blank on a Short Day. |

### HASP Schedules

This report displays Hour-Ahead Scheduling Process results for the next Trading Hour; posts the HASP Binding results relevant to Hourly Pre-Dispatched Resources; and HASP Advisory results relevant to the Non-Hourly Pre-Dispatch Resources. The report is available after completion of the Hour-Ahead Scheduling Process.  The content of this report is shown in Exhibit 10-13.

Exhibit 10-24: HASP Schedules Report Content

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date on which the transaction occurs |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Resource | Unique identifier code of a resource |
| Product | Product type- Energy, AS Spinning Reserve, AS Non-Spinning Reserve, AS Regulation Up, AS Regulation Down, Load Following Up, Load Following Down |
| Schedule Type | Indicates whether the resource was Self-Scheduled by the SC or scheduled by the CAISO market |
| Contract Type | This field will not be populated. |
| Binding | Indicates whether the schedule is binding or not |
| Hour | Hour in hour-ending format |
| Interval1…Interval4 | Four 15-minute intervals, with each containing the total scheduled amount from the HASP run |

### HASP Schedule Prices

This report displays Hour-Ahead Scheduling Process resource-specific prices for the next Trading Hour; posts the HASP Binding results relevant to Hourly Pre-Dispatched Resources; and posts HASP Advisory results relevant to the Non-Hourly Pre-Dispatch Resources. The report is available after completion of the HASP.  The HASP resource level pricing for the Hourly Pre-Dispatched Resources is averaged over the four 15-Minute intervals. The content of this report is shown in Exhibit 10-14.

Exhibit 10-25: HASP Schedule Prices Report Content

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date on which the transaction occurs |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Resource | Unique identifier code of a resource |
| Product | Product type- Energy, AS Spinning Reserve, AS Non-Spinning Reserve, AS Regulation Up, AS Regulation Down |
| Price Type | Classification of the price amount being displayed in the interval columns: - LMP; Sum of Congestion MCC + Energy SMEC + Loss MCL. - Congestion; Corresponds to the Marginal Cost of Congestion (MCC). - Energy; Corresponds to the System Marginal Cost of Losses (SMEC). - Loss; Corresponds to the Marginal Cost of Losses (MLC). - ASMP; Corresponds to the Ancillary Service Marginal Price. |
| Binding | Indicates whether price is binding or not. |
| Hour | Hour in hour-ending format |
| Interval1…Interval4 | Four 15-minute intervals, with each containing the price from the HASP run per hour |

### Day-Ahead Finally Qualified Load Following Capacity

This report displays the Day-Ahead Finally Qualified Load Following Capacity values for Metered Sub-System (MSS) resources.  The report is available after completion of the Day-Ahead Market.  The content of this report is shown in Exhibit 10-15.

Exhibit 10-26: Day-Ahead Finally Qualified Load Following Capacity

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date on which the transaction occurs |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Resource | Unique identifier code of a resource |
| Product | Indicates whether it is either Load Following Up Capacity or Load Following Down Capacity |
| Resource Type | Indicates the type of resource: Generator or Pump Storage Generator |
| HE1 … HE24 | Hourly (PDT-based; Hour-Ending format) load following capacity in MW unit. Daylight Savings Time switch: HE25 is displayed on a Long Day, while HE03 appears blank on a Short Day. |

### Day-Ahead Unit Commitments

This report displays the resources that are self-committed or CAISO committed.  The report is available after completion of the Day-Ahead Market.  The content of this report is shown in Exhibit 10-17.

Exhibit 10-17: Day-Ahead Unit Commitments

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date on when the trade transaction occurs within the market |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Resource | Unique identifier code of a resource |
| Resource Type | Type of resource: Generator, Pump-Storage Generator, Sync Condenser, Participating Load, Import Intertie*, Export Intertie* *System Resource |
| Operating Mode | Indicates whether the resource is in Generating or Pumping mode |
| Commitment Type | Indicates whether the commitment originated from the market or was self-committed, e.g., Self-Commitment, CAISO IFM Commitment, CAISO RUC Commitment |
| Start-Time | Effective start date and time of the unit commitment |
| End-Time | Effective end date and time of the unit commitment |

### Proxy RMR Minimum Load & Startup Cost Bids

This report displays the proxy minimum load and startup cost bid curves that are used for the MPM-RRD Process for RMR Units.  This information originates from the independent entity and applies to RMR units only. The report is available after receipt of default bids.  The content of this report is shown in Exhibit 10-18.

Exhibit 10-18: Default RMR Minimum Load and Start-up Cost Report Content

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date on which the default curve applies in the market |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Resource | Unique identifier code of a resource |
| Minimum Load Cost | Default Minimum Load cost value measured in $ dollar per hour |
| Startup Cost Curve | Set of three segments comprised of the cooling time in minutes, and price in dollar $ unit |

### Day-Ahead Import-Export Prices

This report displays the Day-Ahead unit-specific prices of System Resources.  The report is available after completion of the Day-Ahead Market.  The content of this report is shown in Exhibit 10-19

Exhibit 10-19: Day-Ahead Import/Export Prices Report Content

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Transaction date on which the trade occurs |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Resource | Unique identifier code of the System Resource |
| Scheduling Point | Unique identifier of the Scheduling Point |
| Direction | Flow of Energy/capacity in or out the CAISO Balancing Authority Area: Import or Export |
| Energy Type | Firm Energy, Non-Firm Energy, Dynamic Interchange, Wheeling, or Unit Contingent |
| Product | Type of product or service applied in the transaction, e.g., Energy, AS Spinning Reserve, AS Non-Spinning Reserve, RUC |
| Price Type | Classification of the price amount being displayed in the hourly columns: - LMP; Sum of Congestion MCC + Energy SMEC + Loss MCL. - Congestion; Corresponds to the Marginal Cost of Congestion (MCC). - Energy; Corresponds to the System Marginal Cost of Losses (SMEC). - Loss; Corresponds to the Marginal Cost of Losses (MLC). - ASMP; Corresponds to the Ancillary Service Marginal Price. - RUC; Corresponds to the Residual Unit Commitment Price. |
| HE1 … HE24 | Hourly (PDT-based; Hour-Ending format) resource-specific prices Daylight Savings Time switch: HE25 is displayed on a Long Day, while HE03 appears blank on a Short Day. |

### Extremely Long Start Resource Start-Up Instructions

This report displays the Start-Up instructions of Extremely Long Start Resource units.  The report is available after completion of the Extra Long Commitment (ELC) Process.  The content of this report is shown in Exhibit 10-20

Exhibit 10-20: Extremely Long Start Resources Start-Up Instructions Report Content

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date that identifies the Day-Ahead Market being processed |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Resource | Unique identifier code of a resource |
| Resource Type | Type of resource: Generator, System Resource |
| Operating Mode | Indicates whether resource is in Pumping or Generating mode |
| Instruction Source | Indicates the market process that created this instruction. For this report, it is set to ELC for Extremely Long Commitment process |
| Instruction Type | Instruction type is “Startup” on this report |
| Start Time | Date, time on when the unit should be completely online, i.e. generating at minimum load |
| Binding | Flag indicating whether the instruction is binding or not Note: flag will always be “Yes” |
| Start-Up Cost | Start-Up cost in $ dollar unit. In cases of Extremely Long Start units, this will be blank or null |

### Day-Ahead Reliability Must Run (RMR) Dispatches

This report will display only those RMR units with either an Energy Schedule flagged as an RMR Dispatch (from the IFM run) and/or an RMR Dispatch.  The report is available after publication of the Day-Ahead Market.  The content of this report is shown in Exhibit 10-21.

Exhibit 10-21: Day-Ahead Reliability Must Run (RMR) Requirements

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date on which the transaction occurs |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Resource | Unique identifier code of a resource |
| HE1 … HE24 | Hourly (PDT-based; Hour-Ending format) values containing the following: - Day-Ahead Energy Schedule cleared and scheduled through the IFM run, in MW unit Note: This does not denote the Day-Ahead RMR Requirement value. - RMR Flag indicating if the resource was dispatched under the RMR Contract. This will be set to ‘Yes’ when it was: - Manually dispatched by an Operator; or - Generated by the market run where the unit has an AC (All Constraints) schedule value greater than the CC (Competitive Constraint) schedule, even if the (IFM) Day-Ahead Schedule is zero. Daylight Savings Time switch: HE25 is displayed on a Long Day, while HE03 appears blank on a Short Day. |

### Expected Energy Allocation Details

This report displays the post-market Expected Energy results from the energy accounting process.  Expected energy is the sum total of all DA and RT market awards, Exceptional Dispatches and verbal instruction, taking into account physical limitations (SLIC), separated into their Settlement components.  The report is available post-market results @ Trading Day +1 and Settlements publication.  The content of this report is shown in Exhibit 10-22.

Exhibit 10-22: Expected Energy Allocation Details Report Content

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date on which the transaction occurs |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Resource | Unique identifier code of a resource |
| Interval | Nth five-minute interval within the hour |
| Hour | Hour in Hour-ending format |
| Market Service Type | Market Service Type depends on the SC’s Bid Curve and Market Results. Examples: - ME – Market Energy Capacity; - DAC – Day-Ahead Energy Capacity. - SR – Spin Capacity; - DEC – Derate Capacity. - NR – Non-Spin Capacity. |
| Energy Type | Energy component for which the settlement allocation is based on. Examples are: Optimal Energy, Standard Ramping Energy, Ramping Energy Deviation, Residual Energy, Minimum Load Energy, SLIC Energy, Exceptional Dispatch Energy, RMR Energy, MSSLF Energy, Real-Time Self-Scheduled Energy, Pumping Energy, etc. Note: Details on the Expected Energy Types are found in the BPM for Market Operations-Appendix C.5. In the table in that section, the column labeled “CMRI Expected Energy Report” lists all of the valid EE types and their acronyms. |
| Bid Price | Price awarded per Market Service Type from the SC’s Bid Curve in dollar $ unit |
| Expected Energy | Expected energy value in MWH unit |
| MSS-OE overlapping | Indicates that the MSS load following energy overlaps with the optimal energy (Y/N, can be NULL) |

### Conformed Dispatch Notice (CDN)

This report displays the Summary of the Day-Ahead and Real-Time Market results of RMR resources.  This is commonly referred to as the “CDN” report.  The report is available post-market results @ Trading Day +1.  The content of this report is shown in Exhibit 10-23.

Exhibit 10-23: Confirmed Dispatch Notice Report Content

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date on which the transaction occurs |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Resource | Unique identifier code of a resource |
| Hour | Hour in Hour-ending format |
| Day-Ahead Market | Displays the results from Day-Ahead Market Processes: Energy; Sum of Energy Schedules. Spin; Sum of Ancillary Service Spinning Awards. NonSpin; Sum of Ancillary Service Non-Spinning Awards. RegUp; Sum of Ancillary Service Regulation Up Awards. RegDown; Sum of Ancillary Service Regulation Down Awards. RMR Dispatch; Dispatched/scheduled value that was either manually or generated by the market run, pursuant to the RMR Contract. CCR; Corresponds to the Competitive Constraint Run value. |
| Real-Time Market | Displays the results from Real-Time Market Processes: Intervals 1 to 6; RMR Dispatch Energy per 10-minute intervals. Total; Hourly RMR Dispatch Energy (sum of the six intervals). CCR; Corresponds to the Competitive Constraint Run value. |
| Voltage Support | Voltage Support column contains the following information: Flag – indicates whether the unit was dispatched for voltage support; Dispatch – Constrained MW value for local voltage support. |
| Unit Substitution | Unit Substitution column contains the following information: ResID – identifier of the substitute resource (maximum of three units); MW – scheduled value of the substituting unit. : - Flag – indicates whether the unit was dispatched for voltage support; - DEC – MW value dispatched for local voltage support. |

### Expected Energy

Displays the post-market Expected Energy results from the energy accounting process.

This report will contain the Total Expected Energy for Day Ahead, Real Time, Instructed and Total energy- and post-market results @ Trade Date +1 and @ Preliminary/Final Settlements Publication. The content of this report is shown in Exhibit 10-24.

Exhibit 10-24: Expected Energy

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date on which the transaction occurs |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Resource | Unique identifier code of a resource |
| Hour | Hour in Hour-ending format |
| Interval | Nth five-minute interval within the hour |
| Energy Type | Energy component for which the settlement allocation is based on. Examples are: Optimal Energy, Standard Ramping Energy, Ramping Energy Deviation, Residual Energy, Minimum Load Energy, SLIC Energy, Exceptional Dispatch Energy, RMR Energy, RT Self-Scheduled Energy, Pumping Energy, etc. Note: For a listing of all of the valid EE types, reference The BPM for Market Operations, Appendix C, Section C.4 |
| Expected Energy | Expected energy value in MWH unit |
| MSS-OE overlapping | Indicates that the MSS load following energy overlaps with the optimal energy (Y/N, can be null) |

### CAISO Commitment Cost Details

This report will contain the Commitment Flags and Commitment Cost to validate the Bid Cost Recovery charge in Settlements and post-market results @ Trade Date +1 and @ Preliminary/Final Settlements Publication. The content of this report is shown in Exhibit 10-25.

Exhibit 10-25: ISO Commitment Cost Details

| Attribute | High-Level Description |
| --- | --- |
| Trading Day | Date on which the transaction occurs |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Resource | Unique identifier code of a resource |
| Hour | Hour in Hour-ending format |
| Interval | Nth five-minute interval within the hour |
| Market Type | Market Type will be RTM for Real Time, RUC or IFM |
| Start-Up Cost | Start Up Cost for the Resource and the Eligibility Flag for the Start Up Cost |
| Pump Shut-Down Cost | Pump Shut Down Cost for the Resource and the Eligibility Flag for the Pump Shut Down Cost |
| Minimum Load Cost | Minimum Load Cost for the Resource and the Eligibility Flag for the Minimum Load |
| Pump Cost | Pump Cost for the Resource and the Eligibility Flag for the Pump Cost |
| RMR Flag | Eligibility Flag for the RMR Commitment |

### CRN

CRN reports the MW breakdown for ETC/TOR Self-Schedules for DAM and RTM by resource and CRN number and posts the Day-Ahead results @ Trade Date -1 at approximately 2 hours after the close of the Day-Ahead Market. Posts the Real-Time results @ Trade Date +7

Note: This report has limited functionality, and is only available in the GUI. The same results are posted to the CAISO SFTP site for downloading, but there is no API retrieve service for this report. The content of this report is shown in Exhibit 10-26.

Exhibit 10-26: CRN

| Attribute | High-Level Description |
| --- | --- |
| Market | Market Type selection. (Day-Ahead or Real-Time) |
| Scheduling Coordinator | Unique identifier of the Scheduling Coordinator |
| Trading Day | Date on when the trade transaction occurs within the market |
| Trading Hour | Hour in Hour-ending format |
| Trading Interval | 10-minute interval within the hour |
| Resource Name | Unique identifier of a resource |
| CRN Number | Contract ID for which the schedule was designated for. For chains, the Parent Chain name will appear. |
| Self-Schedule Quantity | Awarded value in MW unit. |
| Contract Type | Corresponds to the specific contract. Examples: - ETC (Existing Transmission Contract). - CVR (Converted Rights). - TOR (Transmission Ownership Rights). |

### SIBR Reports

Exhibit 10-24 summarizes the reports that are available to SCs through CAISO Portal for the DAM and RTM.

Exhibit 10-24: SIBR Report Content

| Title | Contents |
| --- | --- |
| Up to the minute transaction report DAM/RTM | Hourly details on Bids that have been submitted to the Day-Ahead and Real-Time Markets (to include SIBR generated Bids) The report includes the time the Bid was received by CAISO, Bid status, submitted by SC or CAISO and all Bid details broken out by resource type and product type. This report should display the most current Bid that is active in the market for which it was submitted. Detail of Clean Bids produced by SIBR after the close of the Day-Ahead and Real-Time Markets will indicate whether Clean Bid was submitted by the SC or created by CAISO (SIBR). |
| Bid Activity Audit Report DAM/RTM | Bid statuses of a Bid through out its lifecycle broken out by Market type, resource type and resource ID. Details include time received, Bid status, whether submitted through GUI or web services and any relevant error messages tied to the Bid by Bid status. |
| Self-Schedule Contracts Report | Hourly CRN Entitlement values for ETC/TOR contracts registered with the CAISO. Note: CVR information will be displayed as an ETC (the difference being the CRN is registered in MF based off of the TRTC Instructions received which distinguishes it as a CVR.) |
| Distribution Location Reports DAM/RTM | GDFs distribution locations and factors by hour for generating resources for both the DAM and RTM |
| Trade Status Report DAM/RTM | This report displays the status of Inter-SC Trades for the DAM and RTM. This report closely mimics the information shown in the Inter-SC Trade summary display in the SIBR UI. This report shows the most recent status of an Inter-SC Trade in the market. |
| Trade Activity Audit Report DAM/RTM | This report shows an audit trail of a trade by displaying all of its associated statuses and error messages. |

# Dispatch Information/ADS

Welcome to the Dispatch Information section of CAISO BPM for Market Instruments.  In this section you will find the following information:

- Application Function.

- Dispatch Instruction Cycle

- Dispatch Information

- Data Dictionary for ADS

- Technical Information for ADS

Automated Dispatching System (ADS) is the application developed by CAISO to communicate real-time dispatch instructions to Market Participants.  Users of ADS are able to:

- Receive and generally respond to in-hour dispatch instructions in real-time.

- Receive confirmation of accepted pre-dispatch instructions

- Retain a local record of the transactions

- Query a database for historical instructions.

## ADS Instruction Cycle

The typical ADS instruction cycle is as follows:

- The RTM application determines the Energy needed to meet demand.  An instruction list, in the form of a requested MW amount for each resource is generated from Ancillary Services and Energy Bids in the RTM.

- The instruction list is transferred from RTM to the ADS system and is sent to the Market Participant.

- All ADS instructions are Binding.

- The ADS system determines who has rights to view and to respond to each of the instructions and sends individual instructions to authorized ADS users based on the digital certificate (this will be the same certificate used for CAISO Portal access) used to login to ADS and the ADS Client associated with the certificate. Each ADS Client is associated with one or more resources and can have Primary, Secondary or Read only permissions on the identified resources.

- For all non-intertie resources, ADS automatically obtains an acknowledgement per instruction once it reaches the corresponding ADS client.

- ADS automatically responds with an “accept”.

- NOTE:  If there are any known limitations to dispatchable resources, a SLIC ticket will need to be submitted prior to receiving Real Time dispatch instructions.

- For Intertie System Resources, the user (with Primary or Secondary permissions) has the option to accept, partially accept or decline the instruction.  The user is allowed to provide a response or undo a response at any time within the 90 second window.

- If the user does not respond within the 90 second window, ADS automatically responds with a "Timed–out” and will be forcibly declined. There are two other time frames in which to change a response for an Intertie:

- 5 minutes after the Client time out by the CAISO dispatcher on behalf of the Client

- at 30 minutes after the hour per the CAISO dispatcher.

## Dispatch Information Supplied by CAISO

The output information from the RTM applications that CAISO sends to ADS is listed in Exhibit 11-1.

Exhibit 11-27: ADS Output

| Application | Output |
| --- | --- |
| HASP | Hourly Pre-dispatch for hourly pre-dispatch resources |
|  | Hourly AS Awards for hourly pre-dispatched resources |
| STUC | Binding start-up and shut-down instructions (looks ahead 4hours beyond the Trading hour) (Can be Advisory or Binding depending on the resource limitations to meet start-up) |
| RTUC | Binding start-up and shut-down instructions |
|  | Binding 15 minute AS Awards for five-min dispatchable resources |
| RTED | Binding five minute dispatch for five -min dispatchable resources |
| RTMD | Binding five minute Manual dispatch for five -min dispatchable resources |
| RTCD | Binding 10 minute contingency dispatch for five -min dispatchable resources |

- Please refer to section 2.3.2 Real Time Market Process of the BPM for Market Operations for a description of the HASP, STUC, RTUC, RTED, RTMD, and RTCD.

## ADS DOT Breakdown

This is intended to clarify the various MW components in CAISO’s Automated Dispatch System (ADS) for the Dispatch Operating Target (DOT) breakdown. Relevant business functions and usages of these components are also described as well.

1.	Business Purpose

The DOT breakdown that CAISO provides to market participants through ADS is to provide the energy component in terms of MW capacity constituting the DOT MW. It can be used for two different purposes:

1. Operational including, but not limited to, compliance checking, available operating reserve calculation, etc.

2. Shadow settlement.

Although these components are used to represent energy component of the DOT, they are calculated and represented in terms of MW capacity and hence they do not represent the energy difference due to ramping effect between intervals.

There are two types of real-time dispatch instructions that CAISO sends out through ADS, i.e., hourly pre-dispatch (RTPD)  instruction and real-time dispatch (RTD) instruction. There are some subtle differences in how to interpret and use those MWs between those two types of instructions.

2.	DOT Breakdown in Hourly Pre-dispatch Instruction

The hourly pre-dispatch instructions apply to hourly pre-dispatch resources, i.e., the inter-tie system resources. There are two critical components,

SCHED:	The SCHED MW reflects the real-time energy self schedule for that resource in the SIBR clean bid;

SUPP:	This MW is the difference between DOT and SCHED calculated by (DOT – SCHED). It is effectively the incremental (positive) or decremental (negative) from the self schedule MW.

Although the standard ramp RMPS is also calculated for the inter-tie resources in the DOT breakdown, the standard ramp has little relevance to the ultimate energy settlement of hourly pre-dispatched system resources since such energy is accounted for on a block basis. There will not be any Spin or Non-spin MWs for hourly pre-dispatched resources since we do not model AS import on the hourly pre-dispatched resources. It is also worth mentioning that, there are two scenarios under which the SCHED will be equal to the final day-ahead energy schedule,

Scenario 1,  for the market participants who elects to protect their day-ahead final energy schedule from IFM, i.e., the DA energy schedule MW is submitted as real-time self schedule;

Scenario 2:  no explicit real-time energy bid curve or self schedule is submitted. SIBR will convert the final DA energy schedule into a real-time self schedule.

Following examples assume a real-time self schedule MW as 80MW,

- Example 2.1 (incremental),

DOT: 100MW

DOT breakdown is,

SCHED:  +80MW

SUPP:     +20MW

- Example 2.2 (decremental),

DOT: 	60MW

DOT breakdown is,

SCHED:  +80MW

SUPP:	    -20MW

  - ADS Decline Functionality For Hourly Pre-dispatch Instruction

In ADS, we allow the market participants to decline or partially accept a pre-dispatch instruction. It is CAISO’s policy that only the SUPP component MW in the DOT breakdown can be rejected or partially accepted. In other words, the SCHED MW component can not be changed after the HASP run. A final accepted DOT is recorded in ADS and available to market participant as “Accept DOT”.

Decline/Partial Accept for example 2.1,

Market participants can decline the 20MW or partially accept any portion of the 20MW. Therefore the Accept DOT will be any number between 80MW to 100MW.

Decline of 20MW:   Accept DOT will become 80MW;

Partially acceptance of 10MW out of 20:  Accept DOT will become 90MW;

Full acceptance of 20MW:  Accept DOT will stay as 100MW.

Decline/Partial Accept for example 2.2,

Market participants can decline the -20MW or partially accept any portion of the -20MW. Therefore the Accept DOT will be any number between 60MW to 80MW.

Decline of -20MW:   Accept DOT will become 80MW;

Partially acceptance of -10MW out of -20:  Accept DOT will become 70MW;

Full acceptance of -20MW:  Accept DOT will stay as 60MW.

3.            DOT Breakdown in Real-time Dispatch Instruction

The real-time dispatch instructions apply to non hourly pre-dispatch resources, i.e., the generators, tie generators (including dynamic resources and the resources used to model AS import on the ties) and participating loads (using the pump-storage model). There are five critical components here,

SCHED:	The SCHED MW reflects the real-time self energy schedule for that resource in the SIBR clean bid;

SUPP:	This MW is the difference between DOT and SCHED calculated by (DOT – SCHED). It reflects the incremental (positive) or decremental (negative) from the self schedule MW. SUPP is inclusive of the SPIN and NSPN MWs and MSSLF whichever applicable;

SPIN:	If this resource gets dispatched out of spin capacity (either in contingency or non-contingency mode), this value will reflect dispatched SPIN capacity amount. Otherwise, this amount is zero. SPIN MW can be used for available reserve calculation;

NSPN:	If this resource gets dispatched out of non-spin capacity (either in contingency or non-contingency mode), this value will reflect dispatched Non-Spin capacity amount. Otherwise, this amount is zero. Non-SPIN MW can be used for available reserve calculation;

MSSLF:	This only applies to MSS load following resources. If market participants submit MSS load following instructions for those resources, the validated load following instructions will be sent back through this component. For all non load following resources, this amount will be zero.

Although the standard ramp RMPS is also provided for the real-time dispatch instructions in the DOT breakdown,  it is recommended the value of RMPS be determined outside of the dispatch instruction based on the standard ramp 20 minute cross-hour ramp between Day-Ahead schedules. It is also worth mentioning that, there are two scenarios under which the SCHED will be equal to the final day-ahead energy schedule,

Scenario 1,  for the market participants who elects to protect their day-ahead final energy schedule from IFM, i.e., the DA energy schedule MW is used to submitted as real-time self schedule;

Scenario 2:  no explicit real-time energy bid curve or self schedule is submitted. SIBR will convert the final DA energy schedule into a real-time self schedule.

Following examples assume a real-time self schedule MW as 80MW,

- Example 3.1 (incremental without dispatch out of Spin or Non-Spin),

DOT: 100MW

DOT breakdown is,

SCHED:  +80MW

SUPP:     +20MW

- Example 3.2 (incremental with dispatch out of Spin and Non-Spin),

DOT: 100MW

DOT breakdown is,

SCHED:  +80MW

SUPP:     +20MW

SPIN:      +5MW

NSPN:    +5MW

In example 3.2, the 5 MWs for dispatched out of Spin and Non-spin are part of the SUPP as the incremental amount. Besides the 5 MWs from Spin and Non-spin, it implies the 20 – 5 -5 = 10MW as the market energy dispatch component. This is different from the current ADS in production in which the SUPP is exclusive from the Spin and Non-spin amount.

- Example 3.3 (decremental),

DOT: 	60MW

DOT breakdown is,

SCHED:  +80MW

SUPP:	    -20MW

- Example 3.4 (incremental with dispatch out of Spin, Non-Spin And Load following),

DOT: 100MW

DOT breakdown is,

SCHED:  +80MW

SUPP:     +20MW

SPIN:      +5MW

NSPN:	    +5MW

MSSLF:  +5MW

In example 3.4, the 5 MWs for dispatched out of Spin, Non-spin and MSS load following are part of the SUPP as the incremental amount. Besides the 5 MWs from Spin, Non-spin and MSSLF, it implies the 20 – 5 -5 – 5 = 5MW as the market energy dispatch component not associated with any other capacity.

- Example 3.5 (decremental with MSS load following),

DOT: 	60MW

DOT breakdown is,

SCHED:  +80MW

SUPP:	    -20MW

MSSLF:  -5MW

In example 3.5, the -5 MWs for MSS load following are part of the SUPP as the decremental amount. Besides the -5 MWs from MSSLF, it implies the -20 – (-5)  =  -15MW as the market energy dispatch component.

## Technical Information for ADS

The ADS Technical information for the system will be made available on the CAISO Website. (Currently associated with the Market Simulations being conducted please review the most recent documentation listed under the next available or “current” Market Simulation.).

ADS Technical Information can be found under Applications Documentation

Technical Interface Documentation

Publish Dispatch Instructions – Technical Interface Documentation

http://www.caiso.com/docs/2005/10/27/2005102715043129899.html

Technical information to be posted will include:

- User Documentation (installation and set up guides)

- ADS Flash demo

- WSDL and XSD information

- Reason Codes and other informative documentation relative to dispatch instructions

- OOS Energy Types are located under “Additional Technical Interface Documentation” at the following:  http://www.caiso.com/18d2/18d2db245bf60.html .

# Public Market Information

Welcome to the Public Market Information section of CAISO BPM for Market Instruments.  These reports are based on the requirements detailed in the CAISO Tariff Section 6.5, CAISO Communications.

In this section you will find the following information:

- List of Report Tabs provided on the CAISO OASIS site. (http://oasis.caiso.com)

- Content of the reports included under those Report Tabs

Interface Specifications regarding the downloading of the OASIS data through an API can be found at:

http://caiso.com/1c9c/1c9c8654b0e0.html

CAISO provides the following reports groups through OASIS listed by the Tab name as they appear on the CAISO OASIS web site:

- Prices

- Transmission

- System Demand

- Energy

- Ancillary Services

- CRR

- Public Bids

- Atlas

## Prices

CAISO provides information on prices to the public through the OASIS web page.  The Price reports contain the following information:

- Locational Marginal Prices (LMP) – Posts Hourly Locational Marginal Prices for all PNodes, APNodes and Scheduling Points in $/MWh, for the DAM and RUC market processes. Data fields are as follows:

- LMP

- LMP Marginal Cost of Energy (MCE)

- LMP Marginal Cost of Congestion (MCC)

- LMP Marginal Cost of Losses (MCL)

- Note: For the RUC prices, only the RUC price is posted. The three-component LMP breakdown is not applicable for RUC pricing.

- HASP Locational Marginal Prices (LMP) – Posts hourly, the 4 15-minute Locational Marginal Prices in $/MWh, for the HASP hour. Posts the LMP, plus the Congestion, Loss and Energy Components that make up the LMP.

- Posts the HASP Binding LMP for PNodes and APNodes relevant to Hourly Pre-Dispatched Resources.

- Posts the HASP Advisory LMP for PNodes and APnodes relevant to the Non-Hourly Pre-Dispatch Resources.

- Data fields are as follows:

- LMP

- LMP Marginal Cost of Energy (MCE)

- LMP Marginal Cost of Congestion (MCC)

- LMP Marginal Cost of Losses (MCL)

- Interval Locational Marginal Prices (LMP) – Posts the five-minute Locational Marginal Prices for PNodes and APNodes in $/MWh, for each five-minute interval RTM. Data fields are as follows:

- LMP

- LMP Marginal Cost of Energy (MCE)

- LMP Marginal Cost of Congestion (MCC)

- LMP Marginal Cost of Losses (MCL)

- AS Clearing Prices – Posts the Ancillary Services Marginal Price (ASMP) for all Ancillary Service types for all binding AS Regions. Posted hourly in $/MW for the DAM.

- DAM - Hourly ASMP ($/MW)

- Interval AS Clearing Prices -  Ancillary Services Marginal Price (ASMP) for all Ancillary Service types for all binding AS Regions. Posts 15-Minute price relevant to the next 15 minute binding interval for RTM on a fifteen minute basis.

- RTM - 15Min Binding ASMP ($/MW)

- Intertie Constraint Shadow Prices – – Posts the hourly constraint pricing at each Intertie-based Transmission Interface And Intertie Constraint, for each Market
Process (DAM, HASP) in $/MWh, and the 15-Minute Shadow Price in $/MWh for the RTPD in RTM.

- Nomogram/Branch Shadow Prices – – Posts the hourly constraint pricing at each binding Nomogram and Branch, for each Market Process (DAM, HASP) in $/MWh, and the 15-Minute Shadow Price in $/MWh for the RTPD in RTM.

- Fuel Prices – For each Gas Flow Day, lists the gas price in $/mmBTU by fuel region.

- Current Locational Marginal Price – This report is available for download only. Five minute Locational Marginal Prices for all PNodes and APNodes for the current interval. (Returns the most recently posted interval only) This download is provided to allow Oasis users to quickly receive the most current LMP without any prior intervals included in the payload.

## Transmission

The Transmission reports contain the following information:

- Current Transmission Usage - Consolidated report for current transmission capacity and usage per Transmission Interface.  Starts at 7-days ahead of the Trading Day, with Constraint and OTC values updated as outage/derate/rerate values change. Transmission Right, AS and Energy utilization values are updated in conjunction with Market results publications.  Data fields are as follows:

- TTC, OTC, CBM,

- Current hourly Constraints.

- Unscheduled Transmission Rights Capacity (ETC/TOR).

- Hourly AS from Imports.

- Hourly scheduled net Energy from Imports/Exports and ATC.

- Transmission Interface Usage – Consolidated report for Transfer Capacity and usage as used in CAISO market operations processes based on conditions at the time of the Market Close. Lists for each Trading Hour, Transmission Interface and market process (DAM, HASP) the hourly TTC, OTC, Constraint, CBM, hourly unscheduled Transmission Rights Capacity (ETC/TOR), hourly AS from Imports, and hourly scheduled net Energy from Imports/Exports and ATC.

- Market Available Transfer Capacity – Available Transfer Capacity per Transmission Interface by direction, for market processes DAM and HASP, expressed in MW.

- Transmission Outages - Lists planned and actual Transmission Outage events per Transmission Interface by direction.  The list is updated with every outage event.  List includes: Outage description, Outage start-time and end time, rating of the curtailed line, Outage notes.

## System Demand

The System Demand reports contain the following information:

- CAISO Peak Demand Forecast – lists the Peak CAISO Forecast of CAISO Demand, starting 7 days before Trading Day, including Peak Demand (MW) and Peak Time (Hour) Updated daily at 1800 hours. Also posts Peak Demand Forecast by TAC Area (including MSS).

- CAISO Demand Forecast – – lists the CAISO Forecast of CAISO Demand starting  the evening before the DA IFM for a Trading Day. Includes the 2 Day-Ahead hourly Demand Forecast, hourly DA forecast, RTM five-minute Demand Forecast, total actual hourly integrated Demand, all expressed in MW.  Also posts the 2-DA, DAM and Actual Demand by TAC Area. The RTM 5-Minute Load Forecast is posted for the next 11 intervals. Postings occur every 5-minutes for a rolling 11 interval period.

## Energy

The Energy reports contain the following information:

- System Load and Resource Schedules

- DAM Load, Generation, Import and Export Schedules per TAC Area and CAISO total for each Operating Hour, in MW.

- RUC Capacity from Generation and Imports for each TAC Area, plus CAISO total for each Operating Hour, in MW.

- Hourly Real-Time Market (HASP) Generation, Import and Export per TAC Area and CAISO total, in MW.

- 5 minute RTM Generation, Import and Export per TAC Area and CAISO total, in MW.

- Expected Energy – Lists after-the-fact Energy accounting, per Energy type. Posted daily at T+1, in MWh for ISO total.

- Please refer to the table in the BPM for Market Operations, Appendix C.4 for the complete list of valid Expected Energy Types.

- Exceptional Dispatch– Summary of Exceptional Dispatch Energy for each Operating Hour, expressed in MWh, and Exceptional Dispatch weighted price, in $/MWh. Posted daily at T+1. Values are summed by Exceptional Dispatch Type, by TAC Area.

- Please refer to the BPM for Market Operations, Appendix C.4 for the complete list of valid Exceptional Dispatch Types.

- Local Market Power Mitigation Status - Mitigation indicator showing whether any Bids were replaced by Reference Curves, for the following: DAM Hourly Market Mitigation (Yes/No), RTM 15Min Market Mitigation (Yes/No)

- RMR – Lists manually and MPM-RRD determined RMR summed across resources, for each Market, including DAM RMR Capacity available, DAM manual dispatched RMR Capacity, HASP RMR Capacity available, HASP manual dispatched RMR Capacity, HASP RMR Capacity requirement.

- Marginal Losses – Lists the total system Marginal Loss costs ($) and total system losses (MWh) for the DAM and HASP.

- Resource Adequacy Minimum Load – Posts at T +1, for both total CAISO committed, and total CAISO RA committed. Posts for the DAM, RUC and RTM plus the Totals across all markets, the following values:

- Capacity committed

- Number of units committed

- Minimum Load Cost ($)

- Start-Up Cost ($)

- Minimum Load (MW) (CAISO committed total only).

## Ancillary Services

The Ancillary Services Report contains the following information:

- AS Requirements – Lists the Ancillary Service capacity minimum and maximums per AS type, per AS Region, to be procured or self-provided in each Operating Hour. Posts for the 2-DA Forecast, DAM and HASP (RTPD).

- For the 2-DA Forecast, the Maximum requirement for Spin, Non-Spin and Regulation Up will be posted by Upward AS total. The Minimum values will be posted by individual AS product type.

- When encountering a max A/S limit of zero, please interpret this as "no limit" set.

- AS Results – Ancillary Service Capacity awarded and self-provided, by AS type, posted for each AS Region. Also posts the sum of the procured and self-scheduled. Posts results for the Day-Ahead (DAM), and in 15 Minute (RTPD) intervals, by resource type. Also posts Total AS Cost for each AS Region, by AS Type.

- Results will only post for AS Regions that are binding for that market run.

- Actual Operating Reserves – Lists total actual Demand, AS, and Operating Reserves maintained during delivery (as a % of Load).

## CRR

The CRR Reports contains the following information:

- CRR Clearing Prices – Congestion Revenue Rights auction clearing prices ($/MW) by PNode

- CRR Inventory – Congestion Revenue Rights Daily inventory, including:

- Market Term (long-term, short-term)

- Time of use

- Start-time and end-time

- CRR type

- CRR category

- CRR Option (yes/no)

- Source APNode

- Sink APNode

- MW amount

- Owner ID

## Public Bids

This is a download-only data report that provides the Clean Bid payloads used by the markets, with certain fields modified for confidentiality.  This report is provided at T+180, as defined in CAISO Tariff section 6.5.6.1.1 The Public Bids Reports contain the following information:

- Clean Bid payloads used in the markets, with certain fields replaced by pseudo data as indicated; posted for DAM and RTM.; and posted at T+180. The Public Bid Data is downloadable to XML and CSV only, for a single day at a time.

## Atlas

The Atlas Report includes the following information:

- Pricing Node Listing (PNode) – List all pricing locations.  Complete Network PNode Listing including PNode IDs and effective dates of operation

- APNode Listing – Lists All Aggregated Pricing Node locations used in CAISO Markets.

- Load Distribution Factors (LDFs) – Lists typical participation factors that map PNodes to APNodes.

- Load Aggregation Point Listing – List of all Load Aggregation Points in CAISO, by type.  Includes APNode ID, APNode Type, and effective dates of operation.

- Market Resource Listing – List of CAISO Resources.  Including Generating Unit ID, PNode, aggregation type, resource type, effective dates.

- Trading Hub Listing– lists all Trading Hub APNodes in CAISO; APNode ID, and effective dates.

- Trading Hub – PNode Mapping – Map of all PNodes to each Trading Hub APNode.

- Ancillary Service Region – PNode Mapping - Map of all PNodes to each Ancillary Services Region and Sub-Region.

- RUC Zone - PNode Mapping - Map of all PNodes to each Reliability Unit Commitment Zone.

- TAC Area - PNode Mapping – Map of all PNodes to each Transmission Access Charge Area.

- Intertie Constraint Mapping – Map of all Intertie Constraints with respective Transmission Interfaces and TSIN Registered entity ID.

- Transmission Interface Listing – Lists all Transmission Interfaces in CAISO, including Transmission Interface ID, Type, WECC Path, effective dates

- Peak/Off-Peak Definition – Posts Hourl Peak/.Off-Peak indicator based on the WECC definition.

- Publications and Revisions - OASIS data publication and revision.  Includes publication date, publication type, operating date hour min, description, version, status, and comments.  This report will log publication events for all public market data posted to the CASIO OASIS site.

- OASIS Publication Schedule – Contains the usual schedule by which all other OASIS data entities are published.  This includes publication type, publication interval, publication time, description, report group, and comments.

System Operating Messages - System Operating Messages including message time, Severity, and message text.

Attachment A

BID VALIDATION RULES

# A	Bid Validation Rules

Please refer to the following links to the latest versions of the SIBR Rules:

http://www.caiso.com/17ba/17baaa0325c10.html#2005091511371025730

Under the MRTU Business Interface Documentation

(Select either Bidding or Inter-SC Trades)

MRTU Technical Interface Documentation

(Select either Bidding or Inter-SC Trades)

Attachment B

MASTER FILE UPDATE PROCEDURES

# B	Master File Update Procedures

B.1	Master File

The Master File (MF) contains internal and external operating data for all resources within the CAISO Balancing Authority Area.

The SC can submit request to initiate updates to specific operating parameters for intertie and generator resources via email sent to the CAISO at mrtu_rdt@caiso.com (see table for fields that are editable and those which are informational to the SC).

Once the SC has submitted a request, the Master File analyst reviews the request and determines if the updates comply with stated MF business rules.  If the updates pass the initial review, the request is presented for further review and approval by affected CAISO systems.  The changes must be approved prior to them being made effective within the Master File database. If there are questions regarding the requested updates, the CAISO will contact the SC to coordinate modifications to the requested updates.

Master File change requests require at least five (5) and up to eleven (11) business days, depending on the complexity of the change, from receipt of the request to implementation into the Master File database (except as otherwise prescribed, such as to accommodate a high volume of requests for 6-month values.)  The request will be treated as a new request upon resubmission, for example, if it fails business rules.

Once the change is updated in the Master File, the Master File analyst will send out a compare report with the updated data elements, the compare report will show the before and after values.

B.2	Master file Content

The following tables define the data contained in the Master File for Generators and for the Intertie resources.

More Business Rules will be posted at the following website once they have been tested:

http://www.caiso.com/docs/2005/10/27/2005102715043129899.html

B.2.1	Generator Resource – May request data change

This table contains operational data for the Generator resources where changes to the data can be initiated by the Market Participants.

| Master File Field Name (RDT Field Name) | Definition | Parameter and/or Enumerations |
| --- | --- | --- |
| RES_ID (Resource ID - RES_ID) | The ISO resource identifier used for tracking each resource for market scheduling and outage coordination purposes. | Cannot be updated by submitting an RDT. Must correspond to the RES_ID in the Regulatory Agreement with the CAISO |
| RES_NAME (Resource Name) - RES_NAME | Descriptive Name for the Resource. |  |
| RES_TYPE (Resource Type) - RES_TYPE | Descriptive identifier denoting the type of resource: Generating Unit, Tie Generator, Load. | Must be one of the following: GEN – Generator LOAD – Load SYNC - Sync Condenser TG - Dynamic Inter-tie Resource |
| PGA_NAME (Participating Generator Agreement Name - PGA_NAME) | The name of an agreement between the CAISO and a Participating Generator; a pro forma version of which is set forth in Appendix B.2 of the CAISO Tariff | Must correspond to the name on the PGA or QF-PGA. |
| AQM_DIST_TYPE (Air Quality Management District - AQM_DIST) | The Air Quality Management District or Air Pollution Control District in which the resource is located. | Must be one of the following: AMAD – Amador ANTV - Antelope Valley BUTT – Butte CALA – Calaveras COLU – Colusa ELDO - El Dorado FRVR - Feather River GBUN - Great Basin Unified GLEN – Glenn IMPE – Imperial KERN – Kern LAKE – Lake LASS – Lassen MARI – Mariposa MBUN - Monterey Bay Unified MEND – Mendocino MODO – Modoc MOJD - Mojave Desert NCUN - North Coast Unified NSER - Northern Sierra NSON - Northern Sonoma OTHR - Other Region PLAC – Placer SACM - Sacramento Metro SBRB - Santa Barbara SCOA - South Coast SDIE - San Diego SFBA - San Francisco Bay Area SHAS – Shasta SISK – Siskiyou SJVU - San Joaquin Valley Unified SLUO - San Luis Obispo TEHA – Tehama TUOL – Tuolumne VENT – Ventura YOSO - Yolo/Solano |
| GEN_TECH_TYPE (Prime Mover Technology - GEN_TECH) | Description of the Prime Mover Technology associated with Generators ; such as, Hydro Turbine, Gas Turbine, Combined Cycle, etc | Must be one of the following: HYDR – Hydro Turbine PTUR – Hydro Pump-Turbine GTUR – Gas Turbine STUR – Steam Turbine CCYC – Combined Cycle RECP – Reciprocating Engine PHOT – Photovoltaic WIND – Wind Turbine PUMP – Pump |
| ENERGY_TYPE (Energy Type - ENERGY_TYPE) |  |  |
| FUEL_TYPE (Primary Fuel Type - FUEL_TYPE) | Description of Primary Fuel Type of the Generator; such as, Natural Gas, Oil, Nuclear, etc. | Must be one of the following: GAS – Natural Gas COAL – Coal/Coke OIL – Oil NUCL – Nuclear WAST – Waste to Energy BIOM – Biomass GEOT – Geothermal SOLR – Solar WATR – Water BGAS – Bio Gas (Landfill Sewage Digester etc.) HRCV – Heat Recovery WIND – Wind OTHR – Other |
| COST_BASIS_TYPE (Cost Basis Type - COST_BASIS_TYPE) | 6 Month Election of the type of Operational Cost used for maintaining operation at Minimum Load: If Proxy Cost: The Operating Cost of a generating resource is calculated using the Heat Rate data in the Master File and daily gas price. (PRXC) If Registered Cost: The Operating Cost is determined from Start-up Cost and Minimum Load Cost, or Pump Maximum Shutdown Cost registered in the Master File. (REGC) | If RES_TYPE = GEN or TG than COST_BASIS_TYPE cannot be null, must be filled with one of the following: PRXC - Proxy Cost REGC - Registered Cost |
| MAX_GEN (Maximum Generation Capacity - PMAX) | The Net Dependable Capacity (NDC or PMAX) a Generator Resource can produce on a sustained basis as measured at or compensated to the Generating Unit's defined point of delivery. | Cannot be null |
| MIN_LOAD | Currently not being used. |  |
| MIN_GEN (Minimum Generation Capacity – PMIN) | The minimum output level at which a Generator Unit can operate. Note: Depending on schedules and bids submitted in the market, the CAISO may dispatch units in the real-time market between the values of min gen and max gen. Therefore, the CAISO strongly recommends that the min gen level be set at the Minimum Output Level (PMIN) at which a Generator Unit can operate on a sustained basis. | Cannot be null. |
| MIN_ON (Minimum On Time - MIN_ON_TIME) | The minimum amount of time that a Generating Unit must stay on-line after starting up and reaching PMin, prior to being shut down, due to physical operating constraints. | Cannot be null if Fuel Type is equal to GAS |
| MIN_OFF (Minimum Off Time - MIN_OFF_TIME) | The minimum amount of time that a Generating Unit must stay off-line after being shut down, due to physical operating constraints |  |
| MAX_ON (Maximum On Time - MAX_ON_TIME) | The maximum amount of time that a Generating Unit can stay on-line per day, due to environmental or physical operating constraints. | If no constraint, then leave this field blank |
| MAX_STRT (Maximum Startups Per Day - MAX_DAILY_STARTUPS) | The maximum number of times a Generating Unit can be started up within one day, due to environmental or physical operating constraints. | Cannot be null |
| MIN_LOAD_COST (Minimum Load Cost - MIN_LOAD_COST) | The costs a Generating Unit or a Participating Load incurs operating at minimum load. | The value is needed for a resource with the Cost Basis of Registered Cost (fixed value) only. |
| MAX_PUMP (Maximum Pump Capacity - MAX_PUMP_CAP) | The Maximum Operating Level of a Pump or a Pumped-Storage-Hydro Unit operating as a hydro pump | Cannot be null if GEN_TECH_TYPE equals either PTUR or PUMP |
| PUMPING_FACTOR (Pumping Factor - PUMPING_FACTOR) | The efficiency or recovering energy potential in pumping water from the lower to the upper reservoir. | Cannot be null if GEN_TECH_TYPE equals either PTUR or PUMP |
| PUMP_MAX_STRT (Pump Maximum Daily Startups - PUMP_MAX_DAILY_STRT) | The maximum number of times a Pumped Storage Hydro Resource can switch into pumping mode during a Trading Day. | Cannot be null if GEN_TECH_TYPE equals either PTUR or PUMP |
| PUMP_MIN_DWN_TM (Pump Minimum Down Time) | The minimum time that a Pumped Storage Hydro Resource must stay out of pumping mode after switching out of that mode |  |
| PUMP_MIN_UP_TM (Pump Minimum Up Time - PUMP_MIN_UP_TIME) | The minimum time that a Pumped Storage Hydro Resource must stay in pumping mode after switching to that mode. | Cannot be null if GEN_TECH_TYPE equals either PTUR or PUMP |
| MIN_PUMP_CST (Pumping Minimum Cost - PUMPING_MIN_COST) | The minimum cost to start the pump up. | MIN_PUMP_CST cannot be null if GEN_TEC_TYPE = PTUR or PUMP |
| MAX_PUMP_SD_CST (Pump Maximum Shutdown Cost - PUMP_MAX_SHUTDOWN_COST) | The maximum cost it would take to shutdown the pump. | MAX_PUMP_SD_CST cannot be null if GEN_TEC_TYPE = PTUR or PUMP |

B.2.2	Generator Resource Reference Only

This table contains operational data for the Generator resources that the Market Participants can use for their reference only and updates can only be initiated by the CAISO.

| Master File Field Name (RDT Field Name) | Definition |
| --- | --- |
| CERT_SPIN (Certified for AS: Spin - CERT_SPIN) | An identifier of a resource that is certified to provide Spinning Reserve. |
| CERT_NSPIN_DAM (Certified for AS DAM: Non-Spin - CERT_DAM_NON_SPIN) | An identifier of a resource that is certified to provide Non-Spinning Reserve in the DAM. |
| CERT_NSPIN_RTM (Certified for AS RTM: Non-Spin - CERT_RTM_NON_SPIN) | An identifier of a resource that is certified to provide Non-Spinning Reserve in the RTM. To be procured in the RTM, a unit must also have a Startup Code Type of FAST. |
| CERT_REG (Certified for AS: Regulation - CERT_REG) | An identifier of a resource that is certified to provide Regulation Reserve. |
| AGGREGATE_YN (Aggregate? - AGGR_FLAG) | A generator resources that consist of several individual “child” resources |
| ASSP | Designates which AS bids will be considered in the optimization process. |
| CERT_PIRP (Certified PIRP - CERT_PIRP) | Resource is treated as in PIRP program and is certified (is eligible for Settlements treatment as PIRP participant). |
| CERT_RUC (Certified for RUC - CERT_RUC_FLAG) | A resource that can participate in RUC market. Currently all PGA resources can participate in the RUC market. |
| COG (Constrained Output Generator Flag - COG_FLAG) | The output of the generation resources is not variable, ie PMax = PMin. Y: output is constrained. |
| CONT_AVAIL | Contingency Available |
| COST_RANK_LMPM | A method of calculating Default energy Bids based on fuel costs and variable operations and maintenance costs. Rank 1, 2, or 3 |
| DISP | Designates a dispatchable resource |
| FUEL_REGN_TYPE | Description of the regions the resource is located within. |
| LMPM (Market Power Mitigation Participation Flag - MPM_PART_FLAG) | An identifier of a resource that is subject to the market power mitigation process. Defined per tariff. |
| MAX_RR | This is a derived field out of the ramp rate curve which represents the maximum ramp rate for a unit. |
| MOO_QUALIFIED | Y - Resource is Must Offer N - Resource is not Must Offer R - Resource is eligible for Must Offer based on RA Capacity or RCST designation in any given trading hour |
| MSS_LD_FLNG_UP (MSS Load Following Down - MSS_LOAD_FOLLOWING_UP) | Identifier if a resource is load following down |
| MSS_LD_FLNG_DWN (MSS Load Following Up - MSS_LOAD_FOLLOWING_DOWN) | Identifier if a resource is load following up |
| NEGO_RANK_LMPM | A method of calculating Default energy Bids based on a negotiation with the CAISO or the Independent Entity. Rank 1, 2, or 3 |
| PGA_PART (Participating Generator Agreement Flag - PGA_PART_FLAG) | An identifier of the PGA Resources. |
| PRC_RANK_LMPM | A method of calculating Default energy Bids based Locational Marginal Prices. Rank 1, 2, or 3 |
| PRC_SET_DAM | Can set Market Clearing price in Day Ahead market |
| PRC_SET_RTM | Can set Market Clearing price in Real Time market |
| PRIOR_TYPE | Designator of Regulatory Must-Run, Reliability Must Run, and Must Take resources |
| QF (FERC Qualifying Facility Flag - QF_FLAG) | Identifier if a resource is a qualifying cogeneration facility or small qualifying power production facility, as defined in the Code of Federal Regulations, Title 18, Part 292 |
| RR_CAPACITY | The generation capacity of a Resource Adequacy Resource listed on a monthly Resource Adequacy Plan and a monthly Supply Plan. Note that this value changes as the Resource Adequacy capacity varies month to month. |
| RA_FLAG (Resource Adequacy Flag - RA_FLAG) | An identifier of a resource that is under the Resource Adequacy (RA) program. Set if RR_CAPACITY is greater than zero in an RA Plan. |
| REG_UP (Regulation Up Capacity - REG_UP_CAP) | Regulation reserve provided by a resource that can increase its actual operating level in response to a direct electronic signal from the CAISO to maintain standard frequency in accordance with established reliability criteria. |
| REG_DOWN (Regulation Down Capacity - REG_DOWN_CAP) | Regulation reserve provided by a resource that can decrease its actual operating level in response to a direct electronic signal from the CAISO to maintain standard frequency in accordance with established reliability criteria. |
| RSRV_CAP_SPIN (Reserve Capacity: Spin - RESERVE_CAP_SPIN) | The portion of unloaded synchronized generating capacity that is immediately responsive to system frequency and that is capable of being loaded in ten minutes, and that is capable of running for at least two hours. |
| RSRV_CAP_NSPIN (Reserve Capacity: Non-Spin - RESERVE_CAP_NON_SPIN) | The portion of off-line generating capacity that is capable of being synchronized and Ramping to a specified load in ten minutes (or load that is capable of being interrupted in ten minutes) and that is capable of running (or being interrupted) for at least two hours. |
| MOO_FLAG (Must Offer Obligation Flag- MOO_FLAG) | An identifier of a resource that has a must offer obligation, either due to a RA obligation or through other obligation (i.e. future capacity market procurement, RCST, etc.) unless the unit is Use Limited in which case the MOO_FLAG is No. |
| RMR | Designates a resource that has a Reliability Must Run contract |
| STARTUP_CD_TYPE (Startup Code Type - STARTUP_CD_TYPE) | Code used to determine the startup characteristics. FAST: Generating Units that have a Start Up Time less than ten minutes and can provide non-spin. Blank: All other resources. |
| USE_LIMIT (Use Limit - USE_LIMIT) | Identifier if a resource is energy use limited, such as limitation of energy or emission control, etc. |
| RES_STRT_DT_TM | Effective start date of the Resource record. |
| RES_END_DT_TM | Effective end date of the Resource record |

B.2.3	Intertie Resource - May request data change

This table contains data for the Intertie resources where changes to the data can be initiated by the Market Participants.

| Master File Field Name (RDT Field Name) | Definition | Parameter and/or Enumeration |
| --- | --- | --- |
| RES_ID (Resource ID) | The ISO resource identifier used for tracking each resource for market scheduling. | Cannot be updated.. |
| MIN_HR_BLK_LIM (Minimum Hourly Block Limit (1-24 hours)) | Represents the maximum number of consecutive Trading Hours that an Intertie resource can be bid in, if a Minimum Hourly Block is specified in the Bid. | Cannot be null |

B.2.4	Intertie Resource Reference Only

This table contains data for the Intertie resources that the Market Participants can use for their reference only and updates can only be initiated by the CAISO.

| Master File Field Name (RDT Field Name) | Definition |
| --- | --- |
| CERT_SPIN | Not used fro Intertie Resources |
| CERT_NSPIN_DAM | Not used fro Intertie Resources |
| CERT_NSPIN_RTM | Not used fro Intertie Resources |
| RSRV_CAP_SPIN | Not used for Intertie Resources |
| RSRV_CAP_NSPIN | Not used for Intertie Resources |
| CERT_RUC (Certified for RUC) | Y - A resource that can participate in RUC market ie a resource with RA capacity. N – A resource that cannot participate in RUC market |
| MOO_QUALIFIED (Must Offer Obligation Qualified) | Y - Resource is Must Offer N - Resource is not Must Offer R - Resource is eligible for Must Offer based on RA Capacity or RCST designation in any given trading hour |
| RR_CAPACITY | Reliability Requirement Capacity |
| RA_FLAG | Resource Adequacy Flag |
| MOO_FLAG | Must Offer Obligation Flag |
| WHEEL_REFERENCE_NUMBER (Wheel Reference ID) | Represents the wheeling counter resource that can be used in the Wheeling Bid Component of an Intertie resource bid. This ID is created in Master File and corresponds to the import wheel resource ID |
| RES_STRT_DT_TM | Effective start date of the Resource record. |
| RES_END_DT_TM | Effective end date of the Resource record |

B.2.5	Operational Ramp Rate Curve

This table contains the data on the maximum ramp rate of the Generator between worst and best operating conditions between segments.

| Master File Field Name (RDT Field Name) | Definition | Parameter and/or Enermuration |
| --- | --- | --- |
| SEG_TYPE (Segment Type) |  | RAMP for the Ramp Rate Type |
| RES_ID (Resource ID) | Unique Resource Identifier used for scheduling and billing. | Cannot be updated. |
| SEG_NUM (Segment Number) | Point numbers between the PMin and PMax of the Generating Unit output. | The point numbering starts at 1. Up to 5 points allowed. |
| RAMP_MW_OUTPUT (Operating Level) | Operating Reserve Ramp Rate (MW/min), per Generating Resource. | First point of first segment must = MIN_GEN (PMIN) Last point of last segment must = MAX_GEN (PMAX) |
| RAMP_MIN_RATE (Worst Operational Ramp Rate) | The maximum ramp rate under the worst operating condition of the Generating Unit between point (i) and the point (i+1). The minimum ramp rate of the last point should = the previous one. | This requires providing the minumum ramp rate of the first point (1) at PMin and last point (n) at PMax. |
| RAMP_MAX_RATE (Best Operational Ramp Rate) | The maximum ramp rate under the worst operating condition of the Generating Unit between point (i) and the point (i+1). The minimum ramp rate of the last point should = the previous one. | This requires providing the minumum ramp rate of the first point (1) at PMin and last point (n) at PMax. |

B.2.6	Heat Rate Curve

This table contains data on the average Heat Rate, Emission Rate or Average Fuel Cost between segments.

| Master File Field Name (RDT Field Name) | Definition | Parameter and/or Enermuration |
| --- | --- | --- |
| SEG_TYPE (Segment Type) |  | HEAT for the Heat Rate type |
| RES_ID (Resource ID) | Unique Resource Identifier used for scheduling and billing. | Cannot be updated. |
| SEG_NUM (Segment Number) | Point numbers between the PMin and PMax of the Generating Unit output. The number of segments is selected to accurately reflect the Heat Rate characteristics of the resource. | The point starts at 1. Up to 11 points are allowed. Note: The Heat Rate, Emission Rate, and Average Cost segments cannot lie within a Forbidden Region. Must provide either Heat Rate data if gas fired, or Average Cost data if non-gas fired. |
| HEAT_MW_OUTPUT (Heat Rate Operating Level) | The Resource MW output pertaining to the relevant point. | The first point (1) of MW output must start at the Generating Unit's PMIN. The last point (n) of MW output must end at the Generating Unit's PMAX. Intermediate MW points cannot lie within a Forbidden Region. |
| HEAT_HEAT_RATE (Heat Rate) | For gas-fired units only, the average heat rate of the Generating Unit on point (i). If value at point (i) is not available, linear interpolation can be used to approximate the value. Heat rate must be provided at the first point (1) (PMin) and the last point (n) (PMax). If not a gas-fired unit, leave blank and instead complete the Average Heat Cost field. | If Gas-Fired unit cannot be null. |
| HEAT_EMISSION_RATE (Heat Emission Rate) | The emission rate of the Generating Unit on point (i). If value at point (i) is not available, linear interpolation can be used to approximate the value. | Emission rate must be provided at the first point (1) (PMin) and the last point (n) (PMax), Gas-Fired unit cannot be null. |
| HEAT_AVG_COST (Average Cost) | Use this value for non-gas fired units instead of Heat Rate. The average cost of the Generating Unit on point (i) in $/hr. If value at point (i) is not available, linear interpolation can be used to approximate the value. | Average cost must be provided at the first point (1) (PMin) and the last point (n) (Pmax). If gas-fired, make sure to enter a value in Heat Rate and leave this field blank. |

B.2.7	Start-Up Curve

This table contains data on the Start-Up Time, Start-Up Fuel Cost, Start-Up Fuel Usage, and Start-Up Energy between Down Times.

| Master File Field Name (RDT Field Name) | Definition | Parameter and/or Enermuration |
| --- | --- | --- |
| SEG_TYPE (Segment Type) |  | STRT for the Startup Type |
| RES_ID (Resource ID) | Unique Resource Identifier used for scheduling and billing. | Cannot be updated. |
| SEG_NUM (Segment Number) | The segment numbers corresponding to cooling time of the unit. | The segment starts at 1. Normally, there are 3 segments (hot, warm and cold). Up to 9 segments are allowed. |
| STRT_DOWN_TIME (Registered Cooling Time) | The amount of time the Generating Unit must be off (in minutes) within sequence (i). The first down time must be zero to account for a unit which has just shut down. | Cannot be null if RES_TYPE equals GEN or TG DOWN_TIME associated with the 1st Point must = 0. |
| STRT_STARTUP_TIME (Startup Time) | Startup Time is the time (in minutes) it takes a resource to achieve PMin from an off-line position given the corresponding Down Time (Registered Cooling Time). The startup time of the Generating Unit (in minutes) from the cooling time (i) to cooling time (i + 1). The last segment represents the startup time (in minutes) from cooling time (n) to infinity. | Cannot be null if RES_TYPE equal GEN or TG |
| STRT_STARTUP_COST (Startup Cost) | The startup cost of non-natural gas fired Generating Units (in dollars) from the cooling time (i) to cooling time (i + 1). The last segment represents the startup cost (in dollars) from cooling time (n) to infinity. | Values must be monotonically increasing. Required if Resource is non-Natural Gas-Fired. |
| STRT_STARTUP_AUX (Start-Up Aux) | The electrical power used by a Generating Unit during startup. The Generating Unit's startup auxiliary power (in MWh) from the down time (i) to down time (i + 1). The last sequence is the startup auxiliary power (in MWh) from current sequence to infinite. | Values must be monotonically increasing. Cannot be null if Fuel_type is GAS |
| STRT_STARTUP_FUEL (Start-Up Fuel) | The fuel use (in mBTU per start) expected for the startup of a natural gas fired Generating Unit that has been off-line for a substantial period of time. The startup fuel of the Generating Unit (in mBTU) from the down time (i) to down time (i + 1). The last sequence is the startup fuel (in mBTU) from current sequence to infinite. | Values must be monotonically increasing. |

B.2.8	Forbidden Range Curve

This table contains data on the Lower and Upper MWs of each Forbidden Region, which a Generator cannot safely operate.

| Master File Field Name (RDT Field Name) | Definition | Parameter and/or Enermuration |
| --- | --- | --- |
| SEG_TYPE (Segment Type) |  | FBRD for Forbidden Region Type |
| RES_ID (Resource ID) | Unique Resource Identifier used for scheduling and billing. | Cannot be updated. |
| SEG_NUM (Segment Number) | This number represents a given forbidden region. | Segment number 1 should be the forbidden region at the lowest level in the operating range. Segment numbers should correspond to sequential regions along the operating range, ending with segment (n) at the highest operating level. Up to four (4) segments are allowed. |
| FRBD_LOW_MW_OUTPUT (Lower MW of Forbidden Region) | The lower MW output of the forbidden range of the current segment. The forbidden region should be inside of segment (i); meaning a forbidden region cannot cross two segments and the segment cannot be overlapped. Note: forbidden regions cannot include nor overlap regulation ranges or heat segments. | FRBD_LOW_MW_OUTPUT must be greater than or equal to MIN_GEN (PMIN) plus 0.1MW. |
| FRBD_HIGH_MW_OUTPUT (Upper MW of Forbidden Region) | The upper MW output of the forbidden region of the current segment. The forbidden region should be inside of segment (i); meaning a forbidden region cannot cross two segments and the segment cannot be overlapped. Note: Forbidden regions cannot include nor overlap regulation ranges or heat segments. | FRBD_HIGH_MW_OUTPUT must be less than or equal to MAX_GEN(PMAX) minus 0.1MW. |
| FRBD_CROSSING_TIME (Forbidden Region Crossing Time) | The amount of time for a Generator to ramp through it's Forbidden Region. | If FRBD_LOW_MW_OUTPUT is not null FRBD_CROSSING_TIME must be greater than 0 |

B.2.9	Regulation Range Curve

This table contains the data on the regulation range of the Generator.

| MFRD Field | Definition | Business Rule |
| --- | --- | --- |
|  |  | SEG_TYPE = REG |
| RES_ID | Unique Resource Identifier used for scheduling and billing. | Cannot be updated. |
| SEG_NUM | Point numbers between the PMin and PMax of the Generating Unit output. | Up to 2 segment ranges allowed. |
| REG_LOW_MW_OUTPUT | The Lower MW output of the current Regulation Range segment. | REG_LOW_MW_OUTPUT must be >= MIN_LOAD and MIN_GEN |
| REG_HIGH_MW_OUTPUT | The Higher MW output of the current Regulation Range segment. | REG_HIGH_MW_OUTPUT must be > REG_LOW_MW_OUTPUT and <= MAX_GEN |

B.2.10	Regulation Ramp Rate Curve

This table contains the data on the maximum ramp rate of the Generator for being used for regulation between worst and best operating conditions between segments.

| Master File Field Name (RDT Field Name) | Definition | Parameter and/or Enermuration |
| --- | --- | --- |
| SEG_TYPE (Segment Type) |  | RREG for Regulation Range Ramp Rate Type. |
| RES_ID (Resource ID) | Unique Resource Identifier used for scheduling and billing. | Cannot be updated. |
| SEG_NUM (Segment Number) | Number of the ramp rate of regulation. The ramp rate for each segment corresponds to the Regulation Range Segment Number. | Up to 2 segment ranges allowed. |
| RREG_MIN_RATE (Worst Regulation Ramp Rate) | The maximum Regulation Ramp Rate for the segment under the worst condition. |  |
| RREG_MAX_RATE (Best Regulation Ramp Rate) | The maximum Regulation Ramp Rate for the segment under the best condition. |  |

B.2.11	Operating Reserve Ramp Rate Curve

This table contains the data on the maximum ramp rate of the Generator certified for spin and non-spin between worst and best operating conditions between segments.

| MFRD Field Name (RDT Field Name) | Definition | Parameter and/or Enermuration |
| --- | --- | --- |
| SEG_TYPE (Segment Type) |  | ROPR for Operating Reserve Ramp Rate Type. |
| RES_ID (Resource ID) | Unique Resource Identifier used for scheduling and billing. | Cannot be updated. |
| SEG_NUM (Segment Number) | Point numbers between the PMin and PMax of the Generating Unit output. | One ramp rate range covers procurement of both Spinning and Non-Spinning reserve. |
| ROPR_MIN_RATE (Worst Operating Res Ramp Rate) | The maximum Regulation Ramp Rate under the worst condition | If Unit has the any of the Certified for AS flags set to Y than field must be greater than 0. |
| ROPR_MAX_RATE (Best Operating Res Ramp Rate) | The maximum Regulation Ramp Rate under the best condition. | If Unit has the any of the Certified for AS flags set to Y than field . must not be null. |

Attachment C

GAS PRICE INDEX CALCULATION RULES

# C	Gas Price Index Calculation Rules

## C.1	Background

The Gas Price Index (GPI) is the index that is used in the calculation of the Default Energy Bids, as well as the generated bids for Startup Costs, and Minimum Load Costs. The GPI has a number of key components, including principally the gas price indices themselves and the intra-state gas transport costs. Gas Price Indexes consist of a single price ($/mmBTU) for each GPI Region, of which there are three for each of the main LSEs. Each Resource is associated with the GPI Region in which it resides, or to which it is geographically closest.

## C.2	Gas Transport Cost

The proxy gas transport costs are based on the cost of gas transport in the respective service territories of the main LSEs. It is calculated in the following manner:

- Units served by SDG&E: The Southern California Gas Company intrastate transportation rate (currently GT-SD) plus the volumetric component of the SDG&E gas transportation rate for electric generation service, including the ITCS (currently GTUEG – SD), or any successor rate for electric generation service applicable to deliveries to the Facility, divided by one minus the applicable in-kind shrinkage allowance, if any.

- Units served by Southern California Gas: The Southern California Gas Company intrastate transportation rate for firm electric generation service, including the ITCS (GT-F) plus the G-ITC Wheeler Ridge Interconnection Access fee, if applicable, or any successor rate for firm electric generation service applicable to deliveries to the Facility, divided by one minus the applicable in-kind shrinkage allowance, if any.

- Units served by PG&E:  The PG&E intrastate transportation charge stated in Rate Schedule G-EG, or any successor rate for electric generation service applicable to deliveries to the Facility, divided by one minus the applicable in-kind shrinkage allowance, if any.

## C.3	Gas Prices

The industry sources for gas prices have been identified as:

- Natural Gas Intelligence

- Btu Daily Gas Wire

- Platt’s Gas Daily

- Intercontinental Exchange (ICE).

A key input in deciding how the GPI should be calculated is the timing and availability of the gas prices. The table below summarizes the current timing/availability of gas prices from each of these vendors.  All times are in PST on the day before the gas flow date except as noted for NGI.

| Source | Earliest Time Available (PST) | Latest Time Available (PST) |
| --- | --- | --- |
| ICE | 9:30 AM | 10:00 AM |
| EMI/BTU Daily | 10:00 AM | 14:00 AM |
| NGI | 22:00 PM | 2:00 AM (flow date) |
| Platt's | 17:00 PM | 19:00 PM |

Based on the availability and timing of data from vendors and the need to ensure accuracy, reliability and consistency the following principles were established:

The GPI should be a one-day index, not a multi-day index. This allows for a more accurate index.

- At no stage will the number of gas prices used fall below two. Should less than two current gas prices be available a previous gas price from a previous day will be used so that at all times more than one gas price is used to calculate the Gas Price Index.

- The GPI will be different between DA and RT to allow for a more accurate gas price.

## C.4	Day-Ahead Timeline

For the Day-Ahead, the GPI will be updated between the hours of 12:00 AM and 3:00 AM PST.  Based on this schedule the default bids used in the DA for Market Date t will normally include data from ICE, EMI, and Platt’s for Gas Flow Date t-1.   That is, the electrical DA market that trades on Tuesday for Wednesday will be indexed to the DA gas market for flow-date Tuesday that traded on Monday.  Put differently, very early on Tuesday morning the independent entity will gather the relevant gas prices from Monday’s trading to form the GPI, which is then used for Tuesday’s DAM. Generally the DAM DEBs will be formulated using gas prices that are one day old, with the exception of those days that are affected by the lack of weekend gas trading. Normally the data from NGI will not be finalized in time to be included in the GPI, except over the weekends.  The expected updates to the GPI for the day-ahead electric market are summarized in the Table below.

Expected Day Ahead Market Update Timing and Available Gas Prices

| Electric Market Day of Week | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Gas Trading Day of Week | Previous Friday | Previous Friday | Monday | Tuesday | Wednesday | Thursday | Friday |
| Gas Flow Day of Week | Weekend/ Monday | Monday | Tuesday | Wednesday | Thursday | Friday | Weekend/ Monday |
| Number of Indices Available for GPI | 4 | 4 | 3 | 3 | 3 | 3 | 3 |

## C.5	Real-Time Time Line

For the Real-Time, the GPI will be updated between the hours of 19:00 and 22:00.  Based on this schedule, the DEBs for the RT Market Date t will normally include data from the same 3 sources (ICE, EMI, and Platt’s) for Gas Flow Date t.  That is, the real-time market beginning Tuesday will be indexed to the gas market for Tuesday that traded on Monday. Put differently, the DEBs for the RT market on Tuesday will use Monday’s DA Gas prices, so they will as accurate as is feasible. The expected updates to the GPI for the real-time electric market are summarized in the Table below.

Expected Real-Time Market Update Timing and Available Gas Prices

| Electric Market Day of Week | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Gas Trading Day of Week | Previous Friday | Monday | Tuesday | Wednesday | Thursday | Friday | Friday |
| Gas Flow Day of Week | Weekend/ Monday | Tuesday | Wednesday | Thursday | Friday | Weekend/ Monday | Weekend/ Monday |
| Number of Indices Available for GPI | 4 | 3 | 3 | 3 | 3 | 3 | 4 |

The overall policy for the formulation of the GPI is that it be as accurate as possible within certain agreed upon constraints, such as the need for more than one price to calculate the GPI.

Attachment D

CALCULATION OF DEFAULT ENERGY BIDS

# D.	Calculation of Default Energy Bids

The overall intent of the Default Energy Bid mitigation system is to mirror competitive outcomes in those situations where participants might have market power.  CAISO believes that under competitive outcomes generators would be paid at least their variable costs.  Consequently the Default Energy Bid (DEB) is designed to approximate that cost. Additionally, pursuant to CAISO Tariff 39.7.1.6 the method for calculating RMR Unit Default Energy Bids is also discussed.   The RMR DEBs are calculated similarly to non-RMR Units but utilize costs specified to their RMR Contracts.

An SC may modify the ranking of the three options for calculating the DEB up to two times during any 365-day period.  If an SC would like to modify the ranking of options for calculating the DEB more than two times during any 365-day period, additional changes must be approved by the CAISO or Independent Entity responsible for determining DEBs under the Negotiated Option.

This appendix is concerned solely with the calculation of the Default Energy Bid (DEB) which forms part of the broader Market Power Mitigation (MPM). The DEB is only used for Market Power Mitigation in the incremental direction. There is no decremental mitigation as infeasible schedules will not be accepted in the Day-Ahead Market. In all four variations of the Default Energy Bid (DEB) will be calculated, namely Day-Ahead and Real-Time DEBs for both peak and off-peak separately. There is no hourly variation except in the transition hours between Off-Peak and Peak and vice versa.

## D.1	Day-Ahead

CAISO has undertaken to implement a Locational Marginal Price (LMP) based market design with an Integrated Forward Market (IFM) by April 1, 2009.  There are two elements of the Market Power Mitigation (MPM) system design which pertain directly to the Default Energy Bid (DEB).  Before the Day-Ahead Market (DAM) runs, CAISO carries out two pre-IFM runs, referred to as the CCR (Competitive Constraints Run) and the ACR (All Constraints Run).  In the CCR only the competitive constraints are enforced based on Forecast Demand.  The dispatch levels from this CCR then form a baseline for subsequent runs.  In the ACR, all constraints are enforced and non-RMR units that are incremented between these two runs are mitigated to the higher of their DEB or the highest priced Bid segment dispatched in the CCR pass.  The purpose of the DEB is to mimic the variable cost of the generating units, so that in the IFM generators are dispatched based on their variable costs rather than their submitted Bids.  Hence, the purpose of the DEB is to allow incremental dispatch based on variable cost.  Once the ACR is complete, DAM LMPs are set for the dispatched capacity when the DAM runs.

## D.2	Real-Time

In real-time generators enter the simplified Real Time Market Process (RTM) with their DAM schedules subject to a bidding rule that they may not submit an Energy Bid component at a lower Bid price than their highest accepted DA Energy Bid.  Again mitigation only occurs in the incremental direction.  Decremental dispatches are based on submitted bids that conform to the bidding rule.  CAISO carries out the same process as in the DAM.  Mitigation of bids remains at the hourly level although LMPs are dispatched at the 5 minute level, settlement at the 10 minute level, and unit commitment and Ancillary Service procurement at the 15 minute level.

## D.3	Characteristics of the Default Energy Bid (DEB)

A Default Energy Bid is a monotonically increasing staircase function consisting of a maximum of 10 economic bid segments, or 10 ($/MW, MW) pairs and an End MW value. Each Default Energy Bid is identified by the DEB ID; it is also identifiable by the Resource ID, the Market in which it is applicable, the period of the day in terms of On Peak and Off Peak when it is applicable, and the time it is updated.

In addition to the DEB_ID there is also a Segment Number that indicates the sequence of segments. A segment of a Default Energy Bid is represented by the Start MW and the Price in terms of $/MWh. Each segment of the Default Energy Bid is associated with a field that indicates which methodology has been used to determine the segment. A DEB may be calculated using more than one methodology as explained below.

Separate DEBs are calculated for the DAM and the RTM, as well as for peak and off-peak hours. The Default Energy Bid is eligible to set the LMP at its location. LMPs set by mitigated bids will not be revisited and reset due to the presence of an updated gas index.

There are three methodology options for calculating DEBs:

- LMP Option: A weighted average LMP based on the lowest quartile of validated and/or corrected LMPs set at the Generating Unit location during Trading Hours in the last 90 days when the Unit was dispatched. Generating Units must pass a competitiveness screen to qualify for this option in which 50% of their MWh dispatches over the prior 90-days must have been dispatched competitively.

- Negotiated Rate Option: An amount negotiated with the Independent Entity. . If a Resource has ranked the Negotiated Rate Option as the first choice, the complete curve of the latest Negotiated Rate Option will be selected.

- Variable Cost Option: This option is based on the variable cost of the unit and includes a 10% adder for non-RMR capacity. Furthermore this option is supplemented by the Frequently Mitigated Unit (FMR) adder whereby certain units that are often mitigated qualify for a contribution towards their going-forward fixed costs. If a Resource has ranked the Variable Cost Option as the first choice, the complete curve (i.e., including all segments) of the Variable Cost Option will be calculated and selected.

Each Resource (through their SC) will rank the three alternatives for Default Energy Bid calculation according to their order of preference for each resource. There will be a single ranking for all hours of all days.

The details of the three alternatives are described below.

### D.4	LMP Option

If a Generating Unit chooses the LMP-Option as the first choice, they must have either a negotiated curve or cost-based curve as second choice, as the generator may not be eligible for the LMP option, or if eligible, the option may not be feasible due to not enough data available.  If a Resource has ranked the LMP Option as the first choice, the LMP Option calculation method will be used to construct the DEB to cover as much capacity as possible to the extent that the LMP Option method is feasible. The DEB for the remaining capacity will be constructed using either the Negotiated Rate Option the Variable Cost Option according to the Resource’s preference. Moreover, the segments that are not based on LMP are linked to the segments of Negotiated Rate Option or the Variable Cost Option depending on which one is used.

The LMP-Based DEB is only calculated if it is the first choice of the Resource. Since the methodology for calculating the LMP-Based DEB needs predefined segments and one of the other two methods as the fall back, the calculation will start with the second choice of the Resource, which could be either the Variable Cost Option or the Negotiated Rate Option. By doing so the resource’s predefined segments are stipulated, namely;

- The first MW point is the Minimum Load

- The last MW point is the Maximum Capacity

- Each forbidden region is represented by a separate bid segment.

- The LMP-Based calculation will be used to modify the bid price for each segment that passes the Feasibility Test, which tests the availability of data for calculating the weighted average of the LMPs for the bid in each segment.

In the event that a resource fails the Feasibility Test, the second choice will be substituted for that particular segment. Finally, adjustments are made to ensure that the staircase bid curve is monotonically increasing.

#### D.4.1	Feasibility Test

The LMP-Based DEB will not apply during the first 100 days after the new market power mitigation under MRTU is in operation. After the first 100 days, the following feasibility test applies to each bid segment. A bid segment will pass the Feasibility Test only if there are a threshold number of data points to allow for the calculation of an LMP-Based DEB   This threshold number will set at a level that is designed to avoid excessive volatility of the LMP DEB that could result when the LMP is calculated based on a relatively small number of prices. The initial threshold condition in the DA is set to twenty-nine (29 – approximately 2%) on Peak, and fifteen (15 – approximately 2%) on Off-Peak, out of a total of 1440 possible peak values and 720 possible Off-Peak values. For Real-Time the thresholds are slightly lower around 1%. For Peak Real-Time the threshold is set at one hundred and seventy-three (173) and for Off-Peak the initial threshold is set at Eighty-seven data points (87), out of a total of 17,280 possible peak values and 8,640 possible Off-Peak values.

Thus for example, for a segment to be eligible to be calculated via the LMP methodology for the DA Peak DEB then a dispatch within that segment must have occurred a minimum of 29 times in the last ninety days. The feasibility test is done separately for each market (Day-Ahead and Real-Time) and for each type of period (Peak and Off-Peak).

#### D.4.2 	DEB Price Calculation

If a resource has passed the Eligibility Test and a DEB segment has passed the Feasibility Test, the DEB price for a segment is calculated to be the weighted average of the GPI-normalized LMPs that are in the lowest quartile of the set of GPI-normalized validated or corrected LMPs whose corresponding schedules/dispatches fall in the segment.

### Monotonicity Adjustment

#### Right-To-Left Adjustment

The LMP-Based DEB must be monotonically increasing. The Right-To-Left Adjustment only applies to the LMP-Based DEB segments, i.e., not including the Cost-Based or Negotiated DEB segments that have been substituted into the LMP-Based DEB curve. The Right-To-Left Adjustment will start from the right most LMP-Based DEB segment and ensure that the price of each valid LMP-based segment to the left is not greater than the price of the previous valid LMP-based segment to the right. Any segment that fails this test shall have its value reduced to the price of the next valid LMP-based segment to the right.

#### Left-To-Right Adjustment

The Left-To-Right Adjustment applies to all the DEB segments, i.e., including the LMP-Based DEB, and the Cost-Based DEB segments or Negotiated DEB segments. The Left-To-Right Adjustment will start from the left-most DEB segment to ensure that price of a segment on the right is greater than the price of the segment on the left. The segment on the right that is not greater than the price of the segment on the left shall be merged to the price of the segment immediately on the left.

### D.5	Variable Cost Option

The Cost-Based DEB will be calculated based on the Incremental Heat Rate curve (for gas fueled units) multiplied by the Gas Price Index or Incremental Cost Rate curve (for non-gas fueled units), plus an Operations and Maintenance adder on file. This figure will then be multiplied by a configurable scalar (e.g., 110%), plus the DEB Adder if applicable, to produce the Cost-Based DEB.

RMR Units default to the Variable Cost Option and do not receive either the scalar or the DEB Adder.  They do receive the RMR Contract specified values of ISO Annual Charge Adjustment (ACA) Charge and the ISO Scheduling Coordinator Administration Charge as specified in their RMR Contract Schedule C.  Average Heat Rates are determined from the FERC Filed Schedule C for either gas and distillate fueled units and entered into the Masterfile RMR Heat Rate field.  Fuel price, both gas and distillate are provided by the independent entity.  The Cost-Based DEB is then calculated using the Incremental Heat Rate curve multiplied by the fuel price.

The value used for the Gas Price Index (GPI) is described in Attachment C.

#### D.5.1 	Average Heat Rate Curve

Generator units are required to submit to CAISO the Average Heat Rates (Btu/kWh) measured for at least 2 and up to 11 generating operating points (MW), where the first and last operating points refer to the minimum and maximum operating levels, respectively. The average heat rate curve formed by the (Btu/kWh, MW) pairs is a piece-wise linear between operating points. An Average Cost Curve is used in place of the Heat Rate Curve for a non-gas fueled unit. Heat Rate Curves or Average Cost Curves are stored, updated and validated in the Master file. For RMR Units, the Average Heat Rate Curve is determined from FERC filed RMR Schedule C data.

#### D.5.2 Incremental Heat Rate Curve

DEBs under the Variable Cost Option are calculated to reflect the incremental heat rates that reflect the marginal requirement of heat input (Btu/h) for providing an extra 1 MW output at a given operating point. The incremental heat rates (Btu/kWh) are calculated from the average heat rates. The resulting incremental heat rate segments are a step function due to use of piece-wise linear average heat rate curve.  Two average heat rate pairs yield one incremental heat rate segment that spans across two operating points. The first step is to covert the average heat rate to requirement of heat input (Btu/h) for each operating point by multiplying the average heat rate with the MW of the operating level. The actual incremental heat rate is then derived as dividing the change of requirement of heat input from one operating point to the next by the change of MW between two consecutive operating points. The specific formula for calculating incremental heat rates calculated from average rates is provided below.

IHRSnini= AvgHRn+1∗MWn+1−AvgHRn∗MWnMWn+1−MWn

Where:

IHRSnini is the initial incremental heat rate for segment Sn between two consecutive generator MW output operating points (n−1) and (n).

AvgHRn, AvgHRn−1are the average heat rates measured at the operating points (n) and (n−1), respectively.

MWn, MWn−1 are the generator MW output levels at the operating points n(higher level) and n−1(lower), respectively.

#### D.5.3 Adjustment of Incremental Heat Rate

Initial incremental heat rates calculated using the equations in Section D.4.1.2 will be adjusted as described in this section in order to reduce cases where – due to Left-To-Right adjustments made to ensure that DEBs are monotonically non-decreasing — DEBs under the Variable Cost Option would significantly exceed a unit’s actual incremental costs for a significant portion of the unit’s capacity.   This adjustment is applied only to incremental heat rate segments that correspond to operating ranges below 80% of the units’ maximum operating capacity (PMax).

Specifically, initial incremental heat rates calculated using the equations in Section D.4.1.2 will be adjusted if necessary so that the resulting incremental heat rates (Btu/kWh) do not exceed the maximum of the average heat rates corresponding to the upper and lower operating points of each incremental heat rate segment.   The formula used to make this adjustment is provided below.

CapSn= max(AvgHRn,AvgHRn+1)

IHRSnadjusted= min(IHRSnini,CapSn)

Where:

CapSnis the maximum limit for segment Sn ;

IHRSnadjustedis the adjusted incremental heat for segment Sn .

Examples of this adjustment are provided in Attachment J.

#### D.5.4	Operations and Maintenance Adder

The Operation and Maintenance cost adder is an amount in terms of $/MW. The exact amount is dependent on resource type. The default value for the O&M adder is $2/MW for all types of resources except Combustion Turbines and Reciprocating Engines, for which it is $4/MW, regardless of fuel type.  RMR Units use the FERC Filed RMR Variable O&M cost.

#### Scalar

The configurable scalar is set to be 110% by default. RMR units do not receive the scalar.

#### FMU Bid Adder

DEB Adders only apply to the Cost-Based DEB and do not apply to LMP-Based DEB or Negotiated DEB. In general, the DEB Adder (DEBA) is resource specific; i.e., each resource can have a unique DEBA. The CAISO will establish a baseline $/MWh value of DEBA for all eligible resources except those that have negotiated special DEBA values with the CAISO.

#### Eligibility for DEB Adder

A resource is eligible to have a DEB Adder included in its Cost-Based DEB prices for every segment if and only if the resource is a Frequently Mitigated Resource (FMR). The determination of FMR is established on a monthly basis. The determination of FMR for each month is based on data for the 12-month period ending on the 15th day of the prior month. For example, the determination of FMR for June of 2008 will be evaluated based on data for the period between May 16, 2007 and May 15, 2008.

A resource is designated as an FMR if the resource is mitigated in over 80% of its run hours over the rolling 12-month period.  An hour is considered a mitigated hour if the unit had been scheduled in a mitigated segment in the hour in DA, or the unit had been dispatched in a mitigated segment in RT in at least one of the 5-min intervals of the hour.

The FMR determination will be done outside this system, initially by the Department of Market Monitoring, and the results will be uploaded into the system.

#### D.5.5	 Summary Example

The following example summarizes how the Cost-Based DEB is calculated for an individual segment of a unit’s heat rate curve.

For a gas-fired Combined Cycle Gas Turbine (CCGT) with a segment with an 8,000 Incremental  Heat Rate, the DEB for that segment would be calculated as follows, given a gas price of $4.50/mmBTu and the proxy gas transport cost were $. 50, making a GPI of $5/ mmBTU.  Presume that this unit is not eligible for the DEBA.

{([HR * GPI] + O&M) * 1.1} + DEBA (if eligible)

{([8 * $5] + $2) * 1.1} + $0

= $46.20

#### Left-To-Right Adjustment

The Left-To-Right Adjustment applies to all Cost-Based DEB segments.  The Left-To-Right Adjustment will start from the left-most DEB segment to ensure that price of a segment on the right is greater than the price of the segment on the left. The segment on the right that is not greater than the price of the segment on the left shall be merged to the price of the segment immediately on the left.

## D.6	Negotiated Rate Option

The third method by which a DEB might be calculated is simply entitled the “Negotiated Rate Option”. Under this option the independent entity would use documentation supplied by the market participant and its discretion to determine the DEB.  Non-RMR Units that are also non-gas fueled i.e. distillate fuel may also use this option instead of providing a cost curve.   The independent entity would supply the distillate price index and the generator would provide the Average Heat Rate.

D. 6.1  Information Needed

In order to establish a Default Energy Bid for a Generating Unit based on the Negotiated Rate Option, the Scheduling Coordinator for the Generating Unit must provide the CAISO’s Market Monitoring Unit or an alternative independent entity selected by the CAISO with the following information:

1. The proposed Default Energy Bid for the Generating Unit to be used under the Negotiated Rate Option.

2. The market and time periods for which the proposed bid would be applicable (DAM and RTM; peak and off-peak hours; start and end dates).

3. A descriptive explanation and justification of the basis or need for the proposed bid, including numerical calculations and supporting documentation including the Generating Unit’s operating costs (e.g. fuel costs, operation and maintenance costs) and opportunity costs.

4. The rank order of the three options for determining the Generating Unit’s Default Energy Bid to be used if the proposed bid is accepted under the Negotiated Rate Option.

5. If applicable, any formulas, methodology or criteria proposed for modifying the bid to be used under the Negotiated Rate Option in response to potential changes in costs, operational or market conditions, or other relevant factors.

6. If applicable, the Scheduling Coordinator may propose two alternative bids: (a) a preferred bid reflecting the Scheduling Coordinator’s preferred bid under the Negotiated Rate Option, and (b) a temporary bid that could be utilized on an expedited basis pending more detailed review, discussion and negotiation concerning the preferred bid for the Generating Unit.

D.6.2  Review of Information Submitted to the CAISO of Independent Entity

After receipt of a request to establish a bid under the Negotiated Rate Option, the CAISO’s Market Monitoring Unit or an alternative independent entity selected by the CAISO will review the information and provide a written response within ten (10) business days.  The CAISO will assess bid levels or formulas proposed by Scheduling Coordinators on the basis of one or more of the following:

- Operating cost data, opportunity cost, and other appropriate input from the Market

Participant;

- The CAISO’s estimated costs of the Electric Facility, taking into account the best data

available to the CAISO;

- An Appropriate average of competitive bids of one or more similar Electric Facilities

Additional information may be requested from the Scheduling Coordinator as necessary to assess the reasonableness of the proposed bid and other potential bid levels. To expedite this process, the Scheduling Coordinator shall make representatives available to explain and discuss the rationale and supporting documentation for the proposed bid with the CAISO and any alternative independent entity selected by the CAISO.  All information provided by a Scheduling Coordinator shall be subject to confidentiality provisions of the CAISO Tariff.

D.6.3  Effective Date of a Default Energy Bid Established by the Negotiated Rate Option

Any DEB submitted by a Scheduling Coordinator in accordance with these provisions shall become effective within three (3) business days after acceptance by the CAISO.

Any DEB proposed in writing by the CAISO to a Scheduling Coordinator shall become effective within three (3) business days after acceptance by the Scheduling Coordinator is received by the CAISO.

Any DEB agreed upon by the CAISO and a Scheduling Coordinator under the Negotiated Rate Option shall be filed at FERC within the first seven (7) days of the next calendar month. The DEB shall remain in effect unless:

1. The DEB is modified by FERC;

2. The DEB is modified by mutual agreement of the CAISO and a Scheduling Coordinator; or

3. The CAISO or Scheduling Coordinator provides written notification that the DEB is no longer acceptable for use under the Negotiated Rate Option.

D.6.4  Applicable DEB Pending Agreement Over Negotiated Rate Option

Pending any agreement between the Scheduling Coordinator and the CAISO with respect to a DEB to be used under the Negotiated Rate Option, the Generating Unit’s Default Energy Bid shall be based on either:

1. The other DEB options provided in 39.7.1 (i.e., Cost-Based Option or LMP-Option); or

2. A temporary DEB established by the CAISO.

The second of these options – a temporary DEB established by the CAISO – would be applicable only in the event that the CAISO determines that market or operational conditions warrant establishing a temporary DEB (or modifying a DEB) pending any agreement or resolution of a DEB proposed by the SC under the Negotiated Rate Option. For example, this option may be necessary in the event of a sudden increase in operating costs or other conditions that may warrant immediate use of a special DEB level to avoid potential disruptions of supply critical for system local reliability. The CAISO may also need to establish a DEB under this option in the event that sufficient data are not available to calculate a DEB under any of the other options for establishing a DEB under the CAISO tariff.

Any modified DEB established by the CAISO would be based on the same criteria the CAISO would use to assess bid levels or formulas proposed by Scheduling Coordinators:

1. Operating cost data, opportunity cost, and other appropriate input from the Market Participant

2. The CAISO’s estimated costs of the Electric Facility, taking into account the best data available to the CAISO

3. An appropriate average of competitive bids of one or more similar Electric Facilities

D.6.5  Dispute Resolution

If a Scheduling Coordinator and the CAISO cannot reach mutual agreement on a bid to be used under the Negotiated Rate Option, the Scheduling Coordinator may file at FERC pursuant to Section 205 of the Federal Power Act for approval of a rate to be used under the Negotiated Rate Option after 60 days from the commencement of initial negotiations on the proposed DEB.  Figure 1 provides a decision tree depicting this process, starting from the point at which a Participant submits a request for approval of DEB under the Negotiated Rate Option through the point at which a DEB is either agreed upon or filed at FERC due to an inability to reach agreement.

## D.7	RMR Units

An RMR unit will have its Bids mitigated to the RMR Proxy Bids which are determined by the independent entity for each  RMR resource using specific RMR contract values  that have been filed with FERC.  RMR contractural capacity is the capacity between a units Minimum Generating Capacity (PMin) and their Maximum Net Dependable Capacity (MNDC).  The value of MNDC may be less than the Maximum Generation Capacity (PMax) of the unit.

The Bids utilized in the MPM-RRD process for RMR Units will be the RMR Proxy Bids for the RMR contractual capacity.  RMR units are not eligible to receive the 10% adder for their RMR contract capacity. For available capacity in excess of the MNDC the Scheduling Coordinator representing the RMR unit must rank order their calculation preference between the same three methodologies, namely LMP Option, Variable Cost Option and Negotiated Rate Option. This preference will then apply to the non-RMR capacity between the MNDC and the PMax of the unit. The independent entity will concatenate these two calculation methodologies (RMR Proxy Bids for the RMR capacity and preference based for the non-RMR capacity), adjust them for monotonocity and submit them to CAISO as a single Bid curve to be used in the MPM-RRD process.

Minimum Load and Startup Cost bid curves for RMR Units also utilize RMR Contract data and are also determined by the independent entity.

Attachment E

BID ADDER CALCULATIONS

# E.	Calculation of Bid Adder

The Local Market Power Mitigation (LMPM) procedures has a provision for the application of a Bid Adder to Generating Units that are frequently mitigated (FMUs).  This Bid Adder is intended to provide additional revenue adequacy for Generating Units that are frequently mitigated to their variable costs (plus a 10% buffer to account for potential inaccuracies in accounting for variable costs) and, in particular, is intended to cover those costs that would be avoidable if Units were not maintained in state of readiness to generate Energy (namely fixed O&M and overhaul costs).

## E.1	Eligibility Criteria for Bid Adder

Each month, CAISO establishes whether a unit is Frequently Mitigated and eligible to have the FMU Bid Adder applied to its Default Energy Bid.  The eligibility is established on a monthly basis according to standard criteria.

A unit is designated as a Frequently Mitigated Unit (FMU) if the following conditions are met:

- Unit is mitigated in over 80% of its run hours over a rolling 12-month period.

- Any hour in which a unit has positive metered output count as a run hour.

- Any hour in which a unit had a mitigated bid segment dispatched count as a mitigated hour.

- Unit does not have a capacity contract with CAISO.

The purpose for establishing a threshold for minimum run hours is to provide revenue adequacy for Generating Units that are unable to recover their avoidable fixed costs due to frequent mitigation while addressing potential situations where a unit may run very infrequently and therefore its inability to recover going forward fixed costs is due to its infrequent operation as opposed to the local market power mitigation.  To the extent that infrequently run units are critical for meeting local reliability needs, their revenue requirements should be addressed through a local RA contract.

CAISO limits application of the Bid Adder to the cost-based DEB option.  If a Generating Unit owner is eligible for a Bid Adder but has elected the LMP based DEB option, they have the “choice” of having a new DEB based on the cost-based option plus the adder or keeping the LMP based option.  This limit preserves the avoidable cost compensation property of the bid adder while removing any “double payment” of avoidable cost.

## E.2	Determination of Eligibility in the First 12-months of MRTU

CAISO uses the following approaches for determining eligibility for FMU I the first 12 months of MRTU.

### E.2.1	MRTU Day One Eligibility

Prior to MRTU implementation, CAISO conducts analysis to determine the percent of run hours each unit is dispatched in the incremental direction through an Out-of-Sequence (OOS) dispatch or through an RMR dispatch.  CAISO provides the resulting percentages to the Scheduling Coordinators.  This is done for informational purposes only and the final calculation to determine if, on Day One, a unit met the 80% mitigation threshold. Performing the final analysis in mid-January provides a two week period to notify the Scheduling Coordinator for the FMU(s) and make any modifications to CAISO market systems to reflect the units that are eligible for a bid adder.

In calculating the mitigation frequency, the methodology only considers OOS and RMR dispatches.  OOS and RMR dispatches are used in the pre-MRTU data because they most closely resemble the mechanism by which dispatches subject to LMPM are identified under MRTU.  Specifically, under the current market design units are dispatched out-of-sequence or for RMR to provide energy to address specific localized transmission issues.  This is similar to the operation performed in Pass 2 of the Pre-IFM under MRTU, where dispatches are adjusted to relieve congestion on non-competitive paths and LMPM is applied to the resulting dispatches.

OOS and RMR dispatches are issued to address local reliability constraints whereas congestion associated with current Inter-zonal Transmission Interfaces is managed through in-merit economic dispatch.  For purposes of administering Local Market Power Mitigation under MRTU, CAISO plans to designate at least today’s Transmission Interfaces as competitive paths and has committed to assessing whether additional transmission paths may be designated as “competitive” for Day-One implementation of MRTU.  To the extent additional competitive paths are identified, any OOS or RMR dispatch associated with those paths are excluded from the transitional FMU analysis.  Units that are denied Must Offer Waivers have those hours counted toward their mitigation frequency to the extent they are also dispatched Out-of-Sequence.

### E.2.2	Eligibility after Day One of MRTU

At the mid-point of the first month of MRTU operation, CAISO calculates each unit’s 12-month rolling average of mitigated run hours using the first two weeks of MRTU operation and the prior 50-weeks of operation under the Phase 1b design.  Similarly, at the mid-point of the second month of MRTU operation, the rolling average is based on the first 6-weeks of MRTU and prior 46 weeks of Phase 1b, et cetera, until the first full 12-months of MRTU operation is completed at which point the rolling average is based entirely on MRTU operation.

### E.2.3	Eligibility for New Units

CAISO implements an exception to the transitional 12-month rolling average for new Generating Units that come on-line.  For new units, the evaluation of eligibility criteria is based on data available since the first date the unit became available to put energy onto the grid.  In this regard, the 200 run hour restriction is pro-rated to the proportion of the 12-month period that the new unit has been online.

## E.3	Calculation of the Default Bid Adder Value

Once CAISO determines that a unit is eligible for the Bid Adder, that Generating Unit’s cost-based Default Energy Bid includes either the default Bid Adder value or a unit-specific Bid Adder value arrived at through consultation.

The default Bid Adder value ($/MWh) is calculated as the ratio of Annual Avoidable Fixed Costs divided by Annual Expected Energy Production.

For CTs, CAISO calculates the Bid Adder value resulting from using the Fixed O&M cost figures for a new CT in California that are reported Appendix D of the California Energy Commission 2003 Final Staff Report titled "Comparative Cost of California Central Station Electricity Generation Technologies".  This report calculates Fixed O&M costs of $20/kW-Yr for a new 100 MW CT that has a capacity factor of 9.4%.  Using these figures, the Annual Fixed O&M Cost is $2,000,000 and the Annual Expected Energy Production is 82,344 MWh.  This results in a default Bid Adder value of $24/MWh.

Note that the proposed Bid Adder value of $24/MWh is for use as a default value and that unit owners have the option to present cost data reflecting their unit specific avoidable costs to CAISO and negotiate a different Bid Adder value for that unit.

## E.4	Units with a Portion of Capacity Contracted under Resource Adequacy

Partially-contracted RA units are treated in the following two ways:

- Units with some portion of their capacity under an RA contract are not prohibited from receiving a Bid Adder (as stated above).

- If a partial-RA unit meets the eligibility criteria to receive a Bid Adder, the Bid Adder (default or negotiated) is pro-rated to reflect the proportion of that unit’s capacity that is not contracted.  For example, an FMU with 75% of its capacity under an RA contract would receive a $6/MWh Bid Adder as the default.

The pro-rated Bid Adder for partial-RA units are applied to the entire cost-based DEB.

Attachment F

Examples of Generated Bid Curves

# F	Example of Variable Cost Option Bid Calculation

Example 1

In this example, a gas combined-cycle generator with average heat rates (Btu/kWh) measured at five operating levels (MW) is used to demonstrate the procedure.

| Operating Point (n) | Operating Level | Average Heat Rate |
| --- | --- | --- |
| 1 | 164 | 7,643 |
| 2 | 298 | 7,485 |
| 3 | 340 | 7,643 |
| 4 | 480 | 7,000 |
| 5 | 590 | 7,485 |

Step1. Calculate Initial Incremental Heat Rate

IHRS1ini= AvgHR2∗MW2−AvgHR1∗MW1MW2−MW1= 7485∗298−7643∗164298−164= 7292 Btu/kWh

IHRS2ini= AvgHR3∗MW3−AvgHR2∗MW2MW3−MW2=7643∗340−7485∗298340−298= 8764 Btu/kWh

IHRS3ini= AvgHR4∗MW4−AvgHR3∗MW3MW4−MW3=7000∗480−7643∗340480−340= 5438 Btu/kWh

IHRS4ini= AvgHR5∗MW5−AvgHR4∗MW4MW5−MW4=7485∗590−7000∗480590−480= 9601 Btu/kWh

Results of these calculations are summarized below.

| Operating Point, n | Operating Level | Average Heat Rate | Segment | Initial Incremental |
| --- | --- | --- | --- | --- |
| 1 | 164 | 7,643 | 1 | 7,292 |
| 2 | 298 | 7,485 | 2 | 8,764 |
| 3 | 340 | 7,643 | 3 | 5,438 |
| 4 | 480 | 7,000 | 4 | 9,601 |
| 5 | 590 | 7,485 |  |  |

Step2. Adjustment of Incremental Heat Rate

First, for each segment, the maximum incremental heat rate for each segment (Cap) is calculated by taking the maximum of the average heat rates for the two operating points used to calculate the incremental heat rate segment.

CapS1= max(AvgHR1,AvgHR2)= max(7643,7485)= 7643 Btu/kWh

CapS2= max(AvgHR2,AvgHR3)= max(7485,7643)= 7643 Btu/kWh

CapS3= max(AvgHR3,AvgHR4)= max(7643,7000)= 7643 Btu/kWh

CapS4= max(AvgHR4,AvgHR5)= max(7000,7485)= 7485 Btu/kWh

Since the Cap is applied only to segments below 80% of Pmax, the Operating Level Percentage of Pmax is computed as follows.

OperatingLevel1%= OperatingLevel1Pmax= 164590= 27.8%

OperatingLevel2%= OperatingLevel2Pmax= 298590= 50.5%

OperatingLevel3%= OperatingLevel3Pmax= 340590= 57.6%

OperatingLevel4%= OperatingLevel4Pmax= 480590= 81.4%

OperatingLevel5%= OperatingLevel5Pmax= 590590= 100%

For each segment representing operating levels below 80% of the unit’s Pmax, the initial incremental heat rate is then adjusted so they do not exceed the Cap calculated for the segment:

IHRS1adjusted= min(IHRS1ini,CapS1)  = min(7292,7643)= 7292 Btu/kWh

IHRS2adjusted= min(IHRS2ini,CapS2)  = min(8764,7643)= 7643 Btu/kWh

IHRS3adjusted= min(IHRS3ini,CapS3)  = min(5438,7643)= 5438 Btu/kWh

IHRS4adjusted= min(IHRS4ini,Cap=81.4%≥80%)

= 9601 Btu/kWh

Results of these calculations are summarized in the table and figure below.

| Operating Point (n) | Operating Level | Average Heat Rate | Segment | Initial Incremental Heat Rate | Cap | Operating Level % of Pmax | Adjusted Incremental Heat Rate |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 164 | 7643 | 1 | 7292 | 7643 | 27.8% | 7292 |
| 2 | 298 | 7485 | 2 | 8764 | 7643 | 50.5% | 7643 |
| 3 | 340 | 7643 | 3 | 5438 | 7643 | 57.6% | 5438 |
| 4 | 480 | 7000 | 4 | 9601 | 7485 | 81.4% | 9601 |
| 5 | 590 | 7485 |  |  |  | 100.0% |  |

Step 3. Calculate Incremental Cost Curve

The adjusted incremental heat rate curve is then combined with gas O&M costs data to calculate the incremental cost curve.  This example assumes that the gas price is $4.50/mmBTu and the proxy gas transport cost is $. 50, making a GPI of $5/ mmBTU.  O&M cost is $2/MWh for a combined-cycle unit as a default.  The  1.1 scalar is applied to reflect the 10% cost adder for non-RMR units.  It is assumed this unit is not eligible for the DEBA.

Step 4. Left-to-Right Adjustment

Finally, the Left-To-Right Adjustment is applied to ensure that price of a segment on the right is greater than the price of the segment on the left.  The segment on the right that is not greater than the price of the segment on the left is merged to the price of the segment immediately on the left.

Results of calculations in Steps 3 and 4 are illustrated in the table and figure below.

| Segment | Operating Range | Adjusted Incremental Heat Rate | Incremental Cost | Incremental Cost After Right-to-Left Adjustment |
| --- | --- | --- | --- | --- |
| 1 | 164-297 | 7292 | $42.30 | $42.30 |
| 2 | 298-339 | 7643 | $44.24 | $44.24 |
| 3 | 340-479 | 5438 | $32.11 | $44.24 |
| 4 | 480-589 | 9601 | $55.01 | $55.01 |

Example 2

In this example, a gas peaker generator with average heat rates (Btu/kWh) measured at ten operating levels (MW) is used to demonstrate the procedure.

Results of heat rates calculations described in Steps 1 and 2 of Example 1 are shown in the table and figure below.

| Operating Point, n | Operating Level (MW) | Average Heat Rate | Segment | Incremental Heat Rate | Cap | Operating Level % of Pmax | Adjusted Incremental Heat Rate |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 25 | 12100 | 1 | 6679 | 12100 | 26.8% | 6679 |
| 2 | 34 | 10700 | 2 | 8033 | 10700 | 36.2% | 8033 |
| 3 | 40 | 10300 | 3 | 9400 | 10300 | 42.6% | 9400 |
| 4 | 45 | 10200 | 4 | 10200 | 10200 | 47.9% | 10200 |
| 5 | 47 | 10200 | 5 | 41867 | 12100 | 50.0% | 12100 |
| 6 | 50 | 12100 | 6 | 6811 | 12100 | 53.2% | 6811 |
| 7 | 68 | 10700 | 7 | 8033 | 10700 | 72.3% | 8033 |
| 8 | 80 | 10300 | 8 | 9400 | 10300 | 85.1% | 9400 |
| 9 | 90 | 10200 | 9 | 10200 | 10200 | 95.7% | 10200 |
| 10 | 94 | 10200 |  |  |  | 100.0% |  |

Results of incremental cost curve calculations described in Steps 3 and 4 of Example 1 are shown in the table and figure below.   This example also assumes that the gas price is $4.50/mmBTu and the proxy gas transport cost is $. 50, making a GPI of $5/ mmBTU.  The default O&M cost of $4/MWh for a combustion turbine unit is used.  The  1.1 scalar is applied to reflect the 10% cost adder for non-RMR units.  It is assumed this unit is not eligible for the DEBA.

| Segment | Operating Range | Adjusted Incremental Heat Rate | Incremental Cost | Incremental Cost After Right-to-Left Adjustment |
| --- | --- | --- | --- | --- |
| 1 | 25-33 | 6679 | $41.13 | $41.13 |
| 2 | 34-39 | 8033 | $48.58 | $48.58 |
| 3 | 40-44 | 9400 | $56.10 | $56.10 |
| 4 | 45-46 | 10200 | $60.50 | $60.50 |
| 5 | 47-49 | 12100 | $70.95 | $70.95 |
| 6 | 50-67 | 6811 | $41.86 | $70.95 |
| 7 | 68-79 | 8033 | $48.58 | $70.95 |
| 8 | 80-89 | 9400 | $56.10 | $70.95 |
| 9 | 90-94 | 10200 | $60.50 | $70.95 |

Attachment G

MAXIMUM START-UP AND MINIMUM LOAD VALUES UNDER REGISTERED COST OPTION

# G	Registered Cost Option

Units selecting the Registered Cost Option in the Master File must also submit values for Start-up and Minimum Load Bids in the Master File, as described in Appendix B.

Before approving Start-up and Minimum Load values submitted under the Registered Cost Option, the Master file Maintenance analyst will review the submission with the validation team.  The approved bids will be limited by the following levels:

- For units within Local Capacity Areas (LCAs), Start-Up and Minimum Load Costs under the Registered Cost Option may not exceed 200 percent of the unit’s projected Start-Up and Minimum Load Costs.

- For units outside of LCAs, Start-Up and Minimum Load Costs under the Registered Cost Option may not exceed 400 percent of the unit’s projected Start-Up and Minimum Load Costs.

If the Start-up or Minimum Load values for a unit submitted by the SC exceed the applicable maximum, then the approved value entered into the MIN_LOAD_COST field of the Master File is set equal to the applicable limit.

The resulting Start-up and Minimum Load values for units selecting the Registered Cost Option may not be modified for a period of six (6) months after becoming effective.  However, the SC may switch to the Proxy Cost Option during this six month period if fuel costs increase such that the unit’s actual Start-up and Minimum Load Costs, as calculated under the Proxy Cost Option, exceed the unit’s registered value under the Registered Cost Option in the Master File.  Unit’s switching from the Registered Cost Option to the Proxy Cost Option during this six month period must remain on the Proxy Cost Option for the remainder of this six month period.

There could be a change of the cost option if there is a change in the SC, (not a change of the SC ID for a registered SC).

G.1 Gas Units

G.1.1 Maximum Start-up Costs

For purposes of determining maximum Start-up costs that may be approved for gas-fired units under the Registered Cost Option, the projected Start-up costs will be calculating by combining the unit’s Startup fuel and electrical energy consumption curves in the Master File and the projected gas price calculated as described in Section G.2.

For purposes of this calculation, the cost of any auxiliary power needed for start-up (as indicated in the STARTUP_ENERGY field in the Master File) will be calculated by using an estimated electricity price equal to the projected gas price multiplied by a factor of 10.  This represents a projected electricity price during unit start-up or cost of auxiliary power provided by the generator based on a unit with a heat rate of 10,000 MBtu/MWh.

An example of this calculation based on a gas price of $8.50/MMBtu is provided in the following table.

Start-Up Cost = (Start-Up Fuel x Gas Price) + (Start-Up Energy x Gas Price x Gas Price Multiplier)

Gas Price = 8.50/MMBtu

Gas Price Multiplier = 10

Example of warm start-up:

Start-Up Cost = (8.50/MMBtu x 1,083 MMBtu) + (20MWh x 8.50 MMBtu x 10)

= (9,205.5) + (1,700)

= 10,905.5

= 10,906 (rounded)

Table G1. Example of Projected Start-up Cost and Maximum Bid Calculation

Gas Price = $8.50/MMBtu

|  | Cooling Time | Start-Up Time | Start-Up Fuel | Start-Up Energy | Start-Up Cost | Maximum Start-Up Bid ($) Within Outside |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | (Minutes) | (Minutes) | (MMBtu) | (MWh) | ($) | LCA | LCA |
| Warm | 0 | 600 | 1,083 | 20 | $10,906 | $21,812 | $43,624 |
| Intermediate | 240 | 1390 | 1,633 | 40 | $15,581 | $31,162 | $62,324 |
| Cold | 480 | 1400 | 2,000 | 60 | $22,100 | $44,200 | $88,400 |

G.1.2 Maximum Minimum Load Costs

For purposes of determining maximum Minimum Load Costs that may be approved for gas-fired units under the Registered Cost Option, the projected Minimum Load costs will be calculating using the unit’s Minimum Load Heat Rate and the projected gas price calculated as described in Section G.2.

If the Minimum Load cost for a unit submitted by the SC exceed the applicable limit (200% of the unit’s projected Minimum Load Costs for units within LCAs, and 400% of the unit’s projected Minimum Load Costs for units outside of LCAs), then the approved value entered into the MIN_LOAD_COST field of the Master File is set equal to the applicable limit.

Projected Minimum Load Cost = (Unit Conversion Factor x Minimum Load Heat Rate x Minimum Operating Level x Gas Price)  + (O&M * Minimum Operating Level)

Projected Minimum Load Cost = (0.001 x 14,000Btu/kWh x 20MW x $8.50/MMBtu)  +  ($4/MWh * 20MW)

Projected Minimum Load Cost = ($2,380)  +  ($80)

Projected Minimum Load Cost = $2,460

Table G2. Example of Projected Minimum Load Bid and Maximum Bid Calculation

Gas Price = $8.50/MMBtu

| Minimum Operating Level (MW) | Heat Rate | O&M Cost | Minimum Load Cost | Maximum Minimum Load Bid ($) Within Outside |  |
| --- | --- | --- | --- | --- | --- |
|  | (MBtu/MWh) | ($/MWh) | ($) | LCA | LCA |
| 20 | 14,000 | 4 | $2,460 | $4,920 | $9,840 |

## G.2	Gas Price Used in Start-up and Minimum Load Cost Caps

After the twenty-first day of each month, the CAISO will calculate a gas price to be used in calculating maximum Start-up and Minimum Load costs that may be registered by gas units under the Registered Cost Option.  The resulting gas price will be posted on the CAISO website by the end of each calendar month. The price will be applicable for any unit submitting or revising a Start-up and Minimum Load value under the Registered Cost Option for the following month until a new gas price is calculated and posted on the CAISO website.  The gas price will be calculated as follows.

First, daily closing prices for monthly NYMEX Natural Gas Futures contracts at Henry Hub for each of the next six monthly contracts are averaged over the first twenty one days of the month.   A separate average is calculated for each of the six monthly contracts, based on the average closing price of the contract over the first twenty-one days. For example, at the end of the month of February, six separate averages would be calculated for the daily closing prices over the first twenty one days of February for monthly NYMEX natural gas contracts at Henry Hub for the contract months of March through August.

Closing prices for only the first twenty-one days of the month are used in order to allow at least one week for the calculations to be completed and posted on the CAISO website by the end of each month.  The purpose of averaging daily closing prices over this twenty-one day period is to avoid unusually high or low values that may result from taking prices on only one day.

Second, the average monthly price for NYMEX futures contracts for basis swaps for the SoCal Border and PG&E Citygate delivery points in California are calculated, using data for the first 21 trade dates in the month.  .

Consistent with the approach used by Potomac Economics to calculate the GPI for daily spot market prices used to calculate DEBs and bids under the Proxy Cost option, the SoCal Border prices are ultimately used for units in the SCE and SDG&E areas, while the PG&E Citygate prices are used for units in the PG&E area.

The next step is to combine the average NYMEX Henry Hub price and the average basis swap price for each of these two delivery points for each of the six months, and then take the maximum of these monthly totals.

Consistent with the approach used by Potomac Economics to calculate the GPI for daily spot market prices, the final step is to add the appropriate intra-state transport price.

For units in the SCE and SDG&E areas, Potomac uses rates from the Southern California Gas Company tariff for Firm Intra-state Transmission Service (GT-F). Potomac currently uses the higher rate of $0.4565 (for customers using less than 3 million therms per year) for units under the SCE1 and SDGE1 classification, and the lower rate of $0.2273 for units under the SCE2 and SDGE2 classification.

For units in the PG&E area, Potomac uses rates from PG&E’s Gas Schedule G-EG for Gas Transportation Service to Electric Generation. The applicable value from this tariff (Sheet 1, 2b) is currently $0.19.

The source of gas rice data used in this calculation will be the Natural Gas Intelligence Daily, or, if necessary, another available source of closing prices for NYMEX Natural Gas Futures contracts for each trade date.

## G.3	Non-Gas Units

For non-gas units, maximum Start-up and Minimum Load values under the Registered Cost Option will be based on Start-up and Minimum Load cost information submitted and validated by the CAISO for each unit under the requirements for the Proxy Cost Option.  Thus:

- For non-gas units within LCAs, Start-Up and Minimum Load Costs under the Registered Cost Option may not exceed 200 percent of the unit’s validated Start-Up and Minimum Load Costs under the Proxy Cost Option.

- For non-gas units outside of LCAs, Start-Up and Minimum Load Costs under the Registered Cost Option may not exceed 400 percent of the unit’s validated Start-Up and Minimum Load Costs under the Proxy Cost Option.

As part of the process of validating Start-Up and Minimum Load Costs submitted under the Proxy cost Option, the CAISO may request additional information from the SC.

The two-hour requirement is specified in CAISO Tariff Section 8.4.3(a), Ancillary Service Capability Standards.

CAISO does not accept bids for the next Trading Day between the time of Market Close at 1000 hours and the publication of the DAM results at 1300 hours.

Dynamic Resource-Specific System Resources are identified generating resources located outside of the CAISO Balancing Authority Area that can be dynamically controlled to maintain the frequency and net Interchange of the CAISO Balancing Authority Area.  These Dynamic Resource Specific System Resources may be certified to supply Regulation Up and Regulation Down to the CAISO.  A Non-Dynamic Resource-Specific System Resource is an identified generating resource located outside of the CAISO Balancing Authority Area that cannot be dynamically controlled.  Dynamic and Non-Dynamic System Resources are System Resources which are not tied to specific generating resources, and which are subject to dynamic control (Dynamic System Resources) or not subject to dynamic control (Non-Dynamic System Resources)..

Since CAISO charges a single system wide tariff for each AS, specification of a location for AS ISTs is not required.

IFM Load Uplift Obligation is calculated net of the cost of AS.

If a value is submitted in the Bid for the Start-Up Cost it will be overwritten by the Master File value. If no value for Start-Up Cost is submitted in the Bid, CAISO will insert the Master File value for the Start-Up Cost into the bid.

If a value is submitted in the Bid for the Minimum Load Cost it will be overwritten by the Master File value. If no value for Minimum Load Cost is submitted in the Bid, CAISO will insert the Master File value for the Minimum Load Cost into the bid.

Ramp Rates and Forbidden Regions are merged to create a single Clean Bid.

The Regulation Ramp Rate cannot be greater than any segment of the Operational Ramp Rate that is in the Bid.

See Section 5.2.1.1 for a complete discussion of bidding rules, including for Energy Bids, for Aggregated Participating Load.

While Participating Load is treated as negative generation in the IFM, SCs enter a positive value in the Bid.

If a value is submitted in the Bid for the Start-Up Cost it will be overwritten by the Master File value. If no value for Start-Up Cost is submitted in the Bid, CAISO will insert the Master File value for the Start-Up Cost into the bid.

If a value is submitted in the Bid for the Minimum Load Cost it will be overwritten by the Master File value. If no value for Minimum Load Cost is submitted in the Bid, CAISO will insert the Master File value for the Minimum Load Cost into the bid.

Excessive declines of hourly pre-dispatched instructions for System Resources can be subject to penalties.

Although it is not the scope of this document, it is worth mentioning that a contingency AS can only be dispatched in a contingency dispatch run or if the resource is flagged as contingency individually. A non-contingent  AS can be dispatched in a normal real-time interval dispatch.

See Note 1.

This listing does NOT include Load Resources – this is covered by the Load Aggregation Point listing.

ITCS means Interstate Transition Cost Surcharges.

If the Facility does not qualify for service under Rate Schedule G-EG, the applicable rate shall be given by Rate Schedule G-NT.

CAISO continues to use the current emissions chargeback process. CAISO only reimburses generators for legitimately incurred emissions costs due to CAISO dispatches.

http://www.socalgas.com/regulatory/tariffs/tm2/pdf/GT-F.pdf..

http://www.pge.com/tariffs/tm2/pdf/GAS_SCHEDS_G-EG.pdf