PG&E offers 2 comments on PRR 1633:

- In Section 6.2.9.3, the BPM language says that TPD will be reserved for long lead-time resources to an amount that is limited by “the transmission capacity created by the Category 1 policy-driven transmission solutions.” However, as discussed in the initiative, “these characteristics are intended to be flexible to accommodate the various public policies for which LRAs may trigger new transmission plan upgrades.”  PG&E proposes that the CAISO make an edit to maintain this flexibility, changing “and” to “or” in the following:

“The CAISO will reserve TP Deliverability for long lead-time resources specified in the Transmission Plan up to the lower of (a) the capacity of deliverable long lead-time resources in the approved Local Regulatory Authority portfolios submitted to the CAISO for the most recent Transmission Plan, or (b) the transmission capacity created by the Category 1 policy-driven transmission solutions or available on existing transmission for the long lead-time resources.”

- In general, PG&E does not find that the BPM has been updated to reflect FERC order 2023 implementation and the previous IPE initiative, especially as much as the language will no longer apply as the Cluster 14 phase 2 stage has passed. PG&E suggests that the BPM be updated, clearly identifying what policies apply to which clusters and processes.